 LEWIS AIR CONDITIONING

P.O. BOX 3098 SLIDELL, LA.70459

1-866-271-0898    (985) 641-3057

FAX (985) 781-0898

                                                 BUBBY@LEWISHVAC.COM
1581 MAGAZINE ST.
DUCT FOR OUTSIDE AIR UNIT NEEDS TO BE 48”X16”

MINI SPLIT UNITS FOR STAIRWELLS #1,#2 AND ELEVATOR ROOM TO BE MITSUBISHI.

INDOOD UNITS MODEL #MSZ-GA24NA, OUTDOOR UNITS MODEL #MUZ-GA24NA

