                    150 WATT INCANDESCANT RECESSED CAN FIXTURE

USING CAVATY RATIO @ 30’ HEIGHT +, AS SEEN ON THE ATTACHED CAVITY RATIO TABLE, USE CAVITY RATIO OF “5” .

USE CAVITY RATIO CURVE  #5 FOUND ON SHT F3.

FOR 10 FOOTCANDLES MAINTAINED LIGHTING LEVEL, 

FIND THAT ONE 100 WATT FIXTURE WILL COVER 70 SQ, FT., THEN USE THE CONVERSION FACTOR FROM SHT F2 FOR 150 WATTS AND 70 X 1,64 =115 SQ. FT. PER FIXTURE.

FOR AREA COVERED OF  3000 SQ. FT.; 3000/115=26

THERE ARE ACTUALLY 25 FIXTURES, SO THAT 25/26 X 10= 9.6 FC. 

         LIGHT FROM THE CHANDELIERS AND OTHER SOURCES ADD TO OVER 10   

         FOOT CANDLES.                     

