CHURCH CHECKLIST – RESIDENTIAL ZONES
This checklist is merely a preliminary review of the proposed site plan received by our office.  Please understand that our review is limited and shall not constitute approval development or specific plan layout until all components of this checklist are approved by the Planning Department.  Items that are highlighted are items that need to be corrected.
       FILE NAME:  Tabernacle Baptist Church 
      APPLICANT:  Chuck Dammon
           DEVELOPMENT 

                   LOCATION:  2445 4th Street
                              DATE:  April 16, 2010
                   REVIEWER:  Nancy Durham, CFM
     ZONING DISTRICT:  A-8 High Density Urban
          PROPOSED USE:  Church
            PREVIOUS USE 

            OF PROPERTY:  Church & Vacant
GROSS FLOOR AREA:  4,425 sq. ft.
I.
BUFFER ZONE REVIEW: 

A.
Buffer zone required – The Zoning Ordinance requires that a buffer zone be established between differing land uses as follows:  (Z.O. Sec. 2.2209)







LDR
HDR
C
LI
HI

LOW DENSITY RESIDENTIAL (LDR)

   X
X
X
X

HIGH DENSITY RESIDENTIAL (HDR)


X
X
X

COMMERCIAL (C)






X
X

LIGHT INDUSTRIAL (LI)






X

HEAVY INDUSTRIAL (HI)


X – Buffer Zone Required

       LDR – Single Family Detached Dwelling

       HDR – Attached Dwellings

            COMMENTS:  A buffer zone is required along the North side of the property measuring 120’.  Please show the buffer zone on the landscape plan.  O.K. and approved.  
NOTE: IF SUBDIVIDED, BURDEN OF BUFFER FENCE FALLS ON THE COMMERCIAL DEVELOPER. 


B.
Buffer fence – An opaque fence at least six feet in height above the highest point of ground elevation must be located on the property line between the two abutting land uses.  (Z.O. Sec. 2.2210)

1.
The fence must be installed prior to issuance of a building permit.

2.
In situations where fill is placed on a development site, the required fence height shall be computed as follows:






Fence height = (six ft.) + (final grade of site requiring fill – grade of property to be buffered).


COMMENTS:  Please designate what the wooden fence detail is for.  Please show the buffer fence detail and location on the site plan.  O.K. and approved.
II.
PARKING AND ACCESS REVIEW:

A.
Demand Computation – The applicable demand computation for indicated use is calculated as follows:  (Z.O. Sec. 4.201-4.225)



Total Gross Floor Area:  4,425 sq. ft.



Required Parking Spaces:  46



Handicap Parking Spaces Provided:  2
COMMENTS:  Please submit a floor plan showing how many seats are in the church and the measurements for the offices and fellowship areas. There are 46 parking spaces required and only 21 shown on the site plan.  C-3 states parking agreement with funeral home and shows 37 parking spaces.  Please submit a copy of the parking agreement that has been signed and filed with the Clerk of Court, add the additional 25 parking spaces or apply for a variance.  Received lease for parking without filing information from the Clerk of Court.  Please submit copy with information from Clerk of Court showing that it has been filed with them.  Approved per Randy Clement, however, CO will not be issued until lease and recorded and filed copy is submitted to Planning.
PAGE  
1

