North Shore Church HVAC Calculations

Fri Mar 20 11:28:16 EDT 2009 

7637 sq ft of walls 

= 
 18,203 Btuh

8498 sq ft of ceiling 

=
101,952 Btuh

8498 sq ft of lighting

= 
 33,992 Btuh

299 people



= 
 41,860 Btuh

fresh air for 299 people
= 
 67,275 Btuh


2242 cfm of fresh air


The Total Outside Fresh Air CFM = 2242 

The Total BTUh Gain = 263282 

The Total Tons of HVAC needed = 22 

