STANDARD
7 Mar 2000
01300

UPDATES  -

7 Mar 00
-
Differentiated between conferences and meetings.

11 Jan 99
-
Updated rep for Suretrak CPM program

Do not make any changes to Division 01 which change the Owner's procedures without prior approval by the Project Manager.  Make changes only in items affecting this Project specifically.

Do not add information to any technical specification Section which repeats or conflicts with the provisions in Division 01.



SECTION  01300


ADMINISTRATIVE REQUIREMENTS

PART 1 GENERAL

 1.1
SUMMARY

A.
Includes But Not Limited To

1.
Administrative and supervisory requirements necessary for Project coordination.

2.
Administrative and procedural requirements for Project meetings and conferences.

3.
Administrative and procedural requirements for submittals required for performance of the Work.

B.
Related Sections

1.
Refer to other Division 01 Sections and other Contract Documents for requirements for administrative submittals.  Such submittals include, but are not limited to -

a.
Permits.

b.
Applications for payment.

c.
Performance and payment bonds.

d.
Insurance certificates.

e.
List of Subcontractors.

2.
Section 01200, Price And Payment Procedures  -  Schedule of Values submittal


01200
3.
Section 01400, Quality Controls  -  Inspection and test reports
01400
4.
Section 01700, Contract Closeout  -  Closeout submittals.
01700
 1.2
PROJECT MANAGEMENT AND COORDINATION

A.
General

Project designation to consist of:   The letters ‘LDS’, the 7 figure property number with extensions, and the complete Stake name with the name of the state and compass directions abbreviated.  Example - LDS 506-8851-00-0 Springfield MO S Stake (Springfield Missouri South Stake).  During the course of the Project, make certain this Project designation appears on all documents related to Project as the Project identifier.

1.
Project designation for this Project is 557-1804.

2.
This Project designation shall be included on documents generated for Project by Contractor and Subcontractors, or be present on a cover letter accompanying such documents.  This designation is required to facilitate tracking of materials, equipment, systems, and products used on Church’s Projects by Church and by manufacturers specified in Contract Documents.

B.
Project Coordination

1.
Coordinate construction activities included in Contract Documents to assure efficient and orderly installation of each part of the Work.  Coordinate construction operations that are dependent upon each other for proper installation, connection, and operation.

a.
Where installation of one part of the Work is dependent on installation of other components, either before or after its own installation, schedule construction activities in sequence required to obtain best results.

b.
Where availability of space is limited, coordinate installation of different components to assure maximum accessibility for required maintenance, service, and repair.

c.
Make adequate provisions to accommodate items scheduled for later installation.

2.
Where necessary, prepare memoranda for distribution to each party involved outlining special procedures required for coordination.  Include such items as required notices, reports, and attendance at meetings and conferences.  Prepare similar memoranda for Owner and separate Contractors where coordination of their Work is required.

3.
Administrative Procedures -

a.
Coordinate scheduling and timing of required administrative procedures with other construction activities to avoid conflicts and ensure orderly progress of the Work.  Such administrative activities include, but are not limited to -

1)
Preparing of schedules.

2)
Installing and removing temporary facilities.

3)
Delivering and processing submittals.

4)
Progress meetings.

5)
Pre-installation conferences.

6)
Project close‑out activities.

4.
Conservation  -  Coordinate construction activities to ensure that operations are carried out with consideration given to conservation of energy, water, and materials.

C.
Project Meetings And Conferences

1.
Preconstruction Conference  -

a.
Architect will schedule preconstruction conference and organizational meeting at Project site or other convenient location by 15 days after issuance of Notice To Proceed and before commencement of construction activities.  Architect will conduct conference and meeting to review responsibilities and personnel assignments.

b.
Attenders  -  Owner, Architect, and their consultants, Contractor and his superintendent, major Subcontractors and other concerned parties shall each be represented at conference by persons familiar with and authorized to conclude matters relating to the Work.

c.
Agenda  -  Discuss items of significance that could affect progress including such topics as  -

1)
Tentative construction schedule.

2)
Critical Work sequencing.

3)
Designation of responsible personnel.

4)
Procedures for processing interpretations and Modifications.

5)
Procedures for processing Payment Requests.

6)
Distribution of Contract Documents.

7)
Submittal of Product Data, Shop Drawings, Samples, Quality Assurance / Control submittals.

8)
Preparation of record documents and O & M manual.

9)
Use of the premises.

10)
Office, work, and storage areas.

11)
Equipment deliveries and priorities.

12)
Safety procedures.

13)
First aid.

14)
Security.

15)
Housekeeping.

16)
Working hours.

17)
Resolving current problems.

18)
Further orientation as to requirements of Contract Documents.

19)
Architect's responsibility to Owner for inspection.

20)
Working out general schedule of Architect's inspection.

d.
Architect will record significant discussions and agreements and disagreements of conference and meeting and distribute minutes of both to everyone concerned, including Owner, within three working days.

2.
Progress Meetings  -

a.
Architect will conduct progress meetings at Project site at regularly scheduled intervals, at least once a month.

b.
Owner, Architect, Contractor, and each Subcontractor concerned with current progress or involved in planning, coordination, or performance of future activities shall be represented at these meetings by persons familiar with Project and authorized to conclude matters relating to progress.

c.
Agenda -

1)
Review and correct or approve minutes of previous progress meeting.  Review other items of significance that could affect progress.  Include topics for discussion as appropriate to status of Project.

2)
Review progress since last meeting.  Determine where each activity is in relation to Contractor's Construction Schedule, whether on time or ahead or behind schedule.  Decide how construction behind schedule is to be expedited and secure commitments from parties involved bring construction back into conformance with schedule.  Discuss schedule revisions required to ensure that current and subsequent activities will be completed within Contract Time.

3)
Discuss present and future needs of each entity present, including such items as  -

a)
Interface requirements.

b)
Time.

c)
Sequences.

d)
Deliveries.

e)
Off‑site fabrication problems.

f)
Access.

g)
Site use.

h)
Temporary facilities and services.

i)
Hours of work.

j)
Hazards and risks.

k)
Housekeeping.

l)
Quality and Work standards.

m)
Modifications.

n)
Documentation of information for Payment Requests.

d.
Architect will include brief summary, in narrative form, of progress since previous meeting.  By three days after each progress meeting date, Architect will distribute copies of meeting minutes to each party present and to parties who should have been present, including Owner.

c.
Revise Contractor's Construction Schedule after each progress meeting where revisions to schedule have been made or recognized.  Issue revised schedule by three days after each progress meeting date, to each party present and to parties who should have been present, including Owner.



3.
Pre-installation Conferences  -

Pre-installation conferences may be specified in any technical Section of the Project Manual if your experience indicates that such a conference will be helpful in assuring specified quality in the system and materials specified for that Section.  It is also permissable to delete any of the pre-installation conferences\s specified in the Church Master Specification based on your knowledge of the contractors and subcontractors who will be bidding the Project.  During construction, a specified conference may be canceled if it is certain that no trouble with the system will occur.  Clear proposed additions and deletions of conferences with the Project Manager.

a.
Architect will develop a schedule for pre-installation conferences based on Contractor’s Construction Schedule.  Architect will schedule these conferences to occur at same time as Architect's regularly scheduled inspection visits, if possible.  Hold pre-installation conferences at site before commencement of work specified in trade Sections specifying such a conference.

b.
Attenders  -  Architect, Contractor, applicable Subcontractors, item or system suppliers / installers, Manufacturer's representatives, and others as specified or invited.  Architect will conductconference.

1)
Review progress of other construction activities and preparations for particular activity under consideration at each pre-installation conference, including  -

a)
Reviewing and confirming requirements of Contract Documents including related Modifications.

b)
Verifying that completed work is ready for installation of items or systems.

c)
Resolving conditions not in compliance with installation requirements.

d)
Establishing installation and inspection schedule.

e)
Coordination between trades.

f)
Work of other trades which affect work of trade Section.

g)
Other items specified in individual Sections.

h)
Deliveries.

i)
Shop Drawing, Product Data, Sample, and Quality Assurance / Control submittals.

j)
Possible conflicts.

k)
Compatibility problems.

l)
Weather limitations.

m)
Manufacturer's recommendations.

n)
Temporary facilities.

o)
Space and access limitations.

p)
Governing regulations.

q)
Safety.

r)
Testing requirements.

s)
Required performance results.

t)
Recording requirements.

u)
Protection.

2)
Architect will record significant discussions and agreements and disagreements of each conference, and distribute minutes of conference within three working days to everyone concerned, including Owner.

3)
Make adjustments to work schedule necessitated by decisions of conference.  Do not proceed with work of Section involved if conference cannot be successfully concluded.  Initiate whatever actions are necessary to resolve impediments to performance of the Work and reconvene conference within one week.

 1.3
CONSTRUCTION PROGRESS DOCUMENTATION

Use the Schedule Option designated by the Area Office.

SCHEDULE OPTION I  -  This option is generally used for Stake Centers, full size Meetinghouses, large building additions or renovations, or other Projects as determined by the Project Manager.

A.
Network Analysis Schedule

1.
General Requirements  -

a.
Submit and maintain Critical Path Method (CPM) schedule for the Work.  Computerized network diagram shall serve as 'Master Construction Schedule' for Project, giving mathematical analysis (printout) of that network, which verifies and validates logic and planning and defines critical path.  Display accepted schedule in site construction office at all times and review with Subcontractors each week.  Schedule shall be acceptable to Architect and Owner.

b.
Utilize CPM schedule for planning, organizing, and directing the Work, for reporting progress, and for requesting payment for work completed.  Review schedule each month in progress meeting.

c.
Clearly explain abbreviations used in CPM schedules in legend of symbols, either separate or attached.

2.
Schedule Requirements  -

a.
CPM schedule shall clearly show sequential interdependencies, with activity duration and float clearly represented.  Sequence(s) of activities with no float shall be clearly identified as Critical Path(s).

b.
Scheduling system shall be capable of baseline comparison analysis.  Upon development and acceptance of schedule, 'freeze' initial schedule as baseline schedule.  As work progresses, provide graphics displaying actual progress bars versus baseline or target bars.

c.
Activity durations shall be in work days.

d.
Activity Content  -

1)
CPM schedule shall include but not be limited to following activities as they apply to Project.

(a)
Construction tasks (Maximum 20 day duration for any activity).

(b)
Shop drawings submittal and approval process.

(c)
Ordering, fabrication, and delivery of major materials and equipment.

(d)
Check-out, start-up, and test and balance of major equipment.

(e)
Submittals of record drawings and maintenance manuals.

(f)
Cleanup and punch out tasks.

(g)
Critical coordination activities required to insure timely support and inspections.

(h)
Owner purchased/installed items and Owner's separate contract work.

(i)
Pre-final, final inspections and substantial completion.

(j)
Final payment.

(k)
Owner occupancy.

2)
Schedule submittal activities to allow sufficient time for work to be procured and installed, even if submittal is unacceptable and re-submittal is required.

3)
CPM schedule shall reflect anticipated delays, such as electrical power change overs.  Also, such items as weather delays, allowing for normal weather conditions as agreed upon by Owner and Contractor.

3.
Submittals  -

a.
Submit initial submittal, complete revisions, and periodic reports in three hard copies, one reproducible and two prints or plots, and one copy on 3.5 inch floppy discs.

b.
Submit completed network program consisting of PERT, GANTT, and mathematical analysis within 20 days after receipt of Notice to Proceed.  Allow 10 days for Architect's review.

c.
Submit schedule of submittal activities extracted from master schedule within 30 days after receipt of Notice to Proceed.

d.
During preparation period, review with Owner and Architect development status of network CPM schedule.  This review shall occur weekly until final submittal of schedule.

e.
Submittals to Owner of initial and monthly CPM schedule charts shall include three sets of all reports as outlined below.  Plots shall be color, blueline, or photocopied prints and, if segmentally generated, fully assembled.  Highlight critical path on blue-lines or photocopies submitted for review.

f.
Participate in Architect's review and evaluation of submitted network diagrams and mathematical analysis of diagrams.  Resubmit revisions necessary due to review within 10 days after review.

g.
Contractor and major Subcontractors shall review network CPM schedule before final submittal.

4.
Report Formats  -

a.
Standard set of reports submitted each month including initial submittals shall consist of following  -

1)
Graphics  -

(a)
GANTT chart of entire project.  Progress bar chart shall include target or baseline comparison bars.  Bar positions shall be early start / early finish with float clearly defined.

(b)
Time-scaled logic diagram or time-scaled network, also called PERT chart, with critical path clearly defined.

(c)
PERT and GANTT charts shall include tabulation of each activity.  Furnish following information for each activity on PERT and GANTT charts.  Sequencing of columns on GANTT chart shall match following -

GANTT Chart Column Layout -

(1)
Activity / Task Description

(2)
Estimated duration of activity / task

(3)
Start status

(4)
Status

(5)
Start date by calendar date

(6)
End date by calendar date

(7)
Latest start date by calendar date

(8)
Latest end date by calendar date

(9)
Total slack or float time in calendar days

(10)
Percentage of activity achieved

(d)
Program or means used in making mathematical computation shall compile total value of completed and partially completed activities.  Program shall also  accept revised completion dates as modified by Change Order time adjustments and accompanying recomputations of float dates.

(e)
PERT Chart Box Layout -

(1)
Task / Activity Name

(2)
Duration

(3)
Start Date

(4)
End Date

(5)
Status (critical task)

b.
Graphics outlined above shall comply with following criteria unless noted otherwise -

1)
Sheet size of diagram shall be 24 by 36 inches minimum and time scaled in weeks unless approved otherwise.

2)
On each page include title block containing as minimum following information  -

a)
Project Title

b)
Project Number

c)
Contractor's Business Name

d)
Date of Submittal and/or Revision

e)
Progress Computation Date

f)
Legend of Symbols and Abbreviations as applicable.

3)
Prepare and submit to Architect upon request additional charts, reports, and current copy on disk of Project program.

5.
CPM Schedule Implementation And Monitoring  -

a.
Monthly CPM schedule charts and reports shall accompany Contractor's pay request for work completed.

b.
Where Contractor is shown to be behind schedule, provide accompanying written summary, cause, and explanation of planned remedial action.

1)
CPM schedules shall reflect those instances, Modifications or other alterations to schedule, which have impact on final completion or interim target dates within schedule.

2)
Payments or portions of payments may be withheld by Owner, upon failure to maintain scheduled progress of the Work as shown on accepted CPM schedule.

c.
Failure to prepare, submit, and maintain CPM schedule as specified shall be cause for rejection of other schedules submitted and for possible delay of payment.

d.
Float time belongs to Project, not to Contractor or to Owner, and may be utilized by both parties.

6.
Schedule Changes And Updates   -

a.
Update CPM Schedule and submit for review monthly at minimum.  Weekly update is recommended.  Monthly submittal of CPM schedule and acceptance by Owner is a prerequisite to payment for work for which payment is requested.

1)
Correlate Schedule of Values graphically with CPM schedule for evaluation of Payment Request.

2)
Manner by which correlation is accomplished shall be subject to review by Owner.

b.
Include additional activities added to CPM schedule by Contractor submitted schedule charts.  It is Owner's intent that Project be managed and operated by CPM schedule.  Payment Requests may be held up until CPM schedule is brought back into compliance with Contract Document requirements.

c.
Once CPM schedule is submitted and accepted, identify modifications to activity durations, logic, values, or descriptions and submit to Owner in writing.  Such adjustments shall not impact contracted finish date.

d.
Any time extension shall be negotiated, for time only, with Owner, Architect, and Contractor.

e.
If  alterations from this method of developing, maintaining, and presenting schedule, notify Architect in writing for approval to do so, stating reason for change.

7.
Approved Project Management Software Programs  -

a.
Time Line 5.0 Project Management or Timeline 6.0 for Windows by Symantec Corp.  Egghead Software, 1192 East Draper Parkway #442, Draper, UT  (800) 659-3447, Rob Codo  FAX 800-598-3447  -  Tech Support (503) 465-8600

b.
Primavera P3 Project Planner by Primavera Systems Inc, Two Bala Plaza, Bala Cynwyd, PA  19004  (215) 667-8600

c.
Suretrak 2.0 Project Scheduler by Expedition CMT Consulting, P O Box 1184, Sandy, UT  84091  (801) 501-0945

d.
Mac Project II or Mac Project Pro by Claris Corp, P O Box 58168, Santa Clara, CA  95052-8868

SCHEDULE OPTION II - Generally this option would be used for smaller Phased Projects, smaller additions or renovations, or other Projects as determined by the Project Manager.

A.
Contractor's Construction Schedule

1.
Prepare fully developed, horizontal bar chart type Contractor's Construction Schedule.  Submit within 30 days of date established for 'Commencement of the Work.'

a.
Provide separate time bar for each significant construction activity.  Provide continuous vertical line to identify first working day of each week.  Use same breakdown of units of the Work as shown in Schedule of Values.

b.
Within each time bar show estimated completion percentage in 10 percent increments.  As Work progresses, place contrasting mark in each bar to indicate actual completion.

c.
Prepare schedule on sheet, or series of sheets, of stable transparency, or other reproducible media, of sufficient width to show data for entire construction period.

d.
Secure time commitments for performing critical elements of the Work from parties involved.  Coordinate each element on schedule with other construction activities, including minor elements involved in sequence of the Work.  Show each activity in proper sequence.  Show graphically sequences necessary for completion of related portions of the Work.

e.
Coordinate Contractor's Construction Schedule with Schedule of Values, list of subcontracts, submittal schedule, progress reports, payment requests, and other schedules.

f.
Show completion before date established for Substantial Completion.  Show Substantial Completion on schedule to allow time for Architect's procedures necessary for certification of Substantial Completion.

2.
Show important stages of construction for each major portion of the Work, including testing and installation.

3.
Provide separate time bar to identify each major construction area for each major portion of the Work.  Show where each element in an area must be sequenced or integrated with other activities.

4.
At head of schedule, provide two item cost correlation lines, indicating 'precalculated' and 'actual' costs.  On line, show dollar-volume of work completed as of dates used for preparation of payment requests.  Refer to Section 01200 for cost reporting and payment procedures.

5.
Following response to initial submittal, print and distribute copies to Architect, Owner, Subcontractors, and other parties required to comply with scheduled dates.  Post copies in Project meeting room and temporary field office.  When revisions are made, distribute to same parties and post in same locations.  Delete parties from distribution when they have completed their assigned portion of the Work and are no longer involved in construction activities.

6.
Revise schedule after each meeting or activity where revisions have been recognized or made.  Issue updated schedule concurrently with report of each meeting.

7.
Acceleration Of The Work  -

a.
If circumstances require that the Work or portion thereof be completed at date earlier than Contract completion date as adjusted by Modifications and if directed by Architect or Owner, increase forces, equipment, hours of work, aor number of shifts, and speed up delivery of materials to meet altered completion date or dates ordered or directed.  Any increase in cost to Contractor in compliance with such orders or directives will be reflected in an adjustment in Contract Sum in accordance with additional work performed.

b.
If in judgment of Architect or Owner the Work is behind schedule and rate of placement of work is inadequate to regain scheduled progress and if so informed by Architect or Owner, immediately take action to increase rate of work placement.

1)
This shall be accomplished by any one or a combination of the following or other suitable measures  -

a)
An increase in working forces,

b)
An increase in equipment or tools,

c)
An increase in hours of work or number of shifts,

d)
Speeding up delivery of materials.

2)
Within 10 days after being so informed, notify Architect of specific measures taken and planned to increase rate of progress with an estimate of when scheduled progress will be regained.  If plan of action is deemed inadequate by Architect or Owner, take additional steps or make adjustments to plan of action until it meets with Architect's or Owner's approval.

3)
Acceleration of work will continue until scheduled progress is regained.  Establish scheduled progress from latest revised approved progress schedule for Project.  Timely completion is understood to be contract completion date as revised by time extensions granted at time acceleration is undertaken.

4)
No additional compensation for additional effort applied to the Work under terms of this subparagraph will be granted.

c.
Any directive or order to accelerate the Work will be in writing.  Any directive or order terminating accelerated work will be in writing.

B.
Daily Construction Reports

1.
Prepare daily reports of operations at Project including at least following information  -

a.
List of Subcontractors at site.

b.
Approximate count of personnel at site by trade.

c.
High and low temperatures, general weather conditions.

d.
Major items of equipment on site.

e.
Materials, equipment, or Owner-furnished items arriving at or leaving site.

f.
Accidents and unusual events.

g.
Site or structure damage by water, frost, wind, or other causes.

h.
Meetings and significant decisions.

i.
Visitors to the job including meeting attenders.

j.
Stoppages, delays, shortages, losses.

k.
Any tests made and their result if known.

l.
Meter readings and similar recordings.

m.
Emergency procedures.

n.
Orders and requests of governing authorities.

o.
Modifications received, carried out.

p.
Services connected, disconnected.

q.
Equipment or system tests and start-ups.

r.
Brief summary of work accomplished that day.

2.
Send daily reports to Architect on at least a weekly basis.  Preface each packet of daily reports with a Project Status Report summarizing the attached daily reports.

3.
Maintain file of copies of daily reports on site and make available to Architect and Owner upon request.

 1.4
SUBMITTAL PROCEDURES

A.
General

1.
Coordinate preparation and processing of submittals with performance of construction activities.  Transmit each submittal sufficiently before performance of related construction activities to avoid delay.

a.
Coordinate each submittal with fabrication, purchasing, testing, delivery, other submittals, and related activities that require sequential activity.

b.
Coordinate transmittal of different types of submittals required for related elements of the Work so processing will not be delayed by need to review submittals concurrently for coordination.  Architect reserves right to withhold action on a submittal requiring coordination with other submittals until related submittals are received.

c.
Allow sufficient review time so installation will not be delayed by time required to process submittals, including time for resubmittals.

1)
Allow 21 days for initial review.  Allow additional time if processing must be delayed to allow coordination with subsequent submittals.  Architect will promptly advise Contractor when submittal being processed must be delayed for coordination.

2)
If an intermediate submittal is necessary, process same as initial submittal.

3)
Allow 10 days for reprocessing each submittal.

4)
No extension of Contract Time will be authorized because of failure to transmit submittals to Architect in sufficient time before work is to be performed to allow processing.

2.
Place permanent label or title block on each submittal for identification.  Include name of entity that prepared each submittal on label or title block.

a.
Provide space approximately 4 by 5 inches on label or beside title block on Shop Drawings to record Contractor's review and approval markings and action taken.

b.
Include following information on label for processing and recording action taken.

1)
Project name.

2)
Date.

3)
Name and address of Architect.

4)
Name and address of Contractor.

5)
Name and address of Subcontractor.

6)
Name and address of supplier.

7)
Name of manufacturer.

8)
Number and title of appropriate Specification Section.

9)
Drawing number and detail references, as appropriate.

3.
Package each submittal appropriately for transmittal and handling.  Transmit each submittal from Contractor to Architect using transmittal letter.  On transmittal, record relevant information and requests for data.  Include Contractor's certification that information complies with Contract Document requirements, or, on form or separate sheet, record deviations from Contract Document requirements, including minor variations and limitations.

4.
Submittals received from sources other than Contractor or not marked with Contractor's approval will be returned without action.

B.
Submittal Schedule

1.
Within 20 days after receipt of Notice to Proceed, furnish submittal schedule listing items specified to be furnished for review to Architect including product data, shop drawings, samples, and quality assurance / control submittals.

a.
Coordinate submittal schedule with list of Subcontractors, schedule of values, and Contractor's construction schedule.

b.
Prepare schedule in chronological order, including submittals required during first 90 days of construction.  Provide following information  -

1)
Scheduled date for first submittal.

2)
Related Section number.

3)
Submittal category.

4)
Name of Subcontractor.

5)
Description of part of the Work covered.

6)
Scheduled date for resubmittal

7)
Scheduled date for Architect's final release or approval.

c.
Schedule shall show 20 days minimum after receipt for review by Architect.  If resubmittal is required, an additional 15 days will be allowed for after receipt.

2.
Following response to initial submittal, print and distribute copies to Architect, Owner, Subcontractors, and other parties required to comply with submittal dates shown.  Post copies in Project meeting room and field office.  When revisions are made, distribute to same parties and post in same locations.  Delete parties from distribution when they have completed their assigned portion of the Work and are no longer involved in submittal activities.

3.
Revise schedule after each meeting or activity, where revisions have been recognized or made.  Issue updated schedule concurrently with minutes of each meeting.

4.
Furnishing of submittal schedule or revision thereto shall not be interpreted as relieving Contractor of his obligation to comply with Contract Document requirements for items on schedule.


C.
Product Data

Do not delete any requirements for ‘Product Data’ submittals specified in any of the Sections of the Church Master Specification, since they are required to be included in the O & M Manuals specified in Section 01700.  These ‘Product Data’ submittals should be very carefully checked to make certain the products meet Contract Document requirements and that the submittal is suitable for inclusion in the O & M Manuals.  A ‘Product Data’ Paragraph may be added to any Section at the request of the Project Manager.

1.
Collect Product Data, as required by individual Sections, into separate submittals.  Where Product Data must be specially prepared because standard printed data is not suitable for use, submit as Shop Drawing.

2.
Mark each copy to show choices and options used on Project.  Where printed Product Data includes information on products which are not required for Project, mark copies to indicate information relating to Project.

3.
Do not submit Product Data until compliance with requirements of Contract Documents has been confirmed.

4.
Submit preliminary single copy of Product Data where selection of options by Architect is required.

5.
Submit five copies minimum of each required submittal.  Architect will retain two and return others marked with action taken and with corrections or modifications required.  Unless noncompliance with Contract Document provisions is observed, submittal may serve as final submittal.  Insert one marked copy in Owner-provided three-ring binders used to become Operations And Maintenance Manuals specified in Section 01700.
01700
6.
Furnish copies of final submittal to Subcontractors and others as required for performance of construction activities.  Show distribution on transmittal forms.

1.
Do not proceed with installation until applicable copy of Product Data is in installer's possession.

2.
Do not allow use of unmarked copies of Product Data in connection with construction.


D.
Shop Drawings

Insert a 'Shop Drawings' Paragraph under a SUBMITTALS Article in every specification Section where you wish to have shop drawings submitted.  Existing references to shop drawings in the specification Sections may be deleted if you feel there is no need or desire to review them, and if the Area Office concurs.  If shop drawings are to be requested, do not merely add a line stating ‘Submit shop drawings.’  The information you desire the shop drawings to convey should be described along with any other requirements over and above those specified in this Paragraph.

 
1.
Submit newly prepared graphic data to accurate scale.  Except for templates, patterns, and similar full‑size Drawings, submit Shop Drawings on sheets at least 8‑1/2 by 11 inches but no larger than 36 by 48 inches.  Highlight, encircle, or otherwise show deviations from Contract Documents.  Include following information as a minimum -

a.
Dimensions.

b.
Identification of products and materials included.

c.
Compliance with specified standards.

d.
Notation of coordination requirements.

e.
Notation of dimensions established by field measurement.

2.
Do not reproduce Contract Documents or copy standard information as basis of Shop Drawings.  Standard printed information prepared without specific reference to Project is not acceptable as Shop Drawings.

3.
Review and designate (stamp) approval of shop drawings.  Submit to Architect, with reasonable promptness and in orderly sequence, shop drawings required by Contract Documents.  Shop drawings not required by Contract Documents, but requested by Contractor or supplied by Subcontractor need not be submitted to Architect for review.  However, these shop drawings shall meet specified shop drawing requirements except those relating to submission to Architect.

a.
Bear cost of reproducing copies of shop drawings required by all concerned.  Instead of prints, a sepia may be required.

b.
Shop drawings shall be complete and detailed.

c.
Shop drawings shall be properly identified as specified or as Architect may require.

d.
Provide 6 copies of shop drawings unless required otherwise in specification Section.


E.
Samples

Insert a 'Samples' Paragraph under the SUBMITTALS Article in every Section where you wish to have  samples submitted.  Existing references to samples in the Sections may be deleted if you feel there is no need or desire to review them.  Describe the sample requirements fully in each Section as required to ensure submission of a useful sample.

1.
Submit full-size, fully fabricated Samples cured and finished as specified and physically identical with material or product proposed.  Samples include partial sections of manufactured or fabricated components, cuts or containers of materials, color range sets, and swatches showing color, texture, and pattern.

a.
Mount, display, or package Samples so as to ease review of qualities indicated.  Prepare  Samples to match samples provided by Architect, if applicable.  Include following -

1)
Generic description of Sample.

2)
Sample source.

3)
Product name or name of manufacturer.

4)
Compliance with recognized standards.

5)
Availability and delivery time.

b.
Submit Samples for review of kind, color, pattern, and texture, for final check of these characteristics with other elements, and for a comparison of these characteristics between final submittal and actual component as delivered and installed.

1)
Where variations in color, pattern, texture or other characteristics are inherent in material or product represented, submit multiple units (not less than 3), which show approximate limits of variations.

2)
Refer to other specification Sections for requirements for Samples that illustrate workmanship, fabrication techniques, details of assembly, connections, operation and similar construction characteristics.

3)
Refer to other Sections for Samples to be returned to Contractor for incorporation in the Work.  Such Samples must be undamaged at time of use.  On transmittal, indicate special requests regarding disposition of Sample submittals.

c.
Where Samples are for selection of color, pattern, texture, or similar characteristics from a range of standard choices, submit full set of choices for material or product.  Preliminary submittals will be reviewed and returned with Architect's mark indicating selection and other action.

d.
Except for Samples illustrating assembly details, workmanship, fabrication techniques, connections, operation, and similar characteristics, submit 3 sets.  One will be returned marked with action taken.

e.
Samples, as accepted and returned by Architect, shall be used for quality comparisons throughout course of construction.

1)
Unless noncompliance with Contract Documents is observed, submittal may serve as final submittal.

2)
Sample sets may be used to obtain final acceptance of construction associated with each set.

2.
Prepare and distribute additional sets to Subcontractors and others as required for performance of the Work.  Show distribution on transmittal forms.


F.
Quality Assurance / Control  -  Quality Assurance / Control submittals are design data, test reports, certificates, manufacturer's instructions, manufacturer's field reports, and other documentary data affirming quality of products and installations.  Submit 2 copies to Architect immediately upon receipt.

G.
Architect's Action

1.
Allow 21 days for Architect's review and return for initial submittals and 10 days for re-submittals.

2.
Submittals reviewed by Architect will be identified as having received such review by being so stamped and dated.

a.
Where submittals are marked 'No Exception Taken,' that part of the Work covered by submittal may proceed provided it complies with requirements of Contract Documents.  Final acceptance will depend upon that compliance.

b.
When submittals are marked 'Note Markings,' that part of the Work covered by submittal may proceed provided it complies with notations or corrections on submittal and requirements of Contract Documents.  Final acceptance will depend on that compliance.

c.
When submittal is marked 'Rejected/Resubmit,' do not proceed with that part of the Work covered by submittal, including purchasing, fabrication, delivery, or other activity.  Revise or prepare new submittal according to notations and resubmit without delay at no additional cost to Owner.  Repeat as necessary to obtain satisfactory action mark.  Do not allow submittals marked 'Rejected/Resubmit' to be used at Project site, or elsewhere where the Work is in progress.

d.
Where submittal is primarily for information or record purposes, special processing, or other activity, submittal will be returned, marked 'Action Not Required.'

3.
Two copies of each submittal will be retained in Architect's office until completion of Project.

4.
Except for submittals for record, information, or similar purposes, where action and return are required or requested, Architect will review each submittal, mark to show action taken, and return promptly to Contractor.

 1.5
SPECIAL PROCEDURES

Add any general hazardous material abatement administrative procedures in Article ‘1.5', if required due to total demolition of existing buildings, or selective demolition for addition / renovation Projects.  Friable asbestos abatement is usually handled under a separate contract carried out before addition / remodel work begins and would be specified under 13281 - Hazardous Material Remediation.

A.
Hazardous Material Abatement

1.
Asbestos  -

a.
For demolition activities where allowable Asbestos Containing Material (ACM) is to be left in place, or where Contractor is allowed to remove Category I Non-friable ACM, following requirements apply  -

1)
Prepare and submit notifications and permit applications required by law or by Owner.

2)
Comply with regulations found in 40 Code of Federal Regulations, Part 61 - National Emission Standards for Hazardous Air Pollutants, Subpart M - National Emission Standard for Asbestos, paragraph 61.145 - Standard for demolition and renovation.

3)
Comply with local and State regulations regarding asbestos removal and demolition of structures.

4)
Comply with regulations found in 29 CFR 1926.1101 - OSHA Asbestos Standard for Construction.

a)
Conduct required exposure assessments and monitoring.

b)
Ensure abatement work is supervised by a ‘Competent Person’.

c)
Provide required employer information, training, and personal protective equipment.

d)
Demolition activities involving non-friable ACM is considered ‘Unclassified Asbestos Work.’  However, be responsible for using wet methods and controlling emissions which may contain ACM fibers, if necessary.

PART 2 PRODUCTS  -  Not Used

PART 3 EXECUTION  -  Not Used


END OF SECTION

557-1804 (20020)
7
Section 01300

Orlando Welfare Complex 
October 11, 2000
Administrative Requirements


