STANDARD
1 Aug 1998
04094
UPDATES  -



SECTION  04094


WEEP VENTS
PART 1 GENERAL
 1.1
SUMMARY
A.
Products Supplied But Not Installed Under This Section

1.
Weep vents

B.
Related Sections

1.
Sections under 04800 heading  -  Installation
04813 04814
PART 2 PRODUCTS
 2.1
MANUFACTURED UNITS
A.
Acceptable Products
Approved Products
1.
Cell Vent  -

a.
D/A 1006 by Dur-O-Wall

b.
#QV - Quadro-Vent by Hohmann & Barnard

c.
#3601 Cell Vent by Masonry Reinforcing Corporation of America

2.
Cavity Vent by Masonry Technology

B.
Acceptable Manufacturers
Approved Products
Edit the list of acceptable manufacturers to include only those with whom you are familiar and whose products are available in the Project area.  You may add any manufacturers whose products you determine meet the specification and Project requirements.

1.
Dur-O-Wal, Arlington Heights, IL  (847) 577-6400  www.dur-o-wal.com
2.
Hohmann & Barnard, Haupauge, NY  (800) 645-0616  www.h-b.com
3.
Masonry Reinforcing Corporation of America, Roundtree, NC  (800) 441-8359 www.wirebond.com
4.
Masonry Technology Inc, Cresco, IA  (800) 879-3348 www.masonrytechnology.com
5.
Equal as approved by Architect before installation.  See Section 01600.

PART 3 EXECUTION  -  Not Used
Installation

END OF SECTION

ADVANCE \d252
B L A N K   P A G E

20020
1
Section 04094

Meetinghouse
May 22, 2000
Weep Vents


