STANDARD
1 Aug 1998
06070

UPDATES  -



SECTION  06070


WOOD TREATMENT
PART 1 GENERAL
 1.1
SUMMARY
A.
Includes But Not Limited To

1.
Quality of wood preservative treatment where specified.

B.
Related Sections

1.
Section 06110  -
06110
a.
Quality of wood to be pressure treated.

b.
Furnishing and installing of pressure treated wood.

 1.2
REFERENCES
Delete or add references based on editing of other parts of this Section.

A.
American Wood-Preserver’s Association Standards
AWPA
1.
AWPA C1-96, ‘All Timber Products, Pressure Treatment’

2.
AWPA C2-96, ‘Lumber, Timbers, Bridge Ties and Mine Ties, Pressure Treatment’

3.
AWPA C9-96, ‘Plywood, Pressure Treatment’

4.
AWPA N1-96. ‘All Millwork, Preservative Treatment by Non-Pressure Process’

1.3
SUBMITTALS
A.
Quality Assurance / Control  -  Certificate of pressure treatment showing compliance with specification requirements.
Quality
PART 2 PRODUCTS
 2.1
MATERIALS
A.
Pressure Treatment Of Wood

1.
General  -

a.
Framing lumber grade and species shall be as specified in Section 06110 for particular use.

b.
Permanently identify treated lumber with name of inspection agency, preservative used, name of treating plant, retention in lbs/cu ft, and suitable end use.

c.
Season after treatment to moisture content required for non-treated material.

Edit or delete paragraphs ‘2' through ‘4' to correspond with Project requirements.  

2.
Lumber  -  Treat in accordance with AWPA C2 and dry after treatment.

3.
Plywood  -  Treat in accordance with AWPA C9 and dry after treatment.

4.
Millwork  -  Treat in accordance with AWPA N1 and dry after treatment.

PART 3 EXECUTION  -  Not Used


END OF SECTION

20020
1
Section 06070

MeetingHouse
May 22, 2000
Wood Treatment


