STANDARD
12 Jul 1999
06090
UPDATES  -

12 Jul 99
-
Added requirement for framing anchor shop drawing.



SECTION  06090


WOOD AND PLASTIC FASTENINGS
PART 1 GENERAL
 1.1
SUMMARY
A.
Includes But Not Limited To

1.
Quality of wood fastening methods and materials unless specified otherwise.

B.
Related Sections

1.
Division 05  -  Quality of bolts used on Project.
05090
2.
Nails specified in individual Sections where installed.

 1.2
SUBMITTALS
A.
Shop Drawings

1.
Submit on powder actuated fasteners other than those specified in Contract Documents showing design criteria equivalents at each application.
Shop Drawings
2.
Show type, quantity, and installation location of framing anchors.  Where necessary, reference Drawing details, etc, for installation locations.

B.
Quality Assurance / Control  -  Manufacturer’s literature on framing anchors and powder actuated fasteners.
Quality
PART 2 PRODUCTS
 2.1
MATERIALS
A.
Fasteners And Adhesives

1.
Wood Screws  -  Standard type and make for job requirements.

2.
Expansion Bolts  -  Standard type and make for job requirements.

3.
Powder Actuated Fasteners  -

a.
Acceptable Manufacturers  -
Approved Products
1)
Hilti, Tulsa, OK  (800) 333-1150  www.hilti.com
2)
Ramset / Redhead Division of ITW, Wood Dale, IL  (630) 350-0370  www.ramset-redhead.com
3)
Equals as approved by Architect through shop drawing submittal before installation.  See Section 01600.

4.
Construction Mastics  -  Meet requirements of American Plywood Association Specification AFG‑01 September 1974.  Use phenol resorcinol type for use on pressure treated wood products.

B.
Framing Anchors

1.
Acceptable Manufacturers  -
Approved Products
a.
Advanced Connector Systems (ACS), Phoenix, AZ  (800) 462-6779  

b.
United Steel Products Co Inc (USP), Montgomery, MN  (800) 328-5934 www.uspconnectors.com
c.
Simpson Strong Tie Co, San Leandro, CA  (800) 999-5099 www.strongtie.com
d.
Equals as approved by Architect through shop drawing submittal before installation.  See Section 01600.

PART 3 EXECUTION
 3.1
ERECTION
Installation
A.
Secure one Manufacturer approved fastener in each hole of framing anchor that bears on framing member unless approved otherwise in writing by Architect.  'Boss' system by ACS is acceptable nailing system for framing anchors.

B.
Provide bolt heads and nuts bearing on wood with washers.


END OF SECTION

20020
1
Section 06090

MeetingHouse
May 22, 2000
Wood And Plastic Fastenings


