STANDARD
1 Aug 1998
06201
UPDATES  -

Include any general requirements which are common to all Sections included under the 06200 Table of Contents heading.  Add a cross references in the applicable Finish Carpentry Sections back to this Section.  Do not add these common requirements to each individual Section.



SECTION  06201


GENERAL FINISH CARPENTRY REQUIREMENTS
PART 1 GENERAL
Edit Article ‘1.1' as necessary to give an accurate, but brief description of the work of this Section and accurate listing of related work, especially if the scope of the work is not shown graphically on the Drawings.

 1.1
SUMMARY
A.
Includes But Not Limited To

1.
Furnish and install sealants required for items installed under this Section, as described in Contract Documents.

2.
Furnish and install following items as described in Contract Documents  -

a.
Site-built attic access panels

b.
Site-built shear wall and draft stop access doors

c.
Decoration anchors in Cultural Center

d.
Access panels to organ and speaker chambers

B.
Products Installed But Not Supplied Under This Section

1.
Architectural Woodwork

2.
Factory Manufactured Access Doors

3.
Wood windows

4.
Acoustical Wall Panels

5.
Selected Building Specialties

6.
Selected Equipment

7.
Rostrum Seating

8.
Rostrum Casework

9.
Miscellaneous as specified elsewhere

C.
Related Sections

1.
Sections under 06400 heading  -  Furnishing of Architectural Woodwork

06411 06412 06450
2.
Section 06401  -  Quality of wood materials to be used in Finish Carpentry
06401
3.
Division 07  -  Quality of sealants, submittal and installation requirements
07920
4.
Division 08  -  Furnishing of Factory Manufactured Access Doors
08310
5.
Division 09 -

a.
Furnishing of Acoustical Wall Panels
09841
b.
Back priming of work to be installed against concrete or masonry or subjected to moisture.
09925 09935 09936 09936ar.a 09936ar.b
6.
Division 10  -  Furnishing of Building Specialties

7.
Division 11  -  Furnishing of Equipment

8.
Division 12  -  Furnishing of Rostrum Seating
12611
PART 2 PRODUCTS
 2.1
MATERIALS
A.
Glue  -  Waterproof and of best quality.

Anchors specified in Paragraph ‘B’ are used only in Cultural Centers.

B.
Decoration Anchors  -  Bright zinc plated, wire size 4, 3-7/8 inches total length.

C.
Accessories For Job-Built Shear Wall And Draft Stop Access Doors

1.
Latch  -

a.
Acceptable Products And Manufacturers  -
Approved Products
1)
1261, with wire pull and washer for opening from opposite side, by Stanley, New Britain, CT  (800) 337-4393  www.stanleyworks.com
2)
Equal as approved by Architect before installation.  See Section 01600.

2.
One Pair Self-Closing Hinges  -

a.
Acceptable Products And Manufacturers  -
Approved Products
1)
2960 by Bommer Industries, Landrum, SC  (800) 334-1654  

2)
158 by Stanley, New Britain, CT  (800) 337-4393 www.stanleyworks.com
3)
Equal as approved by Architect before installation.  See Section 01600.

3.
Stenciled Caution Signs  -

a.
One on each side of draft stop door.

b.
Sign text shall read 'CAUTION - This Door Must Be Kept Closed' in 2 inch high letters.

PART 3 EXECUTION
 3.1
INSTALLATION
Installation
A.
General Woodwork

1.
Work shall be made in accordance with measurements taken on the job.

2.
Scribe, miter, and join accurately and neatly to conform to details.

3.
Exposed surfaces shall be machine sanded, ready for finishing.

4.
Allow for free movement of panels.

5.
Countersink nails.  Countersink screws and plug those exposed to view.

B.
Architectural Woodwork  -  Install plumb, level, and square.

C.
Items Installed But Not Supplied Under This Section  -  Install in accordance with requirements specified in Section supplying item.


END OF SECTION

20020
1
Section 06201

MeetingHouse
May 22, 2000
General Finish Carpentry Requirements

