STANDARD
1 Aug 1998
06221
UPDATES  -



SECTION  06221


MISCELLANEOUS TRIM AND MOLDING
PART 1 GENERAL
 1.1
SUMMARY
A.
Includes But Not Limited To

1.
Furnish and install wood trim not specified elsewhere as described in Contract Documents.

B.
Related Sections

1.
Section 06201  -  General Finish Carpentry Requirements
06201
2.
Section 06450  -  Standing And Running Trim.
06450
PART 2 PRODUCTS
 2.1
MATERIALS
A.
Meet requirements of Section 06401.

1.
Softwood  -  Solid stock Pine, C or better, S4S.

Generally, no other hardwood should be used.  It is also preferred that wood trim be clear finished rather than painted, the only exception being ceiling trim.

2.
Hardwood  -  Plain sawn Red Oak.

3.
Paneling  -  Hardwood panel product with plain sliced Red Oak veneer.

PART 3 EXECUTION  -  Not Used


END OF SECTION

ADVANCE \d252
B L A N K   P A G E

20020
1
Section 06221

MeetingHouse
May 22, 2000
Miscellaneous Trim And Molding


