STANDARD
29 Sep 1998
06401
UPDATES  -

29 Sep 98
-
Added requirement for AWI Custom Grade to be basic architectural woodwork standard.

The Sections grouped under 06400 specifying mill-built cabinetry are the preferred standards for cabinetry.  Section 12300 may be used for casework with the approval of the Area Office.

Include in Section 06401 any general requirements which are common to all the Sections under the 06400 table of contents heading.  In each applicable individual Section, include a cross-reference back to Section 06401.  Do not add these common requirements to each individual Section.



SECTION  06401


GENERAL ARCHITECTURAL WOODWORK REQUIREMENTS
PART 1 GENERAL
 1.1
SUMMARY
A.
Includes But Not Limited To

1.
General standards for materials and fabrication of Architectural Woodwork and for hardware associated with Architectural Woodwork.

B.
Related Sections

1.
Section 06110  -  Furring and blocking
06110
2.
Division 09  -  Filling of nail holes and finishing
09925 09936
 1.2
REFERENCES
A.
Architectural Woodwork Institute
AWI
1.
AWI, ‘Architectural Woodwork Quality Standards, 7th Edition, Version 1.0, 1997’

 1.3
SYSTEM DESCRIPTION
A.
Performance Requirements  -  AWI Custom Grade is minimum acceptable standard, except where explicitly specified otherwise, for materials, construction, and installation of architectural woodwork.

 1.4
SUBMITTALS
A.
Product Data  -  Manufacturer's literature for specialty items and hardware not manufactured by Architectural Woodwork fabricator.
Product Data
Delete Paragraph ‘B’ if a cabinetry mock-up is required under Section 06411.

B.
Samples  -  Samples of wood specie and veneered panel product used in architectural woodwork which is to receive transparent finish, if requested by Architect.
Samples
 1.5
DELIVERY, HANDLING, AND STORAGE
Delivery
A.
Assemble architectural woodwork at Architectural Woodwork Fabricator’s plant and deliver ready for erection insofar as possible.

B.
Protect architectural woodwork from moisture and damage while in transit to job site.  Unload and store in place where it will be protected from moisture and damage and convenient to use.

PART 2 PRODUCTS
 2.1
MATERIALS
A.
Lumber

1.
Grade  -

a.
No defects in boards smaller than 600 sq in.

b.
One defect per additional 150 sq inches in larger boards.

c.
Select pieces for uniformity of grain and color on exposed faces and edges.

d.
No mineral grains accepted.

2.
Allowable Defects  -

a.
Tight knots not exceeding 1/8 inch in diameter.  No loose knots permitted.

b.
Patches (dutchmen) not apparent after finishing when viewed beyond 18 inches.

c.
Checks or splits not exceeding 1/32 inch by 3 inches and not visible after finishing when viewed beyond 18 inches.

d.
Stains, pitch pockets, streaks, worm holes, and other defects not mentioned are not permitted.

e.
Normal grain variations, such as cats eye, bird's eye, burl, curl, and cross grain are not considered defects.

3.
Use maximum lengths possible, but not required to exceed 10 feet without joints.  No joints closer than 6 feet in straight run.

4.
Moisture content shall be 6 percent maximum at fabrication.  No opening of joints due to shrinkage is acceptable.

 2.2
FABRICATION
A.
Fabricate work in accordance with measurements taken on job site.

B.
'Ease' sharp corners and edges of exposed members to promote finishing and protect users from slivers.

C.
Fabricate so veneer grain is vertical.

D.
Joints

1.
Use lumber pieces with similar grain pattern when joining end to end.

2.
Compatibility of grain and color from lumber to panel products is required.

E.
Finish Tolerances

1.
No planer marks (KCPI) allowed.  Sand all wood members and surfaces to 100 grit.

2.
Maximum Gap  -  None allowed.

3.
Flushness Variation  -  0.015 inch maximum.

4.
Sanding Cross Scratches  -  0.250 inch maximum

5.
Plug screw holes.  Screw locations not to be visible beyond 18 inches.

F.
Install hardware in accordance with Manufacturer's directions.  Leave operating hardware operating smoothly and quietly.

G.
Remove or repair damaged surface of or defects in exposed finished surfaces of architectural woodwork to match adjacent similar undamaged surface.

PART 3 EXECUTION  -  Not Used
Installation

END OF SECTION

ADVANCE \d252
B L A N K   P A G E

557-1804 (20020)
3
Section 06401

Orlando Welfare Complex
October 11, 2000
General Architectural Woodwork Req.

