SUPPLEMENTARY
1 Aug 1998
07724sup
UPDATES  -



SECTION  07724


ROOF HATCHES
PART 1 GENERAL
 1.1
SUMMARY
A.
Products Supplied But Not Installed Under This Section

1.
Roof hatches.

B.
Related Sections

1.
Division 06  -  Installation
06110
PART 2 PRODUCTS
 2.1
COMPONENTS
A.
Curb And Cover

1.
11 ga aluminum with 18 ga cover liner.

2.
Curb height shall be 12 inches with 3-1/2 inch flange for mounting and with integral cap flashing.

3.
Insulation  -  One inch rigid fiberglass or equal.

4.
Acceptable Manufacturers  -
Approved Products
a.
Type S-50 by The Bilco Company, New Haven, CT  (203) 934-6363 www.bilco.com
b.
Equal as approved by Architect before bidding.  See Section 01600.

PART 3 EXECUTION  -  Not Used
Installation

END OF SECTION

ADVANCE \d252
B L A N K   P A G E

557-1804 (20020)
2
Section 07724

Orlando Welfare Complex
October 11, 2000
Roof Hatches


