STANDARD
6 Jan 2000
07840
UPDATES  -

6 Jan 00
-
Changed Firestop Systems to Passive Fire Protection Partners

17 Mar 99
-
Clarified terminology and requirements.

All locations where firestopping is necessary should be identified and detailed on the drawings.



SECTION  07840


FIRESTOPPING
PART 1 GENERAL
 1.1
SUMMARY
A.
Includes But Not Limited To

1.
Quality of firestopping materials and systems used on Project, including submittal requirements.

B.
Related Sections

1.
Furnishing and installing of firestopping specified under Section installing work penetrating structure.

 1.2
REFERENCES
Delete or add references based on editing of other parts of this Section.

A.
American Society For Testing And Materials
ASTM
1.
ASTM E 814-98, 'Standard Test Method for Fire Tests of Through-Penetration Fire Stops'

B.
International Conference of Building Officials
ICBO
1.
ICBO, ‘Uniform Building Code (UBC), Volume 1, Administrative, Fire and Life Safety, and Field Inspection Provisions’

C.
Underwriter's Laboratories
UL
1.
UL 1479, 'Fire Tests of Through-Penetration Firestops'

2.
Fire Resistance Directory, 1999 version, contains listing of approved Penetration Firestop Systems

 1.3
DEFINITIONS
A.
Penetration Firestop System  -  An assemblage of specific materials or products that are designed, tested, and fire resistive in accordance with UBC Standard 7-5 to resist passage of fire through penetrations for prescribed period of time.

 1.4
SUBMITTALS
A.
Shop Drawings  -  Show each type of Penetration Firestop System with design approval reference number.
Shop Drawings
 1.5
QUALITY ASSURANCE
A.
Regulatory Requirements

1.
Each Penetration Firestop System shall be UL listed for that type of penetration occurring on Project.

2.
Ratings shall be in accordance with ASTM E 814, UL 1479, or UBC Standard No 43‑6 as acceptable to local code authority.

PART 2 PRODUCTS
 2.1
MATERIALS
A.
Sealant, packing material, or collar system required by Firestop Manufacturer for Firestop Penetration System to comply with listed design.

 2.2
ACCEPTABLE MANUFACTURERS
Approved Products
Edit the list of acceptable manufacturers to include only those with whom you are familiar and whose products are available in the Project area.  You may add any manufacturers whose products you determine meet the specification and Project requirements.

A.
Passive Fire Protection Partners, Delta, BC  (800) 810-1788  www.firestop.com
B.
FlameStop V by Flame Stop Inc, Keller, TX  (817) 431-3747  www.flamestop.com
C.
High Performance Firestop Systems by Hilti, Tulsa, OK  (800) 333-1150  www.hilti.com
D.
Metacaulk by Rectorseal, Houston, TX  (800) 231-3345  www.rectorseal.com
E.
Specified Technologies Inc, Somerville, NJ  (800) 992-1180  ww.stifirestop.com
F.
3M Fire Protection Products by 3M, St Paul, MN  (800) 328-1687  www.mmm.com
G.
Tremco Firestopping Systems by Tremco, Beachwood, OH  (800) 562-2728 www.tremcosealants.com
H.
Equal as approved by Architect before installation.  See Section 01600.

PART 3 EXECUTION  -  Not Used
Installation

END OF SECTION

557-1804 (20020)
2
Section 07840

Orlando Welfare Complex
October 11, 2000
Firestopping

