STANDARD
6 May 1999
08310
UPDATES  -

23 Apr 98
-
Updated phone number of Elmdor / Stoneman.



SECTION  08310


ACCESS DOORS AND PANELS
PART 1 GENERAL
 1.1
SUMMARY
A.
Products Supplied But Not Installed Under This Section

1.
Manufactured access doors.

B.
Related Sections

Delete paragraph ‘1' if no access doors installed in concrete slabs.

Edit paragraph ‘2' to correspond with Project requirements.

1

1.
Division 06  -
06201
a.
Installation in framing or masonry

b.
Field fabricated access doors

PART 2 PRODUCTS
 2.1
MANUFACTURED UNITS
A.
Ceiling or Wall Access Doors

1.
Manually operated with key operated lock, cam handle, and concealed continuous piano hinge hardware.  Provide flush key lock only at Dry Pack area.  

2.
Factory prime finish.

3.
Quality Standard  -
Approved Products
a. KRP150FR by Karp

b. KSTC by Karp-Gasketed in drywall.  

Edit the list of approved manufacturers to include only those with whom you are familiar and whose products are available in the Project area.  You may add any manufacturers whose products you determine meet the specification and Project requirements.

44.
Acceptable Manufacturers  -
Approved Products
a.
Cierro Products, Minneapolis, MN  (612) 424-4919  www.cescoaccess.com
b.
Dur-Red Products, Cudahy, CA  (213) 771-9009  

c.
Elmdor Stoneman, City of Industry, CA  (626) 968-8699 www.elmdor.com
d.
Jensen Industries, Los Angeles, CA  (800) 325-8351 www.nortek-inc.com
e.
J. L. Industries, Bloomington, MN  (800) 554-6077  www.jlindustries.com
f.
Karp Associates Inc, Maspeth, NY  (800) 888-4212  www.karpinc.com
g.
Larsen's Manufacturing Co, Minneapolis, MN  (800) 527-7367 www.larsensmfg.com
h.
Milcor Limited Partnership, Holland, OH  (800) 861-6452 www.milcorlp.com
i.
Nystrom Inc, Minneapolis, MN  (800) 547-2635  www.nystrom.com
j.
Williams Brothers Corporation of America, Front Royal, VA  (800) 255-5515

k.
Equal as approved by Architect before bidding.  See Section 01600.

PART 3 EXECUTION  -  Not Used
Installation

END OF SECTION

557-1804 (20020)
1
Section 08310

Orlando Welfare Complex
October 11, 2000
Access Doors And Panels


