STANDARD
10 Nov 1998
08712
UPDATES  -

3 Nov 98
-
Changed NT Quality flushbolts to Rockwood.

26 Oct 98
-
Changed keying schedule from LE96-336 to LE98-346.

27 Jul 98
-
Changed keying schedules to accommodate new 4 room Storage Building.  Changed keying for HA92-249/250 to HA97-249/250



SECTION  08712


SECURING DEVICES
PART 1 GENERAL
Edit Article ‘1.1' as necessary to give an accurate, but brief description of the work of this Section and accurate listing of related work, especially if the scope of the work is not shown graphically on the Drawings.

 1.1
SUMMARY
A.
Products Supplied But Not Installed Under This Section

1.
Flush bolts

2.
Locksets And latchsets

3.
Cylinders

Delete paragraph ‘9' if no exterior fire protection system and post indicator valve.

B.
Related Sections

1.
Section 08411  -  Securing devices for aluminum-framed storefront doors
08411
2. Section 08701  -  General Hardware Requirements 

3.
Miscellaneous padlocks by local PM Group.

 1.2
DELIVERY, STORAGE, AND HANDLING
Delivery
A.
Standard Key Delivery

1.
Include change keys with hardware.

Enter which of the following persons is to receive the masterkeys;  Stake President, Stake Physical Facilities Representative, Multi-Stake PM Supervisor, Physical Facilities Field Manager, or Architect.  On an addition / remodel Project if the existing system is being matched, it should not be necessary to provide master keys and this requirement may be deleted.  An exception would be if a new unit will be meeting in the building.  In that case, a masterkey should be provided for the new unit.

2.
Prior to Final Acceptance Meeting, send master keys to Mike Parris, PM Group.

PART 2 PRODUCTS
 2.1
MANUFACTURED UNITS
A.
General

1.
Bolts shall have metal dust box strikes.

2.
Furnish lead shields where required.

3.
Backsets shall be 2-3/4 inches.

B.
Flush Bolts

Delete the types of flushbolts not used on this Project.  Manual flushbolts are preferred if allowed by local code.  If more than two types are required, indicate on the Door Schedule or in the appropriate Hardware Groups in Section 08701 what types are used on which doors.

1.
Approved Manufacturers And Models  -
Approved Products
If only one type of doors is to receive flushbolts, delete the line showing type of door as well as the column of model numbers for the type of door not used.

Metal Door
Wood Door
a.
Manual Flushbolts  -

1)
Glynn Johnson
FB6

FB6W

2)
Hager

282D
283D

3)
Ives 


458-1/2
262

4)
Rockwood

555

557

5)
Trimco/BBW
3917

3999

Delete Paragraph ‘C’ if no surface bolts used on Project.  If surface bolts are necessary, add surface bolts to the appropriate Hardware Groups in Section 08701. 

C.
Locksets And Latchsets

Lever operators are standard in new construction.  Knobs should only be used if allowed by local code and to match existing hardware.  It is preferred that lever operaters be used in new construction even if local codes allow use of knobs.

DO NOT DELETE, ADD, OR APPROVE ANY OTHER MANUFACTURERS OR LOCKSETS WITHOUT WRITTEN APPROVAL OF TECHNICAL SUPPORT SERVICES.  HARDWARE FROM OTHER MANUFACTURERS, SUCH AS ‘BEST LOCKS’, OR THE HIGH SECURITY HARDWARE USED ON THE EXTERIOR  DOORS IS NOT ACCEPTABLE ON INTERIOR MEETINGHOUSE DOORS.  IF SUCH HARDWARE IS BEING USED IN EXISTING BUILDINGS, IT SHOULD BE REPLACED WITH APPROVED HARDWARE.  THE VMR PARTNERS ARE NOT AUTHORIZED TO BID PRODUCTS NOT ACCEPTABLE TO TSS.

On addition / remodel Projects, it is preferred that the hardware specified below be used rather than using hardware that matches the existing hardware.  Keying cylinders can be provided in the specified hardware that matches the keying system of the existing locksets.  Remember the Storage Building if locking devices are being replaced or the keying system of the building changed.

1.
Lever Operated  -

a.
Approved Models And Manufacturers  -
Approved Products
1)
170 Series by Marks

2)
AL Series by Schlage

3)
5400LN by Yale

2.
Knob Operated  -

a.
Approved Models And Manufacturers  -
Approved Products
1)
120 by Marks

2)
A Series by Schlage

3)
5300 Series by Yale

D.
Standard Cylinders

Include the following optional paragraphs ‘1' and ‘2' for new building Projects and for addition / remodel Projects to specify cylinders other than the high security cylinders that are used on new and existing aluminum entries.

1.
Provide cylinders for overhead door in Storage Building.

2.
Approved Manufacturers  -  Match Manufacturer of locksets

Replace paragraphs ‘1' and ‘2' above with the following optional paragraphs ‘1', ‘2', and ‘3' on existing buildings where an existing exterior lock system other than a standard high security system is in use on the exterior doors and is being matched.

1.
Aluminum Entry Door Cylinders  -  Provide cylinders to Section 08411 to fit aluminum entrance system and hardware provided.

2.
Other Cylinders  -  Provide cylinders for overhead door in Storage Building, coiling counter doors, mesh partition doors, locking accordion folding partitions, and for interior exit devices requiring cylinders.

3.
Approved Manufacturers  -  Match Manufacturer of locksets

Use Article ‘G’ to specify exit devices for doors other than the aluminum entrance system doors, which are specified in Section 08411.

 2.2
MANUFACTURERS
Delete the listing of manufacturers who do not have products specified in this Section based on your editing to fit Project requirements.  DO NOT ADD ANY OTHER MANUFACTURERS.

A.
DCI - Door Controls Inc, Dexter, MI  (800) 443-4324  www.doorcontrols.com
B.
Glynn-Johnson, Indianapolis, IN  (800) 525-0336  www.vonduprin.com
C.
Hager, St Louis, MO  (314) 772-4400  www.hagerhinge.com
D.
Ives, New Haven, CT  (203) 772-0310  

E.
Knape & Vogt, Grand Rapids, MI  (800) 253-1561  www.kv.com
F.
Marks USA, Amityville, NY  (800) 526-0233  www.marksusa.com
G.
Precision, Romulus, MI  (313) 326-7500  

H.
Rockwood, Manufacturing Co, Rockwood, PA  (800) 458-2424 www.rockwoodmfg.com
I.
Sargent, New Haven, CT  (203) 562-2151  www.sargentlock.com
J.
Schlage, Colorado Springs, CO  (800) 847-1864  www.schlage.com
K.
Trimco / BBW, Los Angeles, CA  (213) 262-4191  www.qualityhdwe.com
L.
Von Duprin, Indianapolis, IN  (800) 999-0408  www.vonduprin.com
M.
Yale, Charlotte, NC  (800) 438-1951  www.yalesecurity.com
PART 3 EXECUTION
Use the standard formats, scheduling systems, etc, in the Church Master Specification to specify and call out keying requirements.  The VMR Partners are available for consultation on developing keying systems within authorized Church guidelines and policies.

List the door numbers of the doors each key is to operate.

The keying and hardware of Church Projects is based on the fact that security from break‑in is virtually impossible to prevent because of the use of glazed windows and doors.  If the lock slows down the intruder, he merely breaks a window or door and walks in.  The basic intent of the security keying system is to control the keys in circulation, thereby controlling legitimate traffic, and to reduce the cost of rekeying.

The high security cylinders specified for the entry doors are used only to obtain a system in which the keys cannot be duplicated without written authorization, usually by the Stake President.  Controlling the distribution of the entry door key will greatly reduce unauthorized entry into the meetinghouse.

The interior doors are keyed so areas such as offices and storage closets assigned to an Auxiliary, are keyed separately but are cross-keyed to open all the 'common' rooms, such as the Chapel, Cultural Center, Serving Area, etc.  The basic premise is that each organization receives the key that opens the storage closet or room to which it is assigned and that that key also opens all the 'common' rooms as well.  The keying of Family History rooms will vary according to usage and building design.

The number of keys specified in the Master Section is based upon three wards and a stake suite in the building and one auxiliary assigned to a storage closet.  Adjust the number of keys required to fit different conditions.

The use of high security locks and standard locks will vary with the Project requirements.  Generally, it is strongly recommended that the exterior doors utilize the high security keying system while the interior doors utilize the standard keying system.  Most of the instructions and explanations are based on this arrangement.

It is not intended that anyone on the Ward or Stake level carry a masterkey or grandmasterkey on their person.  The Bishops and Stake President should have access to the interior masterkey for their building, but keep it in the key cabinet or their desk or file cabinet.  The PFR and custodians would use the interior Master keys for each building to which they have been assigned and the exterior Master key for the buildings within the Stake to which they have been assigned.  The exterior Grandmaster key will be used by the Custodial Foreman or PM Supervisor and other Area Office or Regional personnel to gain access to the buildings over which they have jurisdiction when their jurisdiction goes beyond a stake's boundaries.  If a PM Group's jurisdiction does not go beyond a stake boundary, a Grandmasterkey is not necessary.  Arrangements to give custodial, regional, and area personnel access to the key cabinet so they may have access to the interior of the building should be made on an individual, local basis.

It is not recommended nor is this system designed to key the interior doors of different buildings under the same keying system (master or grandmaster) nor to have exterior keying systems go beyond PM Group boundaries.  No level higher than master key should be necessary for building interiors, nor grandmaster for building exteriors.  It is also not necessary for high security systems to be used anywhere other than exterior entry doors.

Keying Designations  -  The keying designations (AA, AB, BA, BB, etc) are only intended as a guide to the person pinning the locks within a keying system.  Thus, unless every building in the Stake is being keyed at the same time, every building in a stake may have its keying system labeled A with AA change keys.  Since there is no relationship between the keying systems of each building, no differentiation such as AB, AC, etc. is necessary.  If all the buildings in the stake are being keyed at the same time so some differentiation is required, the designations would be C, D, E, etc, with CA, DA, EA, etc, being the change keys and B/BA being the exterior door keying system.

Suggested key distribution.  See also the Keying Directive -

1.
General Keys  -  These keys are for issuance to Auxiliary Organizations and Individuals who are not assigned a storage space secured with a standard lockset.

2.
Bishop's Office Keys  -  Bishop, First Counselor, Second Counselor, Executive Secretary, Ward Clerk

3.
Clerk's Office Keys  -  One each to each assistant Ward Clerk, Bishop's Secretary, typists.

4.
Storage Space Keys  -  For each Auxiliary Organization assigned to a storage space secured with a standrd lockset, there should be one key.  If more than one Auxiliary Organization is assigned to the same storage space, one keys should be specified for each Auxiliary Organization assigned to the storage space.

5.
Mechanical Spaces, Etc  -  These keys are for 'loaners' to workmen and other personnel required to have temporary access to the utility spaces.  The Custodian should carry a Masterkey so he does not need to use these keys.

6.
Stake President's Office Keys  -  Stake President, First Counselor, Second Counselor, Stake Executive Secretary, Stake Clerk.

7.
Interior Stake Suite Keys  -  High Councilors, Assistant Stake Clerks, other stake personnel.

8.
Interior Masterkeys  -  Each Bishop / Branch President, Stake President, Stake PFR, custodian foreman / PM Supervisor assigned to the building.

9.
Exterior High Security Door Keys  -  Anyone authorized for after-hours access to the building.  The standard, preferred keying scheme requires everyone to carry at least two keys to access all the spaces they require in the building.

10.
Exterior High Security Master Keys  -  Stake PFR and stake custodial foreman / PM Supervisor.

11.
Exterior High Security Grandmaster Key  -  Multi-stake custodial foreman / PM Supervisor and sometimes PFFM.

3.1 STANDARD KEYING SCHEDULE  -  INTERIOR DOORS
A.
Keying Schedule to e determined by owner at time of submittal.  

Delete the reference in Paragraph ‘B’ to doors between Offices if there are none.

END OF SECTION

557-1804 (20020)
2
Section 08712

Orlando Welfare Complex
October 11, 2000
Securing Devices

