STANDARD
22 Feb 2000
08714
UPDATES  -

22 Feb 00
-
Corrected Rockwood coordinator number



SECTION  08714


 ACCESSORIES FOR PAIRS OF DOORS
PART 1 GENERAL
Edit Article ‘1.1' as necessary to give an accurate, but brief description of the work of this Section and accurate listing of related work, especially if the scope of the work is not shown graphically on the Drawings.

 1.1
SUMMARY
A.
Products Supplied But Not Installed Under This Section

1.
Coordinators

2.
Meeting Stiles

3.
Astragals for wood doors

B.
Related Sections

1.
Section 08112  -  Astragals for steel doors
08112
2.
Section 08701  -  General Hardware Requirements And VMR Suppliers
08701
PART 2 PRODUCTS
 2.1
MANUFACTURED UNITS
A.
Coordinators

1.
Approved Models And Manufacturers  -
Approved Products
a.
600 Series by DCI

b.
SR400 by Dorma

c.
CO2 x FB1 by Glynn Johnson

d.
297D by Hager

e.
Series 900 by Ives


f.
1600 Series by Rockwood

If meeting stiles are required, specify the satisfactory items and add the meeting stile to the appropriate Hardware Groups in Section 08701.

B.
Meeting Stiles

1.
Approved Models And Manufacturers  -
Approved Products
a.
?

by Hager

b.
?

by NGP

c.
?

by Pemko

If astragals are required, specify the satisfactory items and add the astragals to the appropriate Hardware Groups in Section 08701.  Astragals for hollow metal doors are already specified in Section 08112.

C.
Astragals

1.
Approved Models And Manufacturers  -
Approved Products
a.
?

by Hager

b.
?

by NGP

c.
?

by Pemko

 2.2
MANUFACTURERS
A.
Door Controls Inc - DCI, Dexter, MI  (800) 742-3634  www.doorcontrols.com
B.
Dorma, Reamstown, PA  (800) 523-8483  www.dorma-usa.com
C.
Glynn-Johnson, Indianapolis, IN  (800) 525-0336

D.
Hager, St Louis, MO  (314) 772-4400 www.hagerhinge.com
E.
H B Ives, Wallingford, CT  (203) 294-4837

F.
National Guard Products - NGP, Memphis, TN  (800) 647-7874  www.ngpinc.com
G.
Pemko, Ventura, CA  (800) 283-9988  www.pemko.com
H.
Rockwood Manufacturing Co, Rockwood, PA  (800) 458-2424 www.rockwoodmfg.com
PART 3 EXECUTION  -  Not Used


END OF SECTION

20020
1
Section 08714

MeetingHouse
May 22, 2000
Accessories for Pairs of Doors

