STANDARD
11 May 1999
08715
UPDATES  -

11 May 99
-
Changed model of Dorma closer.

3 Nov 98
-
Updated VMR contact information.  Changed from category one and two closers to single type closer on all doors.  Added Sargent as approved manufacturer.



SECTION  08715


CLOSING DEVICES
PART 1 GENERAL
 1.1
SUMMARY
A.
Products Supplied But Not Installed Under This Section

Edit paragraph ‘1' to correspond with the types of doors on the Project using closers.

1.
Closers for flush wood doors and hollow metal doors.

B.
Related Sections

1.
Section 08411  -  Closers for aluminum-framed storefront doors
08411
2.
Section 08701  -  General Hardware Requirements
08701
 1.2
WARRANTY
Warranty
A.
Provide Manufacturer's standard warranty, 5 years minimum.

PART 2 PRODUCTS
 2.1
MANUFACTURED UNITS

A.
Surface-Mounted Overhead Door Closers

1.
Closers provided under this Section shall be from same Manufacturer.

2.
Provide parallel arms on closers unless door position in relation to adjacent wall requires otherwise.  Provide covers.

3.
Closers shall allow for 180 degree opening and not be used as a stop.

4.
Closers shall have following features  -

a.
Adjustable sweep speed

b.
Adjustable backcheck

c.
Non-handed, non-sized

Indicate on the Door Schedule doors required to have delayed action closing.  If none, delete paragraph ‘d’.

d.
Delayed action closing where noted on Door Schedule

Do not add or approve any other manufacturers or systems without written approval of Architectural & Engineering Services.  The VMR Partners are not authorized to bid products not accepted by A & E Services.

5.
Approved Models And Manufacturers  -
Approved Products
a.
7900 Series by Dorma, Reamstown, PA  (800) 523-8483 www.dorma‑usa.com
b.
1461 Series by LCN, Princeton, IL  (800) 526-2400  www.lcnclosers.com
c.
8501 Series by Norton, Charlotte, NC  (800) 438-1951 www.yalesecurity.com
d.
1431 Series by Sargent, New Haven, CT  (203) 562-2151 www.sargentlock.com
PART 3 EXECUTION
 3.1
INSTALLATION
Installation
A.
Mount closers on stop side of door wherever conditions permit.

B.
Through-bolt hardware-to-door connections.

 3.2
ADJUSTING
A.
Adjust closers to provide maximum opening force as required by governing code authority and proper backcheck and sweep speed.


END OF SECTION

557-1804 (20020)
1
Section 08715

Orlando Welfare Complex
October 11, 2000
Closing Devices

