
 STANDARD
1 Aug 1998
08716

UPDATES  -

If armor plates or stretcher plates are necessary, use DHI naming conventions to determine terms to be used and sizes to specify.  Normally, mop plates should not be used.  Normally only kickplates are necessary.  Each DHI term delineates a size range of protection plate.



SECTION  08716


 PROTECTIVE PLATES AND TRIM

PART 1 GENERAL

 1.1
SUMMARY

A.
Products Supplied But Not Installed Under This Section

1.
Kick plates

B.
Related Sections

1.
Section 08701  -  General Hardware Requirements and VMR Suppliers
08701
PART 2 PRODUCTS

 2.1
MANUFACTURED UNITS

A.
Kick Plates

1.
Size  -  10 inches high by width of door less 3/4 inch on each side.

Only stainless steel kick plates are acceptable in all cases.

2.
Material  -  0.050 inch thick Stainless Steel

 2.2
APPROVED MANUFACTURERS
Approved Products
A.
Baldwin, Reading, PA  (215) 777-7811  www.baldwinbrass.com
B.
Glynn-Johnson, Indianapolis, IN  (800) 525-0336  www.vonduprin.com
C.
Hager, St Louis, MO  (314) 772-4400  www.hagerhinge.com
D.
H B Ives, Wallingford, CT  (203) 294-4837

E.
Rockwood Manufacturing Co, Rockwood, PA  (800) 458-2424 www.rockwoodmfg.com
F.
Trimco / BBW / Quality, Los Angeles, CA  (213) 262-4191  www.trimcobbw.com
PART 3 EXECUTION  -  Not Used


END OF SECTION

557-1804 (20020)
1
Section 08716

Orlando Welfare Complex
October 11, 200
Protective Plates and Trim 

