STANDARD
1 Aug 1998
08771

UPDATES  -



SECTION  08771


KEY STORAGE AND CONTROL EQUIPMENT
PART 1 GENERAL
 1.1
SUMMARY
A.
Products Supplied But Not Installed Under This Section

1.
Key cabinet

B.
Related Sections

1.
Section 08701  -  General Hardware Requirements and VMR Suppliers
08701
2.
Section 08712  -  Finish hardware keying schedule
08712
PART 2 PRODUCTS
 2.1
MANUFACTURED UNITS
A.
Key Cabinet

1.
Provide cabinet with 60 hooks minimum.

2.
20 gauge steel with prime coat and provided with lock.

PART 3 EXECUTION
 3.1
INSTALLATION
A.
Turn key cabinet over to local Church unit at Substantial Completion with all keys required for every locking device on Project tagged and on hooks.  Owner's PM group will install.


END OF SECTION

ADVANCE \d252
B L A N K   P A G E

20020
1
Section 08771

MeetingHouse
May 22, 2000
Key Storage And Control Equipment

