STANDARD
1 Aug 1998
09130

UPDATES  -



SECTION  09130


ACOUSTICAL SUSPENSION

PART 1 GENERAL

 1.1
SUMMARY

A.
Includes But Not Limited To

1.
Furnish and install acoustical suspension system as described in Contract Documents to receive acoustical ceiling panels.

B.
Related Sections

1.
Division 16  - Interior light fixtures
16510
 1.2
REFERENCES
Delete or add references based on editing of other parts of this Section.

A.
American Society For Testing And Materials
ASTM
1.
ASTM C 635-97, 'Standard Specification for the Manufacture, Performance, and Testing of Metal Suspension Systems for Acoustical Tile and Lay-In Panel Ceilings'

2.
ASTM C 636-96, 'Standard Practice for Installation of Metal Ceiling Suspension Systems for Acoustical Tile and Lay-In Panels'

PART 2 PRODUCTS

 2.1
COMPONENTS

Specify intermediate duty if the Project is in seismic zones 1 or 2A, and heavy duty if Project is in seismic zones 2A through 4.

A.
Systems shall meet requirements of ASTM C 635, Intermediate Duty or Heavy Duty.

B.
Exposed surfaces shall be finished with factory-applied white baked enamel.

C.
Main runners and cross T's shall have one inch exposed face.

D.
Hanger Wire  -  12 gauge cold-rolled electro-galvanized steel.

E. Edge Molding  -  Channel section of cold-rolled electro-galvanized steel.

F.
Design Standards  -  DX or DXL Systems by USG Interiors

 2.2
APPROVED MANUFACTURERS
Approved Products
A.
Armstrong World Industries, Lancaster, PA  (800) 448-1405  www.ceilings.com
B.
Chicago Metallic Corporation, Chicago, IL  (800) 323-7164  www.chicago-metallic.com
C.
USG Interiors Inc, Chicago, IL  (800) 950-3839  www.usg.com
PART 3 EXECUTION

 3.1
INSTALLATION
Installation
A.
Work shall be in accordance with Manufacturer's recommendations insofar as they are concerned with Contract Documents.  Installation shall meet requirements of ASTM C 636.

B.
Lay out suspension system symmetrically about center lines of room unless shown otherwise by Drawings.  Lay out system so use of tiles less than 1/2 size is minimized.

C.
Maintain suspension system in true plane with straight, even joints.

D.
Suspension system joints shall be straight and in alignment, and exposed surface flush and level.  Wherever system abuts walls, columns, and other vertical surfaces, furnish and install appropriate molding.

E.
Locate light fixtures, speakers, and mechanical diffusers and grilles symmetrically in room insofar as possible (unless shown otherwise).  Locate fixtures, speakers, diffusers, and grilles within suspension grid spaces and centered at least one direction within grid.

F.
Pay particular attention to required hanger wire placement and fixture protection.  Individual component deflection not to exceed 1/360 of span.

Delete Article ‘G’ if acoustic panel suspension system is not installed adjacent to adjustable headers for accordion folding partitions.

G.
Do not attach suspension system to adjustable folding partition headers.


END OF SECTION

557-1804 (20020)
2
Section 09130

Orlando Welfare Complex
October 11, 2000
Acoustical Suspension

