STANDARD
31 Jan 2000
09340
UPDATES  -

31 Jan 00
-
Added crack isolation membrane and expansion provisions.

11 Feb 99
-
Change method of selecting and specifying colors.

Paver tile is not acceptable for use in Rest Rooms.



SECTION  09340


PAVER TILE
PART 1 GENERAL
 1.1
SUMMARY
A.
Includes But Not Limited To

1.
Furnish and install setting bed as described in Contract Documents

2.
Furnish and install ceramic paver tile and stone thresholds as described in Contract Documents.

 1.2
REFERENCES
Delete or add references based on editing of other parts of this Section.

A.
American National Standards Institute
ANSI
1.
ANSI A137.1-1988, ‘Ceramic Tile’

B.
Tile Council of America
TCA
1.
TCA Handbook, ‘Handbook for Ceramic Tile Installation’

 1.3
SUBMITTALS
A.
Product Data
Product Data
1.
Manufacturer's literature for each component of system.

2.
Cleaning and maintenance instructions

3.
Color and pattern selections

B.
Samples  -  2 foot by one foot sample on cement board showing all types of paver tile, grout, and colors specified in this Section.
Samples
C.
Quality Assurance / Control  -  Master grade certificate. 
Quality
 1.4
DELIVERY, STORAGE, AND HANDLING
Delivery
A.
Deliver and store packaged materials in their original unopened containers with labels intact until time of use.  Store and handle materials in a manner to prevent damage or contamination by water, freezing, or foreign matter.

B.
Keep grade seals intact and cartons dry until tile are used.

 1.5
PROJECT CONDITIONS
A.
Project Environmental Requirements  -  Keep ambient temperatures of area to receive tile work and surface temperatures of substrates at 50 deg F minimum during preparation of mortar bed, laying of tile, and for 72 hours after completion of tile work.  Use electric heat to prevent discoloration of grout.

PART 2 PRODUCTS
 2.1
COMPONENTS
A.
Tile

1.
Tile shall be standard quality, dust-pressed, machine-made, square or cushion edge, graded in accordance with ANSI A137.1-1988.

a.
External corners shall be standard round.

b.
Internal corners shall be square.

2.
Exterior Entry Vestibule And Serving Area Floor Tile  -

a.
Glaze hardness shall be 7.0 Mohs minimum.  Abrasion resistance shall be Class IV minimum.

b.
Base shall be of same dense-body composition as field tile.

Other tile sizes may be used, if research into available sizes is conducted.  Most of the specified tiles are available only in 8 and 12 inch square units.  If other sizes are preferred, edit paragraphs ‘c’ and ‘d’ so only manufacturers with tiles available in the selected size(s) are specified.

c.
Tile Size  -  12 inches square

d.
Series And Color Quality Standard  -  _________________________________ by ___________________

Select the series and color to be used as the Series And Color Quality Standard from one of the option groups. The equivalent of up to 25 percent of floor area may be an accent color chosen by Architect from same series of tile as the tile used as field tile.

Optional Group One

1)
Triad Granite Look Series by American Olean Tile  -  TR01 Athens Gray, TR02 Delphi  Rose, TR06 Corinth Biege

2)
Premier Series by Dal-Tile  -  2801 Almond, 2804 Peach

3)
Granite Series of Natura Floor Tile by Florida Tile  -  8222 Pampas, 8205 Pepper, 8218 Rosestone, 8220 Tauple, 8214 Granite White

4)
Metallic Series by Interceramic, USA  -  INMTALU12 Aluminum, INMTCOP12 Copper, INMTIRO12 Iron, INMTPEW12 Pewter, INMTZIN12 Zinc, INMTLEA12 Lead

5)
Granito by KPT Inc  -  GN01 Rose, GN07 Charcoal, GN08 Pewter, GN09 Pearl

6)
ImpervaGranite Series by Summitville Tiles  - G44 Shasta, G46 Trinity, G48 Olympus, G50 Everest, G58 Catskills

Optional Group Two

1)
Vitrestone Series with abrasive content by Dal-Tile  -  Bluestone 1918, Grey Ganite 1921, Greystone 1917, Agate 1914, Black 1911

2)
Imperva Series by Summitville Tiles  -  I-12 Biscuit, I-25 Palm Beach, I-40 Fawn, I45 Camel’s Hair, I64 Gull Gray

Optional Group Three

1)
Dakota Series by Dal-Tile  -  5501 Pissarro, 5502 Monet, 5503 Cezanne, 5504 Van Gogh

2)
Natura Cortina Series by Florida Tile  -  7907 Natural, 7915 Wood Ash, 7951 Limestone, 7924 Gold Dust, 7977 Rust

3)
Formalesque Series by Summitville Tiles  -  F11 Alabaster, F15 Heather, F17 Tapioca, F62 Platinum, F94 Coral

Optional Group Four

1)
Wyoming Series by Dal-Tile  -  5701 Pueblo, 5702 Taos, 5703 Santa Fe, 5704 Tempe

2)
Natura Plaza Series Series by Florida Tile  -  7308 Crema Marfil, 7316 Rosa Venezia, 7320 Perlato, 7326 Alicante, 7379 Rosa Aurora

3)
Pueblo Stones II Series by Summitville Tiles  -  R12 Windswept, R21 Tipi, R31 Tumbleweed, R41 Coyote, R47 Mesquite, R71 Blue Bell, R92 Adobe

Optional Group Five

1)
Desert Series by Dal-Tile  -  Dunes, 1635, Gobi 1626

2)
Natura Liberty Series by Florida Tile  -  8615 Stucco, 8603 Parchment, 8607 Natural, 8619 Pearl

3)
Montana by Interceramic, USA  -  INMNGRAN08 Ganito, INMNARE08 Arena, INMNPLA08 Platinum, INMNGRF08 Grafito, INMNVAI08 Vail

Optional Group Six

1)
Goldrush Series by Dal-Tile  -  Klondike White 5200, Fargo Gray 5201, Goldust 5202,  Gunsmoke 5206

 2.2
MANUFACTURERS
A.
American Olean Tile Co, Lansdale, PA  (215) 393-2898  www.aotile.com
B.
Dal-Tile - Dallas Ceramics, Dallas, TX  (800) 933-8453  www.daltile.com
C.
Florida Tile, Lakeland, FL  (800) 352-8453  www.floridatile.com
D.
Interceramic USA, Garland, TX  (800) 365-6733  www.interceramicusa.com
E.
KPT Incorporated, Bloomfield, IN  (812) 384-3563  

F.
Summitville Tiles Inc, Summitville, OH  (330) 223-1511  www.summitville.com
PART 3 EXECUTION
 3.1
EXAMINATION
A.
Before commencing paver tilework, inspect surfaces to receive tile and accessories and notify Architect in writing of defects or conditions that will prevent satisfactory tile installation.  Installation work shall not proceed until satisfactory conditions are provided.

Use Article ‘3.2' to add information specifying removal of existing tile and setting beds or other preparation work in addition / remodel Projects.

 3.2
PREPARATION
A.
Allow concrete to cure for 28 days minimum before application of setting bed.

B.
Grounds, anchors, plugs, hangers, door frames, electrical, mechanical, and other work in or behind tile shall be installed before tile work is started.

 3.3
INSTALLATION
Installation
A.
Site Tolerances

1.
Sub-floor Surfaces  -  1/8 inch in 10 feet from required plane.

B.
General

1.
Install in accordance with following TCA installation methods  -

The methods specified are those preferred.  Edit to fit Project circumstances.  Use of a setting bed for installation of floor tile is required only where a floor drain is used.  Since paver tile is not installed in Rest Rooms, the thin set method should be used.

a.
Flush Concrete Slabs  -  TCA F115

b.
Framed Floors  -  TCA F141 or F144 at installer’s option

c.
Base  -  TCA square style

2.
Center and balance areas of tile if possible.

3.
Hold cuts to a minimum with no cut pieces smaller than 1/2 tile size unless absolutely necessary.  Make cuts on outer edges of field.  Smooth cut edges.  Install tile without jagged or flaked edges.

4.
Fit tile closely where edges will be covered by trim ​or similar devices.

5.
Splitting of tile is expressly prohibited except where no alternative is possible.

6.
Make corners of tile flush and level with corners of adjacent tile, with due allowance to tolerance for tile as specified in ANSI A137.1

7.
Keep joint lines straight and of even width, including miters.

8.
Finish floor areas level with no variations exceeding 1/8 inch in 10 feet from required plane.

9.
Finished tilework shall be clean and free of pitted, chipped, cracked, or scratched tiles.  Clean in accordance with TCA Specifications.

C.
Application

Delete paragraphs ‘1' and ‘2' if paver tile is not installed over framed floor.  Otherwise, edit to fit Project circumstances.

1.
On Setting Bed  -  Apply setting bed to depth equal to depression in slab minus 1/2 inch.  Properly cure before installing tile.

2.
On Cement Board Sheathing  -

a.
Install vapor retarder over floor prior to installing cement board.

b.
Install cement board in accordance with Manufacturer's recommendations.

c.
Attach board through subfloor into framing with screws spaced 8 inches on center.  Pre-drill holes in cement board for screws if required by Cement Board Manufacturer.

d.
Tape and fill joints as required by Cement Board Manufacturer.

3.
Clean base surface thoroughly.  Install specified crack isolation membrane.

4.
Float mortar over area no greater than can be covered with tile while mortar remains plastic.  Cover evenly with no bare spots.  Comb mortar with notched trowel of type recommended by Manufacturer within ten minutes of applying tile.

5.
Finished mortar bed thickness 3/32 inch to 1/8 inch thick with thinset mortar after beating-in.  If substrate is uneven, use medium bed type mortar from one of the specified manufacturers 3/16 to 3/4 inch thick after beating-in.

6.
Press tile firmly into freshly notched mortar.  Beat‑in and adjust tile before initial set takes place.

7.
Press and beat tile into position to obtain 100 percent contact with mortar bed with no voids in mortar.  Obtaining 100 percent contact with rib-backed tile may require troweling mortar layer on back of each tile prior to placing on mortar bed.  Leave 3/16 to 1/4 inch clean gap between floor tile and wall surface.

8.
Install base by topset method.  Allow for expansion joint directly above any expansion or control joints in slab.  Insert temporary filler in tile expansion joints.

D.
Applying Sealants And Grouting of Tile

1.
Grout Type  -  Use epoxy grout with floor and base tile.

2.
Firmly set tile before applying sealants or grouting.  This requires 48 hours minimum.

3.
Remove spacers or ropes before grouting.

4.
Apply sealant before installing grout.  Apply bead of sealant at joint between base and floor tile.

5.
Using grout of type and mix specified, force grout into joints using hard rubber grouting trowel or other suitable tool recommended by Grout Manufacturer.  Use sufficient pressure and flow grout in progressively to avoid air pockets and voids.

6.
Fill joints full.  Fill joints of cushion edge tile to depth of cushion.  Fill joints of square edge tile flush with surface.

7.
Remove excess grout from surface of tile with squeegee or rubber trowel before it loses its plasticity or begins to set.  Follow Grout Manufacturer's recommendations for final clean-up.

8.
Finished grout shall be uniform in color, smooth, and without voids, pin holes, or low spots, and tile shall be clean.

E.
Curing  -  Keep installation at 65 to 85 deg F during first 8 hours of cure.  Shade area completely from sun during this period.

 3.3
PROTECTION
A.
Close to traffic spaces in which tile is being set and other tile work being done.  Keep closed until tile is firmly set.  Before, during, and after grouting, keep area clean, dry, and free from foreign materials and air flow which will interfere with setting and curing of grout.

B.
Newly tiled floors shall not be walked on nor worked on without using kneeling boards or equivalent protection of tiled surface.


END OF SECTION

ADVANCE \d252
B L A N K   P A G E

20020
4
Section 09340

MeetingHouse
May 22, 2000
Paver Tile


