STANDARD
4 Mar 1999
09512

UPDATES  -

4 Mar 99
-
Changed style of panels used.



SECTION  09512


ACOUSTICAL PANEL CEILINGS

PART 1 GENERAL

 1.1
SUMMARY

A.
Includes But Not Limited To

1.
Furnish and install tile for suspended acoustical ceilings as described in Contract Documents.

B.
Related Sections

1.
Section 09130  -  Acoustical Panel Suspension System
09130
 1.2
SUBMITTALS

A.
Product Data
Product Data
1.
Manufacturer's literature

2.
Color and pattern selection

 1.3
DELIVERY, STORAGE, AND HANDLING
Delivery
A.
Store materials where protected from moisture and damage.

B.
Use no soiled, scratched, or broken material in the Work.

 1.4
MAINTENANCE

A.
Extra Materials  -  Provide Owner with one carton of each type of tile for future use.

PART 2 PRODUCTS

 2.1
MATERIALS

A.
Acoustic Panels

The panels specified are cast type.  Other types of panels should not be specified to satisfy aesthetics or to match existing.

1.
Cast panels, core color to match surface color.

2.
Finish  -  Use tile from same color run in individual rooms to assure color match.

3.
Thickness  -  3/4 inch minimum

4.
Approved Patterns And Manufacturers  -
Approved Products
a.
Natural Fissured by Celotex, Tampa, FL  (813) 873-1700 www.celotex.com
b.
Eurostone Arpeggio by Chicago Metallic Corp, Chicago, IL  (800) 323-7164  www.chicago-metallic.com
c.
'F' Fissured by USG Interiors, Chicago, IL  (800) 950-3839  www.usg.com
PART 3 EXECUTION

 3.1
EXAMINATION

A.
Inspect for defects in support which are not acceptable.  Report defects to Architect in writing.  Do not install ceiling panels until defects in support are corrected.

3.2.
INSTALLATION
Installation
A.
Materials shall be dry and clean at time of application.

 3.3
CLEANING

A.
'Touch‑up' minor abraded surfaces.

B.
Remove from site all debris connected with work of this Section.

C.
Remove and replace discolored tile to match adjacent tile.

D.
Remove and replace damaged or out-of-level tile at no additional cost to Owner.


END OF SECTION

557-1804 (20020)
2
Section 09512

Orlando Welfare Complex
October 11, 2000
Acoustical Panel Ceilings

