SUPPLEMENTARY
29 Feb 2000
09653sup

UPDATES  -

29 Feb 00
-
Added American Tile Inc as an approved manufacturer.

9 Jun 98
-
Added Mannington Commercial as an approved manufacturer.



SECTION  09653


RESILIENT TILE FLOORING

PART 1 GENERAL

 1.1
SUMMARY

A.
Includes But Not Limited To

1.
Furnish and install resilient tile flooring as described in Contract Documents.

 1.2
SUBMITTALS

A.
Product Data
Product Data
1.
Manufacturer's literature or cut sheet on each component of system

2.
Maintenance instructions

3.
Color and style selection

 1.3
PROJECT CONDITIONS

A.
Project Environmental Conditions  -  Maintain 70 deg F minimum during application.

 1.4
MAINTENANCE

A.
Extra Materials  -  Leave box of 20 extra tile of each pattern and color used on Project with Owner.

PART 2 PRODUCTS

 2.1
MATERIALS

A.
Reinforced Vinyl Tile

1.
'Marbleized' or 'Thru-chip' Pattern 1/8 inch by 12 inches square.  Do not furnish tile which does not have its pattern and color extended continuously through entire thickness.

2.
Meet or exceed Fed Spec SS‑T‑312b, Type IV.

3.
Colors  -  To be selected by Architect.

4.
Acceptable Manufacturers  -
Approved Products
a.
Excelon by Armstrong World Industries, Lancaster, PA  (800) 292-6308 www.armstrongfloors.com
b.
Cortina VCT by Azrock Industries, Florence, AL  (205) 766-0234 www.domco.com
c.
Essentials by Mannington Commercial, Salem, NJ  (800) 241-2262 www.mannington.com
d.
Vinyl Plastics Inc VPI, Sheboygan, WI  (800) 874-4240 www.vpicorp.com
e.
Vinlasa by American Tile Inc, Tucson, AZ  (520) 577-2969

f.
Equals as approved by Architect before bidding.  See Section 01600.

B.
Adhesive  -  Water-resistant type.  Best grade in accordance with Manufacturer's recommendations.

PART 3 EXECUTION

 3.1
INSTALLATION
Installation
A.
Lay tile symmetrically about center line of spaces to insure even borders unless shown differently on Drawings.

B.
Install beveled edge stripping at terminal edges of tile except at ceramic tile, carpet, and where Drawings indicate different detail.  Conceal edging strips beneath doors.


END OF SECTION

557-1804 (20020)
2
Section 09653

Orlando Welfare Complex
October 11, 2000
Resilient Tile Flooring


