STANDARD
2 Aug 1999
09913

UPDATES  -

2 Aug 99
-
Add PPG Porter

11 Jan 99
-
Updated Benjamin Moore products.  Added ICI Devoe and ICI Fuller O’Brien.



SECTION  09913


EXTERIOR PAINTED GALVANIZED METAL

PART 1 GENERAL

 1.1
SUMMARY

A.
Includes But Not Limited To

Delete paragraph ‘1' in no new galvanized metal surfaces are to be painted.

1.
Preparing and painting new exterior exposed galvanized metal surfaces as Described in Contract Documents.

On addition / remodel Projects requiring painting of existing surfaces, list or describe the existing exterior galvanized metal surfaces to be finished under this Section, show them graphically of the Drawings, or include them on a schedule in the Drawings.  If one of the latter two options is used, delete paragraph ‘2.’

B.
Related Sections

1.
Section 09901  -  General Painting Requirements
09901
PART 2 PRODUCTS

Delete all but one of the optional sets of paint systems.  Then edit the list of approved manufacturers and their systems to include only those with whom you are familiar and whose products are available in the Project area.  DO NOT ADD OR APPROVE ANY OTHER MANUFACTURERS OR SYSTEMS.

 2.1
MATERIALS

OPTION 1  -  Include this set of paint systems if Project is located in an area where VOC compliant paints ARE required and a FLAT finish is desired.

OPTION 4  -  Include this set of paint systems if Project is located in an area where VOC compliant paints ARE NOT required and a GLOSS finish is desired.

A.
Primer Coat

1.
New Surfaces  -

a.
Benjamin Moore  -  023 Fresh Start

b.
ICI Paints  -

1)
ICI Dulux  -  4120-XXXX Devguard All-Purpose Metal & Galvanized Primer

2)
ICI Devoe  -  DP13201 Mirrolac Galvanized Metal Primer

3)
ICI Fuller O’Brien  -  DP13201 Mirrolac Galvanized Metal Primer

c.
PPG Paints  -

1)
PPG Pittsburgh Paints  -  6-209 Galvanized Steel Primer

2)
PPG Porter  -  290 Porter Guard Galvanized Metal Primer

d.
Pratt & Lambert  -  Suprime 3

e.
Sherwin-Williams  -  Galvite Primer, B50W3

B.
Finish Coats

1.
Benjamin Moore  -  Two Coats 175 Moorcraft SuperSpec Gloss Latex Paint

2.
ICI Paints  -

a.
ICI Dulux  -  Two Coats 4308-XXXX Devguard Gloss Alkyd Industrial Enamel

b.
ICI Devoe  -  Two Coats DP581XX Bar QX Alkyd QD Gloss Industrial Enamel

c.
ICI Fuller O’Brien  -  Two Coats DP581XX Bar QX Alkyd QD Gloss Industrial Enamel

3.
PPG Paints  -

a.
PPG Pittsburgh Paints  -  Two Coats 90-474 PittTech Satin DTM or 90-374 PittTech Gloss DTM

b.
PPG Porter  -  Two Coats 2809 Porter Guard DTM Satin or 2909 Porter Guard DTM Acrylic Gloss Enamel

4.
Pratt & Lambert  -  Two Coats Effecto Enamel

5.
Sherwin-Williams  -  Two Coats A-100 Gloss Latex, A8 Series

Edit the list of approved manufacturers to include only those with whom you are familiar and whose products are available in the Project area.  Edit the product listing in each paint Section to correspond with this list as edited for this Project.  DO NOT ADD OR APPROVE ANY OTHER MANUFACTURERS OR SYSTEMS.  NO OTHER MANUFACTURERS OR PRODUCTS ARE ACCEPTABLE FOR THIS PAINT.

 2.2
APPROVED MANUFACTURERS
Approved Products
A.
Benjamin Moore, Montvale, NJ  (888) 236-6667  www.benjaminmoore.com
B.
ICI Paints

1.
ICI Dulux Paints, Cleveland, OH  (800) 984-5444  www.icidulux.com
2.
ICI Devoe,  www.devoepaint.com
3.
ICI Fuller O’Brien,  www.fullerpaint.com
C.
PPG Paints

1.
PPG Pittsburgh Paints, Pittsburgh, PA  (800) 441-9695 www.ppgaf.com
2.
PPG Porter, Louisville, KY  (800) 322-6370  www.porterpaints.com
D.
Pratt & Lambert, Cleveland, OH  (800) 289-7728  

E.
Sherwin-Williams, Cleveland, OH  (800) 321-8194  www.sherwin-williams.com
F.
Wm. Zinsser & Co, Somerset, NJ  (908) 469-8100  www.zinsser.com
PART 3 EXECUTION

 3.1
APPLICATION
Installation
A.
General  -  See appropriate paragraphs of Section 09901.
09901
B.
New Surfaces

1.
Clean ‘passivated’ or ‘stabilized’ galvanized steel as specified in SSPC-SP1.

2.
After removal of ‘passivated’ or ‘stabilized’ coating or for surfaces without coating, clean surfaces to be painted with mineral spirits or product recommended by Paint Manufacturer.  Change to clean rags or wiping cloths regularly to reduce possibility of recontamination of surface.

3.
Apply prime coat.

4.
Apply finish coats.

After examination of the existing surfaces to be repainted, edit the procedure to be followed in preparing those surfaces for repainting, if necessary.

Delete Articles ‘C’ and ‘D’ if no existing exterior galvanized metal is to be painted.


END OF SECTION

ADVANCE \d252
B L A N K   P A G E

557-1804 (20020)
1
Section 09913

Orlando Welfare Complex
October 11, 2000
Exterior Painted Galvanized Metal


