STANDARD
2 Aug 1999
09921
UPDATES  -

2 Aug 99
-
Added PPG Porter

11 Jan 99
-
Added ICI Devoe and ICI Fuller O’Brien



SECTION  09921


INTERIOR PAINTED POURED CONCRETE
PART 1 GENERAL
 1.1
SUMMARY
A.
Includes But Not Limited To

1.
Preparing and painting of new concrete floors to be left exposed in finished building, as described in Contract Documents.

On addition / remodel Projects requiring painting of existing surfaces, list or describe the existing interior concrete floors to be finished under this Section, show them graphically on the Drawings, or include them in a schedule on the Drawings.  If one of the latter two options is used, delete paragraph ‘2' and the word ‘new’ from paragraph ‘1' above.

2.
Preparing and painting following existing concrete floors as described in Contract Documents  -

a.


b.


B.
Related Sections

1.
Section 09901  -  General Painting Requirements
09901
PART 2 PRODUCTS
Delete one of the sets of paint systems.  Then edit the list of approved manufacturers and their systems to include only those with whom you are familiar and whose products are available in the Project area.  Do not add or approve any other manufacturers or systems.

 2.1
MATERIALS
A.
Floors

OPTION 1  -  Include this set of paint systems if Project is located in an area where VOC compliant paints ARE required.

1.
Benjamin Moore  -

a.
First Coat  -  Moore's Latex Floor & Patio Finish 122 thinned with one pint water per gallon of finish.

b.
Second Coat  -  Moore's Latex Floor & Patio Finish 122

2.
ICI Paints  -

a.
ICI Dulux, First And Second Coats  -  3018-XXXX Ultra-Hide Acrylic Latex Interior / Exterior Floor Enamel

b.
ICI Devoe, First And Second Coats  -  DR78XX Porch & Floor Satin Interior / Exterior Acrylic Latex Enamel

a.
ICI Fuller O’Brien, First And Second Coats  -  FOB631-XX Latex Floor Enamel Satin

3.
PPG Paints  -

a.
PPG Pittsburgh Paints  -

1)
First Coat  -  3-410 Latex Floor & Deck Enamel thinned with one pint of water per gallon of finish

2)
Second Coat  -  3-410 Latex Floor & Deck Enamel

b.
PPG Porter

1)
First Coat  - 1069 Acrylic Floor Enamel thinned with one pint of water per gallon of finish

2)
Second Coat  - 1069 Acrylic Floor Enamel

4.
Pratt & Lambert  -

a.
First And Second Coats  -  Withstand Latex Floor Enamel

5.
Sherwin Williams  -

a.
First And Second Coats  -  Acrylic Latex Floor Enamel, A24 Series

OPTION 2  -  Include this set of paint systems if Project is located in an area where VOC compliant paints ARE NOT required.

1.
Benjamin Moore  -

a.
First Coat  -  Iron Clad Chex-Wear Enamel 226 thinned with one pint Solvent Thinner 660 per gallon or finish

b.
Second Coat  -  Iron Clad Chex-Wear Enamel 226

2.
ICI Paints  -

a.
ICI Dulux  -

1)
First Coat  -  3118-XXXX Ultra-Hide Urethane Interior / Exterior Floor Enamel, thinned 25 percent

2)
Second Coat  -  3118-XXXX Ultra-Hide Urethane Interior / Exterior Floor Enamel

b.
ICI Devoe  -

1)
First Coat  -  DR77XX Porch & Floor Gloss Interior / Exterior Alkyd / Urethane Enamel, thinned 25 percent

2)
Second Coat  -  DR77XX Porch & Floor Gloss Interior / Exterior Alkyd / Urethane Enamel

c.
ICI Fuller O’Brien  -

1)
First Coat  -  FOB630-XX Floor & Deck Alkyd Gloss Enamel, thinned 25 percent

2)
Second Coat  -  FOB630-XX Floor & Deck Alkyd Gloss Enamel

3.
PPG Paints  -

a.
PPG Pittsburgh Paints  -

1)
First Coat  -  3-510 Urethane Modified Alkyd Floor & Deck Enamel thinned with one pint Manufacturer’s recommended material per gallon

2)
Second Coat  -  3-510 Urethane Modified Alkyd Floor & Deck Enamel

b.
PPG Porter  -

1)
First Coat  - 69 Glyptex Floor & Porch Enamel thinned with one pint Manufacturer’s recommended material per gallon

2)
Second Coat  - 69 Glyptex Floor & Porch Enamel

4.
Pratt & Lambert  -

a.
First And Second Coat  -  Withstand Alkyd Floor Enamel

5.
Sherwin Williams  -

a.
First And Second Coat  -  Polyurethane Floor Enamel, A33 Series

Edit the list of approved manufacturers to include only those with whom you are familiar and whose products are available in the Project area.  Edit the product listing in each paint Section to correspond with this list as edited for this Project.  DO NOT ADD OR APPROVE ANY OTHER MANUFACTURERS OR SYSTEMS.  NO OTHER MANUFACTURERS OR PRODUCTS ARE ACCEPTABLE FOR THIS PAINT.

 2.2
APPROVED MANUFACTURERS
Approved Products
A.
Benjamin Moore, Montvale, NJ  (888) 236-6667  www.benjaminmoore.com
B.
ICI Paints

1.
ICI Dulux Paints, Cleveland, OH  (800) 984-5444  www.icidulux.com
2.
ICI Devoe,  www.devoepaint.com
3.
ICI Fuller O’Brien,  www.fullerpaint.com
C.
PPG Paints

1.
PPG Pittsburgh Paints, Pittsburgh, PA  (800) 441-9695 www.ppgaf.com
2.
PPG Porter, Louisville, KY  (800) 322-6370  www.porterpaints.com
D.
Pratt & Lambert, Cleveland, OH  (800) 289-7728  

E.
Sherwin-Williams, Cleveland, OH  (800) 321-8194  www.sherwin-williams.com
PART 3 EXECUTION
 3.1
APPLICATION
Installation
A.
General  -  See appropriate paragraphs of Section 09901.
09901
B.
Existing Painted Surfaces

1.
Remove deteriorated existing paint down to sound substrate by scraping and sanding.  Feather edges of existing paint by sanding to be smooth with adjacent surfaces.  Acid etch bare concrete areas, if necessary.

2.
Clean floors as recommended by Paint Manufacturer.

3.
Apply coating system.


END OF SECTION

ADVANCE \d252
B L A N K   P A G E

Project Number
3
Section 09921

Project Name
Project Date
Interior Painted Poured Concrete


