STANDARD
2 Aug 1999
09924

UPDATES  -

2 Aug 99
-
Added PPG Porter

11 Jan 99
-
Updated Benjamin Moore products.  Added ICI Devoe and ICI Fuller O’Brien.



SECTION  09924


INTERIOR PAINTED METAL

PART 1 GENERAL

 1.1
SUMMARY

A.
Includes But Not Limited To

1.
Preparing and painting new interior metal surfaces as described in Contract Documents.

On addition / remodel Projects requiring painting of existing surfaces, list or describe the existing interior metal surfaces to be finished under this Section, show them graphically on the Drawings, or include them in a schedule on the Drawings.  If one of the latter two options is used, delete paragraph ‘2' and the word ‘new’ from paragraph ‘1' above.

B.
Related Sections

1.
Section 09901  -  General Painting Requirements
09901
PART 2 PRODUCTS

Delete all the sets of paint systems but one.  Then edit the list of approved manufacturers and their systems to include only those with whom you are familiar and whose products are available in the Project area.  DO NOT ADD OR APPROVE ANY OTHER MANUFACTURERS OR SYSTEMS.

 2.1
MATERIALS

OPTION 1  -  Include this set of paint systems if Project is located in an area where VOC compliant paints ARE required.

OPTION 2  -  Include this set of paint systems if Project is located in an area where VOC compliant paints ARE NOT required.

A.
Primer Coat

1.
New Surfaces  -

a.
Benjamin Moore  -  163 Ironclad Alkyd Low Lustre Metal & Wood Enamel

b.
ICI Paints  -

1)
ICI Dulux  -  4160-XXXX Devguard Multi-Purpose Tank & Structural Primer

2)
ICI Devoe  -  DP27915 Surmax HS Primer

3)
ICI Fuller O’Brien  -  DP27915 Surmax HS Primer

c.
PPG Paints  -

1)
PPG Pittsburgh Paints  -  90-712 Pitt-Tech Inhibitive Primer

2)
PPG Porter  -  272 Porter Guard Alkyd Metal Primer

d.
Pratt & Lambert  -  Suprime 9

e.
Sherwin-Williams  -  Kem Kromik Metal Primer, B50W1

B.
Finish Coats

1.
Benjamin Moore  -  Two Coats M22 Urethane Alkyd Gloss Enamel

2.
ICI Paints  -

a.
ICI Dulux  -  Two Coats 4308-XXXX Devguard Gloss Alkyd Industrial Enamel

b.
ICI Devoe  -  Two Coats 581XX Bar-OX Gloss Alkyd Industrial Enamel

c.
ICI Fuller O’Brien  -  Two Coats 581XX Bar-OX Gloss Alkyd Industrial Enamel

3.
PPG Paints  -

a.
PPG Pittsburgh Paints  -  Two Coats 90-374 PittTech DTM Gloss or 90-474 PittTech DTM Satin

b.
PPG Porter  -  Two Coats 2749 Porter Guard Fast Dry Alkyd Enamel

4.
Pratt & Lambert  -  Two Coats Effecto Enamel

5.
Sherwin-Williams  -  Two Coats Industrial Enamel, B54 Series

Edit the list of approved manufacturers to include only those with whom you are familiar and whose products are available in the Project area.  Edit the product listing in each paint Section to correspond with this list as edited for this Project.  DO NOT ADD OR APPROVE ANY OTHER MANUFACTURERS OR SYSTEMS.  NO OTHER MANUFACTURERS OR PRODUCTS ARE ACCEPTABLE FOR THIS PAINT.

 2.2
APPROVED MANUFACTURERS
Approved Products
A.
Benjamin Moore, Montvale, NJ  (888) 236-6667  www.benjaminmoore.com
B.
ICI Paints

1.
ICI Dulux Paints, Cleveland, OH  (800) 984-5444  www.icidulux.com
2.
ICI Devoe,  www.devoepaint.com
3.
ICI Fuller O’Brien,  www.fullerpaint.com
C.
PPG Paints

1.
PPG Pittsburgh Paints, Pittsburgh, PA  (800) 441-9695 www.ppgaf.com
2.
PPG Porter, Louisville, KY  (800) 322-6370  www.porterpaints.com
D.
Pratt & Lambert, Cleveland, OH  (800) 289-7728  

E.
Sherwin-Williams, Cleveland, OH  (800) 321-8194  www.sherwin-williams.com
F.
Wm. Zinsser & Co, Somerset, NJ  (908) 469-8100  www.zinsser.com
PART 3 EXECUTION

 3.1
APPLICATION
Installation
A.
General

1.
See appropriate paragraphs of Section 09901.
09901
2.
Systems specified are in addition to prime coats furnished under other Sections.

B.
New Surfaces  -  Remove rust spots by sanding and immediately spot prime.  If all traces of rust cannot be removed, apply rust blocker recommended by Paint Manufacturer before applying full primer coat.

After examination of the existing surfaces to be repainted, edit the procedure to be followed in preparing those surfaces for repainting, if necessary.

Delete Article ‘C’ if no existing exterior iron or steel work is to be painted.


END OF SECTION

557-1804 (20020)
2
Section 09924

Orlando Welfare Complex
October 11, 2000
Interior Painted Metal


