ADDITION / REMODEL
3 Aug 1999
09926ar

UPDATES  -

3 Aug 99
-
Added PPG Porter

11 Jan 99
-
Added Benjamin Moore, ICI Devoe, and ICI Fuller O’Brien



SECTION  09926


INTERIOR PAINTED ACOUSTICAL CEILING TILE
PART 1 GENERAL
 1.1
SUMMARY
A.
Includes But Not Limited To

On addition / remodel Projects requiring painting of existing surfaces, list or describe the existing interior areas where acoustical tile surfaces are to be finished under this Section, show them graphically on the Drawings, or include them in a schedule on the Drawings.  If one of the latter two options is used, delete Paragraph ‘A’.

1.
Prepare and paint existing ceiling tile in following areas as described in Contract Documents  -

a.


b.


c.


B.
Related Sections

1.
Section 09901  -  General Painting Requirements
09901
PART 2 PRODUCTS
 2.1
MATERIALS
A.
Stain Blocker

1.
Benjamin Moore  -  023 Fresh Start

2.
ICI Paints  -  

a.
ICI Dulux  -

b.
ICI Devoe  -  51801 Kilstain W / B Primer Sealer

c.
ICI Fuller O’Brien  -  PrimZ Interior / Exterior Primer Sealer

3.
PPG Paints  -

a.
PPG Pittsburgh Paints  -  17-21 Seal-Grip Stain Blocker Primer

b.
PPG Porter  -  1129 Blankit Interior Acrylic Primer / Sealer

4.
Pratt & Lambert  -  

5.
Sherwin-Williams  -  

B.
Finish Coat

1.
Benjamin Moore  -  One Coat 290 Moorcraft Super Craft Latex Flat Paint

2.
ICI Paints  -

a.
ICI Dulux  -  One Coat 1210-XXXX Ultra-Hide Latex Flat Wall Paint

b.
ICI Devoe  -  One Coat DR36XX Wonder-Tones Flat Interior Latex Wall Paint

c.
ICI Fuller O’Brien  -  One Coat FOB202-20 Interior / Exterior Acrylic Flat - Higher Solids

3.
PPG Paints  -

a.
PPG Pittsburgh Paints  -  One Coat 59-75 Latex Flat Ceiling Paint

b.
PPG Porter  -  One Coat 778 Hi-Hide Ceiling Paint

4.
Pratt & Lambert  -  One Coat Pro Hide Bronze Flat Wall Paint

5.
Sherwin-Williams  -  One Coat Pro-Mar 700 Latex Flat Wall Paint

Edit the list of approved manufacturers to include only those with whom you are familiar and whose products are available in the Project area.  Edit the product listing in each paint Section to correspond with this list as edited for this Project.  DO NOT ADD OR APPROVE ANY OTHER MANUFACTURERS OR SYSTEMS.  NO OTHER MANUFACTURERS OR PRODUCTS ARE ACCEPTABLE FOR THIS PAINT.

 2.2
APPROVED MANUFACTURERS
Approved Products
A.
Benjamin Moore, Montvale, NJ  (888) 236-6667  www.benjaminmoore.com
B.
ICI Paints

1.
ICI Dulux Paints, Cleveland, OH  (800) 984-5444  www.icidulux.com
2.
ICI Devoe,  www.devoepaint.com
3.
ICI Fuller O’Brien,  www.fullerpaint.com
C.
PPG Paints

1.
PPG Pittsburgh Paints, Pittsburgh, PA  (800) 441-9695 www.ppgaf.com
2.
PPG Porter, Louisville, KY  (800) 322-6370  www.porterpaints.com
D.
Pratt & Lambert, Cleveland, OH  (800) 289-7728  

E.
Sherwin-Williams, Cleveland, OH  (800) 321-8194  www.sherwin-williams.com
PART 3 EXECUTION
 3.1
APPLICATION
Installation
A.
See appropriate paragraphs of Section 09901.
09901
B.
Clean acoustic tile surface and prepare as recommended by Paint Manufacturer.  In addition, apply shellac or a stain blocker as recommended by Finish Coat Manufacturer over dirty or stained areas.

C.
Apply finish coat as follows

1.
Perforated tile  -  Roll or spray.

2.
Fissured tile  -  Spray only.


END OF SECTION

20020
2
Section 09926

MeetingHouse
May 22, 2000
Interior Painted Acoustical Ceiling Tile


