SECTION 09935

SEALING CONCRETE FLOORS

PART 1 – GENERAL 

1.1 SUMMARY 

A. Includes 

1. Concrete floors which are to be sealed as described in Contract Documents.  

B. Related Sections 

1. Section 09900 – General Paints and Coatings Requirements 

PART 2 – PRODUCTS 

2.1 MATERIALS 

A. One coat of Seal Hard concrete sealer, densifier and chemical hardener manufactured by L & M Construction chemicals, Inc., telephone (402) 453-6600.

PART 3  - EXECUTION 

3.1 APPLICATION 

A. See appropriate paragraphs of Section 09900.  

B. Apply in accordance with Manufacturer’s written instructions.  

END OF SECTION

557-1804 (20020)
1
Section 09935 

Orlando Welfare Complex
October 11, 2000
Sealing Concrete Floors 

