STANDARD
4 Mar 1999
10120

UPDATES  -

6 Oct 98
-
Changed tackboards to Owner furnished, Contractor installed.



SECTION  10120


TACKBOARDS

PART 1 GENERAL

 1.1
SUMMARY

A.
Products Installed But Not Supplied Under This Section

1.
Tackboards and specified hardware  -  Visual Display Board Type 2

B.
Related Sections

2.
Division 06  -  Blocking
06110
 1.2
SUBMITTALS

A.
Product Data
Product Data
1.
Manufacturer's literature or cut sheet

2.
Maintenance instructions

3.
Color selections

B.
Quality Assurance / Control  -  Manufacturer's published installation instructions.
Quality
 1.3
WARRANTY
Warranty
A.
Manufacturer's standard five year warranty against faulty workmanship and materials.

PART 2 PRODUCTS

 2.1
COMPONENTS

A.
Tackboard

1.
1/4 inch natural cork faced with 15 oz cloth supported vinyl meeting requirements of Fed Spec CCC-W-408 Type 2 and UL rated for 25 flame spread minimum.

2.
Backing  -  C-D grade plugged and touch sanded plywood or particle board, back primed or foil covered.

3.
Color  -  Antique White

B.
Trim

1.
Extruded aluminum with a satin etched and anodized finish 6063-T5 Alloy.

a.
Extrusions shall match thickness of units without wedging.

b.
Natural Aluminum

c.
Round all sharp edges.

C.
Map Clips

1.
Manufacturer's standard.

2.
Provide two map clips on each tackboard.

 2.2
APPROVED MANUFACTURER

A.
ADP Lemco Corporation, West Jordan, UT  (800) 575-3626  www.adp-lemco.com
 2.3
FABRICATION

A.
Prefabricate units at factory and ship to jobsite in one piece complete with mounting attachments suitable for wall conditions.  Units shall be of first quality and lamination done by approved standards of industry.  Furnish printed cleaning instructions with each shipment.

PART 3 EXECUTION

 3.1
INSTALLATION
Installation
A.
Mount boards square and level.

B.
Mount boards flush to wall by top and sill clips, by continuous concealed hangers at top and bottom, or by combination of hangers and clips.  Where clips are used, use two top clips minimum per board.  Use two bottom clips per board on boards 5 feet long or shorter, three bottom clips on boards over 5 feet long.

C.
Mounting fasteners shall penetrate framing member or masonry 3/4 inch minimum.  Use one inch long minimum filler plugs in masonry walls.

D.
After attaching map clips, apply permanently attached end cap or screw to prevent removal of map clips.


END OF SECTION

557-1804 (20020)
2
Section 10120

Orlando Welfare Complex
October 11, 2000
Tackboards


