STANDARD
10 May 1999
10125
UPDATES  -

6 Oct 98
-
Changed to Owner furnished / Contractor installed.



SECTION  10125


VISUAL DISPLAY CABINETS
PART 1 GENERAL
 1.1
SUMMARY
A.
Products Installed But Not Supplied Under This Section

1.
Visual Display Cabinets  -  Visual Display Board Type 4

B.
Related Sections

1.
Visual Display Cabinets will be furnished by Owner as specified under Section 01600.  PART 2 of this specification establishes quality of materials for information of Contractor, Architect, and Owner's Representatives.
Owner Furnished
2.
Division 06  -  Installation
06201
 1.2
SUBMITTALS
A.
Product Data  -  Manufacturer's literature
Product Data
PART 2 PRODUCTS
 2.1
MANUFACTURED UNITS
A.
Missionary Display Cases

1.
Framing  -  Red Oak prefinished to match color of architectural woodwork.

2.
Sliding Glass Doors  -  1/4 inch tempered polished plate.

3.
Tackboard  -  1/4 inch vinyl impregnated cork laminated to plywood, masonite, or flakeboard base.

4.
Locks  -  Standard of Manufacturer.  Provide four keys.

5.
Mounting Devices  -  As furnished by Manufacturer for type of wall to receive case.

6.
Size  -  4 feet by 4 feet

7.
Model And Manufacturer  -

a.
MBS-44 by ADP Lemco Corp, West Jordan, UT  (800) 575-3626 www.adp‑lemco.com
PART 3 EXECUTION
 3.1
INSTALLATION
Installation
A.
Mount plumb and true with devices furnished by Manufacturer.


END OF SECTION

ADVANCE \d252
B L A N K   P A G E

20020
1
Section 10125

MeetingHouse
May 22, 2000
Visual Display Cabinets


