SECTION 10260

WALL GUARDS

PART 1 – GENERAL 

1.1 SUMMARY 

A. Includes but not limited to 

1. Furnish and install vinyl wall guards in accordance with contract documents.  

1.2 REFERENCES

A. AMERICAN society for testing and materials

1. ASTM D 256-903a, ‘Test Method for Impact Resistant of Plastics and Electrical Insulating Materials”  

2. ASTM E 84-95, Test Method for Surface Burning Characteristics of Building Materials.”  

B. Underwriters Laboratories 

1. UL 723 

1.3 QUALITY ASSURANCE 

A. Regulatory Requirements 

1. vinyl wall guards – 

a. UL classified conforming with NFFA Class A fire rating with surface burning characteristics as tested materials in accordance with UL 723 (ASTM E 84-91a).  

b. 20 ft/lbs/pr square inch as tested in accordance with ASTM D 256, Notched Izod Test.  

PART 2 – PRODUCTS 

2.1 APPROVED MANUFACTURERS 

A. Vinyl corner guards 

1. America Floor Products Co., Inc. 

2. Acrovyn by Construction Specialties, Inc., San Marcos, CA  

3. Construction Specialties, Inc., San Marcos, VA  

4. IPC, Muskego, WI  53159 – Model 1600 wall guard 

5. Pawlings Corp., Pawling, NY  

2.2 MATERIALS 

A. VINYL wall Guards 

1. Surface mounted, 6” high x 1” projection, nominal high, high-impact vinyl/acrylic or polyvinyl chloride (PVC) extrusions designed to absorb and resist abrasions under impact.  Furnish and install continuous aluminum retainer and end caps.  

PART 3 – EXECUTION 

3.1 INSTALLATION 

A. Mount on walls as indicated on drawings.  

END OF SECTION

557-1804 (20020)
1
Section 10260

Orlando Welfare Complex
October 11, 2000
Wall Guards

557-1804 (20020)
1
Section 10260

Orlando Welfare Complex
October 11, 2000
Wall Guards

