Copyright 1993, The American Institute of Architects (AIA)

This Short Language Version (SLV) Section was condensed from the updated Basic Version Section of the same title and number.  Refer to the Basic Version Section Cover sheet for changes from the previous edition of this Section.

Caution:  Use Short Language Version Sections for small, simple, private projects that are negotiated rather than bid.  Use for projects limited to traditional materials and methods.  Use for projects where the Architect has reduced Contract administration responsibilities.

Refer to the Basic Version Section when editing this SLV Section.  The Basic Section contains comprehensive notes and requirements plus a greater number of options.  Refer to the Basic Version Section's Evaluations for guidance in editing this SLV Section.

This SLV Section includes panel signs, dimensional letters and numbers, and cast metal plaques.

SECTION 10425

SIGNS

1.1 GENERAL

A. Submittals:  Submit the following:

1. Shop Drawings:  Provide plans, elevations, and sections showing typical members, anchors, layout, reinforcement, accessories, and installation details.  Include the following:

a. Message list for each sign with wording and letter layout.

b. Setting drawings, templates, and directions for installing anchors.

Delete below if not included.

c. Full-size spacing templates for dimensional letters.

Delete below if not required.

2. Samples:  For initial selection of color, pattern, and surface texture, and for verification of compliance with requirements indicated.

a. Aluminum:  6-inch-long sections of extrusions and 4-inch squares of sheet or plate.  Show full range of colors.

b. Dimensional Letters:  Full-size sample of each letter type.

Delete below if the Project does not include illuminated signs.

1.2 PRODUCTS

See the Basic Version for a list of manufacturers of various types of signs.

Retain materials required by sign type.

A. Aluminum Sheet:  Alloy and temper with properties specified in ASTM B 209 for 5005-H15.

B. Aluminum Extrusions:  Alloy and temper with properties specified in ASTM B 221 for 6063-T5.

C. Aluminum Castings:  Alloy and temper recommended for the casting process used and for the use and finish indicated.

D. Fasteners:  Concealed noncorrosive metal.

E. Anchors and Inserts:  Nonferrous metal or hot-dipped galvanized.  Use toothed steel or lead expansion bolt devices for drilled-in-place anchors.  Furnish inserts for concrete or masonry work.

F. Colored background colors.

Delete below if not required.

G. Panel Signs:  Comply with requirements for materials, thicknesses, finishes, colors, designs, shapes, sizes, and construction details.  Produce smooth, even, level sign panel surfaces.

Select panel sign type from options below.

Revise below if bracket color is different from sign's background color.

H. Brackets:  Fabricate brackets and fittings from extruded aluminum to suit panel construction and mounting conditions.  Factory-paint brackets color matching background color of sign panel.

I. Graphic Content and Style:  Provide sign copy that complies with size, style, spacing, content, position, material, finishes, and colors of letters, numbers, and other graphic devices.

Select copy process from choices below.

Retain below with any of the above processes for compliance with the ADA accessibility guidelines and ANSI A117.1.

Delete below if applied copy is not included.

J. Applied Copy:  Die-cut characters from vinyl film with pressure-sensitive adhesive backing.  Apply to exposed face of sign panel.

Select one from below.

1. Panel Material:  Matte-finished opaque acrylic sheet.

Delete below if cast letters and numbers are not included.

Select metal from the choices below.

2. Metal:  Aluminum.

Delete below if cutout letters and numbers are not included.

Delete the paragraph below if fabricated letters and numbers are not included.

K. Fabricated Letters and Numbers:  Fabricate characters to required sizes and styles.  Form exposed faces and sides to produce surfaces free from warp and distortion.  Include internal bracing for stability and attachment of mounting accessories.

Select metal from the choices below.

1. Aluminum Sheet:  0.090 inch thick.  Fabricate by the heliarc welding process.

2. Letter Height:  18 inches.

3. Letter Style:  Helvetica.

L. Metal Finishes:  Comply with NAAMM "Metal Finishes Manual" for finish designations and applications recommendations.

1. Aluminum Finishes:  Finish designations prefixed by "AA" conform to the system established by the Aluminum Association.

Select finish from the examples below or insert finish to match manufacturers selected.

a. Baked-Enamel Finish:  AA-M4xC12C42R1x.  Comply with paint manufacturer's specifications for cleaning, conversion coating, and painting.

1) Organic Coating:  Thermosetting-modified acrylic enamel primer/topcoat system.  Comply with AAMA 603.8 except with a minimum dry film thickness of 1.5 mils, medium gloss.

Retain one requirement from options below.

a) Color:  As selected by the Architect.

Delete below if bronze is not included.

1.3 EXECUTION

A. Installation:  Locate signs where indicated, using mounting methods specified.  Install level, plumb, and at the height indicated, with sign surfaces free from distortion or other defects in appearance.

Delete below if not included.

Select from the three options below.

Delete below if bracket-mounted panel signs are not included in the Project.

Delete below if dimensional letters and numbers are not included in the Project.

B. Dimensional Letters and Numbers:  Mount characters using methods recommended for letter form, type of mounting, wall construction, and condition of exposure indicated.  Provide heavy paper template to establish letter spacing and to locate holes for fasteners.

Select mounting type from options below, or insert others.

1. Projected Mounting:  At distance from wall surface indicated.

Delete below if cast metal plaques are not included in the Project.

C. Cleaning:  After installation, clean soiled surfaces.  Protect units from damage until acceptance by the Owner.

END OF SECTION 10425

557-1804 (20020)
2
 Section 10425

Orlando Welfare Complex
October 11, 2000
Signs


