STANDARD
20 Jul 1999
10523

UPDATES -

20 Jul 99
-
Added manufacturers of fire extinguishers.



SECTION  10523


FIRE EXTINGUISHERS AND CABINETS

PART 1 GENERAL

 1.1
SUMMARY

Edit Paragraph ‘A’ to fit Project requirements.  Wall hung extinguishers are normally only required in Serving Areas and sometimes in Mechanical Rooms.

A.
Products Supplied But Not Installed Under This Section

1.
Wall hung extinguishers

2.
Extinguishers with cabinets

B.
Related Sections

1.
Division 06 -

a.
Blocking
06110
b.
Installation
06201
 1.2
SUBMITTALS

A.
Product Data
Product Data
1.
Manufacturer's literature or cut sheets for cabinets and extinguishers

2.
Maintenance instructions for extinguishers

 1.3
WARRANTY

A.
Provide on fire extinguisher.

PART 2 PRODUCTS

 2.1
MANUFACTURED UNITS

A.
Fire Extinguishers

1.
Units shall be ten pound dry chemical ABC stored pressurized type equipped with pressure gauge and which does not need recharging except after use.

2.
Instructions for repairs, maintenance, and recharging shall be attached.

3.
Unit shall be tested and approved by UL and have minimum 4A:60-B:C UL rating.  UL rating shall appear on extinguisher labels and be attached to and a part of fire extinguisher units.

4.
Approved Manufacturers  -
Approved Products
a.
Amerex Corp, Trussville, AL  (205) 655-3271  www.amerex-fire.com
b.
Ansul Incorporated, Marinette, WI  (800) 862-6785  www.ansul.com
c.
General Fire Extinguisher Corp, Northbrook, IL  (800) 323-6452 www.genfire.com
B.
Fire Extinguisher Cabinets

1.
Cabinets shall be two-piece, semi-recessed or flush type depending on wall thickness, and have white baked enameled steel tubs with white baked enamel return trim and doors, DSA full break-glass, and cylinder locks.

2.
Supply each cabinet with one fire extinguisher specified above.

3.
Quality Standard  -  Ambassador 1017 by J L Industries
Approved Products
Edit the list of approved manufacturers to include only those with whom you are familiar and whose products are available in the Project area.  You may add any manufacturers whose products you determine meet the specification and Project requirements.

4.
Acceptable Manufacturers  -
Approved Products
a.
J L Industries, Bloomington, MN  (800) 554-6077  www.jlindustries.com
b.
Larsen's Manufacturing Co, Minneapolis, MN  (800) 527-7367 www.larsensmfg.com
c.
Modern Metal Products / Technico, Owatonna, MN  (800) 435-5544  

d.
Potter-Roemer, Cerritos, CA  (714) 430-5300  www.potterroemer.com
e.
Samson / J L Industries, City of Commerce, CA  (800) 228-9489  

f.
Equal as approved by Architect before bidding.  See Section 01600.

PART 3 EXECUTION

 3.1
INSTALLATION
Installation
A.
Securely mount cabinets and hangers plumb with wall surfaces.

B.
Trim for cabinets shall be neat in appearance.


END OF SECTION

557-1804 (20020)
1
Section 10523

Orlando Welfare Complex
October 11, 2000
Fire Extinguishers And Cabinets

