OPTIONAL
29 Oct 1999
10814opt

UPDATES  -

29 Oct 99
-
Added ASI.

Baby changing stations are authorized only when shown on a Standard Plan, or in Rest Rooms not provided with adequate standard counter space.



SECTION  10814


BABY CHANGING STATION

PART 1 GENERAL

 1.1
SUMMARY

A.
Products Supplied But Not Installed Under This Section

1.
Baby changing station

B.
Related Sections

1.
Division 06 -

a.
Blocking
06110
b.
Installation
06201
 1.2
SUBMITTALS

A.
Product Data  -  Manufacturer's literature or cut sheets
Product Data
B.
Quality Assurance / Control  -  Manufacturer’s printed installation instructions
Quality
 1.3
WARRANTY
Warranty
A.
Manufacturer’s standard 5 year warranty.

B.
$10,000,000 minimum product liability insurance policy.

PART 2 PRODUCTS

 2.1
MANUFACTURED UNITS

A.
Baby Changing Station

1.
Molded high impact polyethylene with integral straps for securing baby.

2.
Surface mounted.

3.
Gas shock assisted opening and closing devices.

Select the appropriate optional paragraph ‘4'.  Use horizontal design in handicap accessible toilet stalls and for installation outside stalls.  Use vertical design in standard size stalls.

Include this option if only horizontal design units are used on Project.

4.
Approved Manufacturers  -
Approved Products
a.
American Infant Care Products (AICP), Greenwood, MN  (507) 263-5354  www.diaperdeck.com
b.
American Specialties Inc - ASI, Yonkers, NY  (914) 476-9000 www.russelahyco.com
c.
Bobrick, North Hollywood, CA  (818) 982-9600  www.bobrick.com
d.
Brocar, Cincinnati, OH  (800) 827-1207  www.brocar.com
e.
Koala, Denver, CO  (800) 666-0363  www.koalabear.com
f.
Safe-Strap Co, Somersworth, NH  (800) 356-7796  

g.
World Dryer, Berkeley, IL  (800) 323-0701  www.worlddryer.com
Include this option if both horizontal and vertical design units are used on Project

4.
Approved Manufacturer  -
Approved Products
a.
Koala, Denver, CO  (800) 666-0363  www.koalabear.com
PART 3 EXECUTION

 3.1
EXAMINATION

A.
Verify that solid blocking has been installed where changing station is to be installed.  Do not install unit by any other means other than screws or lag bolts into solid blocking.

 3.2
INSTALLATION
Installation
A.
Install items in accordance with Manufacturer's submitted, written instructions for screws or lag bolts into solid substrate.  Install using mounting devices proper for base structure.


END OF SECTION

557-1804 (20020)
2
Section 10814

Orlando Welfare Complex
October 11, 2000
Baby Changing Station

