SECTION 12492

Horizontal louver blinds

PART 1 GENERAL

1.1 SUMMARY 

A. Includes but not limited to 

1. Furnish and install blinds and hardware as described in Contract documents.  

1.2 SUBMITTALS 

A. Product data 

1. Supplier’s literature or cut sheets on blind specified.  

2. Maintenance instructions.  

PART 2 PRODUCTS 

2.1 MANUFACTURED UNITS 

A. Louvers 

1. Nominal louver width:  1 inch (mini-blinds)

2. Cord-Lock operation:  cord lock; locks pull cord to stop blind at any position in ascending or descending travel.  

3. Position of cord lock:  right side unless otherwise noted.

4. Mounting:  wall mounting.

5. Color:  As selected from manufacturer’s standard colors.

6. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:  

Horizontal louver blinds:  

Eastern Standard Corp.

Faber. 

Hunter Douglas, Inc. 

Joanna Western Mills Co. 

Kirsch.

Levolor Corp.

Louverdrape, Inc. 

Nanik.  

Springs Window Fashions Division, Inc.; (Bali-Graber).  

Verosol USA, Inc. 

2.2 FABRICATION

A. Products standard and description:  Comply with AWCMA Document 1029 for each horizontal louver blind unit consisting of louvers, rails, cord locks, tilting mechanisms, tapes, and installation hardware.  

1. Unit sizes:  Obtain units fabricated in sizes to fill window and other openings as follows, measured at 74 deg F (23 deg C):  

2. Blind units installed between (inside) jambs:  Width equal to ¼ inch (6 mm) per side or ½ inch (12 mm) total, plus or minus 1/8 inch (3m mm), less than jamb to jamb dimension of opening in which each blind is installed.  Length equal to ¼ inch (6 mm), plus or minus 1/8 inch (3 mm), less than head to sill dimension of opening in which each blind is installed.  

3. Installation fasteners:  Not less than 2 fasteners per bracket, fabricated from metal non-corrosive to blind hardware and adjoining construction; support blind units under conditions or moral use.  

PART 3 EXECUTION 

3.1 INSTALLATION

A. Install tracks, ceiling mount, with mounting device head no larger than No. 6, to yield direct withdrawal strength of 25 lbs. Minimum. 

B. Support spacing to be as recommended in manufacturer’s literature.  

3.2 CLEANING 

A. Clean blind surfaces according to manufacturer’s instructions, after installation.  

END OF SECTION

557-1804 (20020)

Section 12495

Orlando Welfare Complex

Horizontal Louver Blinds 

557-1804 (20020)
1
Section 12492 

Orlando Welfare Complex
October 11, 2000
Horizontal Louver Blinds 

