
SECTION 16140


WIRING DEVICES
PART 1 GENERAL

1.1 SUMMARY


A.
Includes But Not Limited To



1.
Furnish and install wiring devices complete with plates as shown in Contract Documents.


B.
Related Sections



1.
Section 16100 - General Wiring Methods Requirements

PART 2 - PRODUCTS
2.1
MANUFACTURED UNITS


A.
Receptacles listed are 20 ampere, and switches are 20 amperes single pole.



1.
Where 3-way, 4-way or 2-pole switches, or higher ampere switches or receptacles are required, they shall be same Series as those listed.



2.
Single receptacles shall be rated 20 amperes and same series as those listed.



3.
Devices specified are ivory in color, other colors such as brown or white, shall be provided as required by Architect.



4.
Approved Manufacturers




a.
Manufacturer

1) Hubbell

2) Leviton





3)
Pass & Seymour


B.
Ground Fault Circuit Interrupter



1.
Approved Manufacturers




a.
Hubbell




b.
Leviton-I




c.
Pass & Setmour


C.
Weatherproof Receptacle Covers



1.
Complete with corrosion resistant plate, spring lid cover, and weatherproof mats.



2.
Compatible with GFCI receptacles.



3.
Approved Manufacturers & Models

a. Hubbell

b. Leviton




c.
Pass & Seymour


D.
Plates



1.
Sierra “S” Series .025

2.02
APPROVED MANUFACTURERS


A.
Hubbell Incorporated, Wiring Device Division, Bridgeport, CN (203) 337-3100   FAX(203) 579-2892


B.
Leviton Manufacturing Co, Electrical Distribution, Little Neck, NY (718) 229-4040   FAX (800) 832-9538


C.
Lutron Electronic Co, Inc, Coopersburg, PA  800) 523-9466   FAX (215) 282-6437


D.
Pass & Seymour/Legrand, Syracuse, NY 13221  (315)6211   FAX (315) 468-5034


E.
Walker Division of Wiremold Co, Parkersburg, WV  (800) 222-7532   FAX (304) 485-1611


F.
The Wiremold Company, West Hartford, CT 06133-2500  (800) 621-0049   FAX (203) 232-2062

PART 3 – EXECUTION

All devices shall be of same manufacturer.


END OF SECTION
LDS 557-1804

Orlando Welfare Complex
1
Section 16140

Orlando, Florida
October 11, 2000
Wiring Devices


