
SECTION 16600


SIGNAL AND COMMUNICATION
PART 1 GENERAL

1.1 SCOPE


A.
The Electrical Contractor shall provide the following for the following systems:

1. Telephone/Data System - Electrical Contractor will furnish and install all boxes, conduits, and stub-ups.

2. Security System – The Electrical Contractor will furnish and install all provisions for door switches and other devices shown on the plans. The Contractor will drill doorjambs and doors with a hole the size of as specified by the Owner.



3.
Fire Alarm System – The Electrical Contractor will furnish and install all provisions for the fire alarm system.  See Section 16721.

PART 2 - PRODUCTS
2.1
SCOPE

A.
See Part 1 for Product Scope.

PART 3 - EXECUTION
3.1
MISCELLANEOUS SIGNAL SYSTEMS

A.
See Part 1 for General Responsibility for Installation Requirements.  The Electrical Contractor will furnish and install all conduits and wiring as noted and installation and connection of remote devices.


B.
All cabling will be identified with tags to indicate wire numbers, function and use.


C.
The Electrical Contractor will provide an as-built to the Owner (one for each system) showing location of all devices, routing of conduits and cabling, size of conduits, type and number of wiring in conduits and connections as made for remote devices.


END OF SECTION

LDS 557-1804

Orlando Welfare Complex
1
Section 16600

Orlando, Florida
August 9, 2000
Signal and Communication


