DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

August 29, 2007

City of Slidell

P.O. Box 828

Slidell, La. 70458

Attn: Dan 

RE: Robert Levis Chevrolet

       I 10 Service Road

       Slidell, La. 70458

We have inspected the above referenced job for the electrical installation installed by ABC electrical. The original design called for 1600 amp service. The contractor installed an 800 amp fusible disconnect outside. The reason this was reduced is due to the load requirements being less than originally called for. The items there were eliminated are Paint shop, carwash, lift equipment, water well, and A/C loads.

We approve these changes. The owner is also aware of these changes. Please call me with any questions you may have.

Emmett Dammon 

Dammon Engineering

