Thursday, September 27, 2007

Dear Mr. Butler:

Representatives from the company you selected to furnish the office equipment visited the worksite on Tuesday, September 25 to survey the selected location for installing the equipment.

There is adequate space for the equipment you have selected.  The representative for the company indicated that the equipment would require four separate dedicated electric circuits for the equipment being installed.

Our electric plans do not include the design or cost for these circuits.  This is a request for your approval to proceed with this additional installation.  Total cost for these additional circuits will be $________________.

We will need your written approval for this installation.

Jack Stroupe

Dammon Engineering

