Summary Report for Roof Damage at MECO Building # 4 Port Of New Orleans

MECO Bldg 4 is a metal-framed structure located on the Industrial Canal side of New Orleans LA at the Port of New Orleans. The facility has metal wall panels and an R-panel type of roof system. The roof has an area of approximately 29,920 SF. The initial investigation reveled that there was damage to multiple areas of the roof. There was projectile damage from flying debris throughout the roof system. There was damage to the rake at all sides of the building. There was damage to the ridge at various locations throughout the roof system. There have been temporary repairs to large areas of the roof system in the form of elastomeric patches at screws and panels. This occurs throughout the roof system. This is due to screws backing out as a result of lifted panels. The laminated backed insulation beneath the panels was damaged by wind and water and should be removed and replaced. Due to the widespread damage throughout the roof the entire roof and vinyl-backed insulation should be replaced.

A subsequent investigation reveled that very few if any temporary repairs have been made sense the initial repairs after the storm. The roof and insulation continue to deteriorate and should be replaced.

