554 Old Spanish Trail
Slidell, LA 70458
Phone: 985-649-5832
Fax: 985-641-5950
dammonengineering.com
dammoneng@bellsouth.net

March 25, 2014

Mr. Duncan Welch 
Division of Onsite Wastewater
805 South Wheatley Street, Suite 340
Ridgeland, Ms.  39157

Re: Dreamland Mobile Home Park
    Water System Upgrade
    Wastewater Treatment Facility Upgrade
    Pearl River County, Mississippi

Dear Mr. Welch,

Authorization from your Office to install water service and sewerage at the Dreamland Mobile Home Park was granted on October 21, 2013 (see attached correspondence).

Since that date, the Nicholson Sewer District has granted permission to interconnect to the wastewater collection and treatment works.  In effect, the proposed treatment and effluent disposal system approved by your Office will no longer be necessary.

The water distribution and wastewater collection facilities, however, will be constructed as per plans and specifications submitted with the September 13, 2013 cover letter.  The changes to the project are:

1)	Deletion of the effluent spray field & Field Pumping Facilities
2)	Deletion of the 12,000 GPD Treatment Plant
3)	Deletion of the 2,500 Gal Solids Separator
4)	Addition of +/- 2100 L.F. of 3” HDPE Force main and appurtenances (from proposed Lift  Station along utility servitude & Emmett Metzler Road to Sewer District Manhole)
5)	 Addition of 1more Fire Hydrant for a total of 3 (see modified plans)

Should you have any questions or if further information is required, please feel free to contact me.  A timely reply is greatly appreciated.
  
Respectfully,

Brian A. Mistich, P.E.
Mississippi Registration #20971

xc:  Mr. Jim Weston, Mississippi Department of Health