Dammon Engineering, Inc.

dammonengineering.com


1095 Florida Ave.



P.O. Box 2830



            985-649-5832

Slidell, LA 70458



Slidell, LA  70459


   FAX 985-641-5950

November 30, 2010

Mr. Zachary Smith
1300 Perdido Street

City Hall-Room 7E06

New Orleans, LA  70112

RE:
3923 BIENVILLE AVE.


Permit No. 10COM-01439
Dear Mr. Smith,

Please note the following responses to your letter dated November 4, 2010.

ARCHITECTURAL:

1. Approval from the state Fire Marshal is required.  Please contact the State Fire Marshal’s office at 8181 Independence Blvd., Baton Rouge, LA 70806.

The Fire Marshal letter has been provided.

2.  No interior/structural work it be performed under this permit.
Agree, under this permit there is no interior/structural work that will be performed on the building.

If you have any questions, or require any further information, please feel free to call.

Sincerely,

David Dammon

Project Manager
