DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


554 Old Spanish Trail


                 P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

September 14,2011
To: 
Hunter Charbonnet

Casey Civil, LLC

1080 Old Spanish Trail, Ste.8


Slidell, LA 70458

REF: PNK Casino, Epoxy Anchor Bolt design REVISION 
Dear Mr. Charbonnet,

Please see the following revised Reaction and anchor bolt capacity calculations regarding the Anchor Bolt design for the columns A & B on frame line SJ1.
Install four ea. 26”Lx ¾”ø  Threaded Rod Anchor bolts with simpson Strong-Tie SETXP Epoxy (or equal) at each column as shown in the attached documents. Minimum embedment depth = 25”. Install anchor bolts in strict accordance with the manufacturer’s recommendations. 

   Sincerely,

Emmett G. Dammon, P.E.

Dammon Engineering

