Foundation Inspection

March 11, 2008

Type:  Slab Inspection

Structure:  Concrete with wire mesh and rebar

To:  Mr. Steve Davis

       210 Oak Grove Way

       Slidell, Louisiana

RE:
210 Oak Grove Way
History:

Mr. Davis contacted Dammon Engineering to request an inspection of a concrete slab he had poured prior to acquiring a parish permit for the project. The new slab and flat work are for a gazebo adjacent to his swimming pool.  The purpose of the inspection is to satisfy the requirements of the parish so that he may continue to finish his project.

This inspection does not cover the gazebo being built on the foundation.
Findings:

The slab is poured in an uneven configuration that follows the pool area and along the fence line on the edge of the property.  There is a partially completed gazebo covering the majority of the slab.  The owner reported that the exterior footings on the slab are 20” deep 24” wide and that the slab was a  reinforced concrete slab with 4000 psi concrete (see attached letter and sketch).
Conclusion:

It is my professional opinion that the foundation is designed and constructed according to the plans and specifications as prepared by Steven Davis.  The inspection was performed by and this report was written by me and is true and correct to the best of my knowledge and belief.  This report shall serve as my affidavit that the foundation has been installed in accordance with the reviewed plans, and with Section R506 provisions of the 2006 ICC Residential Code and that I hereby assume full responsibility for the compliance with all provisions of the technical code for foundations and all other pertinent laws or ordinances, as pertains to the foundation of this structure.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

Attachment:
Letter from Mr. Davis (2 sheets)

