[image: image1.jpg]IDAMMON

ENGINEERING | NLC.

J  Archiltectls & Engineers






     
554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

Fax: 985-641-5950








 dammonengineering.com

dammoneng@bellsouth.net


Sewer System Renovation
Bridge City Center for Youth

Project No.: 08-403-11-01, Part 01

Friday, February 08, 2012 at 9:30 a.m.
Meeting attendees:
Users:

Lance Daniels, Director BCCY

Sterling White, Asst Maintenance Director BCCY

Richard Hart, Operations Supervisor

Designers:

David Dammon, Dammon Engineering, Inc.
Kevin Kinchen, Dammon Engineering, Inc.
Minutes:
1. Meeting opened at approximately 9:30 a.m. with a review of attendees.

2. A determination was made of the Contractor’s work time inside the BCCY security campus, which shall be:


Start Time:
7:00am 
Stop Time:
3:30pm
Monday through Friday.
We discussed that during the relining process of the main sewer piping it will require certain buildings to be without sewer service during that day and the possibility of extending the work day for these certain events.  Example, the contractor must block sewage coming from certain buildings because they connect to the Sewer Main between manholes.  The contractor must complete the work causing the outage and reopen the sewage service before leaving for the day; no building(s) can be left disconnected from the Sewer Main overnight.  These types of outages and possible overtime will be scheduled a minimum of 72 hours in advance by the contractor.  There was discussion about how BCCY has limited abilities in turning off the water to most buildings; the only way to remove water to the affected buildings would be to turn off the water for the entire campus.  
It was also discussed that once the contractor starts the process of lining a section of pipe, they must complete the process before allowing sewer from those affected buildings.  These types of outages will need to be handled by operations.
3. The contractor shall establish a mobile fenced-in security enclosure around each work site allowing them to move the enclosure from location to location.  This enclosure shall be 6 feet in height.  A discussion about the security fence included a suggestion that privacy material should be installed to limit the interaction between workers and the youth under the care of BCCY.  This privacy material would create blind spots and was rejected.  The main focus for security enclosures is to maintain a safe environment for the personnel at BCCY and the Contractor. 

4. The Contractor and all Subcontractors will be allowed to leave equipment that is trailer’d within the mobile fenced-in security enclosures overnight; however the equipment must not be self-propelled nor drivable.  All other tools, equipment and selective demolition materials must be removed from inside the BCCY security enclosure to one of the staging areas at the end of each workday.

5. The General Contractor’s Superintendent and Sub Contractor’s Supervisor(s) can carry cell phones within the construction zones.
6. BCCY has written documents for security and typical standards of conduct for personnel while on site.  These documents will be provided to the designers.
7. BCCY does want to receive copies of submittals for products; electronic copies will be provided during construction and a paper copy at the completion of the project.

8. All contractor and sub-contractors’ employees entering the BCCY site will be subject to and must pass a background check prior to gaining access to the secure grounds.  Personnel information must be submitted 5 working days in advance for processing. 

554 Old Spanish Trail Slidell, LA 70458  Phone: 985-649-5832  dammonengineering.com  dammoneng@bellsouth.net


