554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

www.dammonengineering.com

info@dammonengineering.com

BRIDGE CITY CENTER FOR YOUTH

SEWER SYSTEM RENOVATION

BRIDGE CITY, LOUISIANA

State Project #’s: 08-403-11-01, PART 01 &

08-403-04B-01, PART 20 & 01-107-06B-11, Part U7

Engineer’s Project: 2156

Construction Meeting Minutes

July 31, 2018

10:30 a.m.

Attendees:

David Dammon, Dammon Engineering, Inc

Creighton Stout, FP&C

Curtis Badon, OJJ Central Office

Nick Zinni, BCCY Deputy Director

Reginald Robinson, BCCY

Sterling White, BCCY Maintenance

Tim Marlowe, ARC Mechanical

Minutes:

- This is the final monthly meeting; substantial completion has been achieved.  The follow remaining items were discussed during the meeting:

- The project included “Turf and Grass” to manage erosion; however, erosion has not been a concern for this project.  BCCY Maintenance requested that equal amounts of sand and aggregate be provided to replace the Turf and Grass.  Arrangements will be made between BCCY Maintenance, the engineer and contractor to deliver the sand and aggregate.

- Punchlist items were provided and are attached to these meeting minutes.  The contractor has 45 days to complete the punchlist items.