Copyright 2001 and 2005 AIA
MASTERSPEC Full Length
12/01 (R 06/05)

Copyright 2001 and 2005 (R 12/03) by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 221313 - FACILITY SANITARY SEWERS
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes gravity-flow, nonpressure  sanitary sewerage outside the building, with the following components:

Adjust list below to suit Project.

1. Special fittings for expansion and deflection.

2. Cleanouts.

1.3 DEFINITIONS

Retain abbreviations that remain after this Section has been edited.

A. ABS:  Acrylonitrile-butadiene-styrene plastic.

B. EPDM:  Ethylene-propylene-diene-monomer rubber.

C. FRP:  Fiberglass-reinforced plastic.

D. LLDPE:  Linear low-density, polyethylene plastic.

E. PE:  Polyethylene plastic.

F. PP:  Polypropylene plastic.

G. PVC:  Polyvinyl chloride plastic.

H. RTRF:  Glass-fiber-reinforced, thermosetting-resin fitting.

I. RTRP:  Glass-fiber-reinforced, thermosetting-resin pipe.

J. TPE:  Thermoplastic elastomer.

1.4 PERFORMANCE REQUIREMENTS

A. Gravity-Flow, Nonpressure, Drainage-Piping Pressure Rating:  10-foot head of water.
1.5 SUBMITTALS

A. Product Data:  For the following:

1. Special pipe fittings.

2. Pipe.

1.6 DELIVERY, STORAGE, AND HANDLING

Retain first paragraph below for ABS, PVC, or fiberglass piping.

A. Do not store plastic manholes, pipe, and fittings in direct sunlight.

B. Protect pipe, pipe fittings, and seals from dirt and damage.

Delete paragraph below if only cast-in-place manholes are specified.

1.7 PROJECT CONDITIONS

Delete this Article if no interruption of existing sanitary sewerage service is required.

A. Interruption of Existing Sanitary Sewerage Service:  Do not interrupt service to facilities occupied by Owner or others unless permitted under the notes on plan and then only after arranging to provide temporary service according to requirements indicated:

1. Do not proceed with interruption of service without Owner's written permission.

PART 2 -  PRODUCTS

2.1 MANUFACTURERS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.

Edit this Article with other Part 2 articles in which manufacturers are named.  See Division 01 Section "Product Requirements" for an explanation of the terms "Available Manufacturers" and "Manufacturers" and the effect these terms have on "Comparable Product" and "Product Substitution" requirements.

A. In other Part 2 articles where titles below introduce lists, the following requirements apply to product selection:

1. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, manufacturers specified.

2.2 PIPING MATERIALS

See "Writing Guide" Article in Evaluations for a discussion of this Section's organization and the most efficient way to edit this Section.

A. Refer to Part 3 "Piping Applications" Article for applications of pipe, fitting, and joining materials.

2.3 PVC PIPE AND FITTINGS

Pipe in paragraph below is available in NPS 4 to NPS 12 (DN 100 to DN 300).  Joints are gasket type.

Piping in paragraph below is available in 4 SDRs and in NPS 4 to NPS 15 (DN 100 to DN 375).  Joints are solvent-cemented and gasket types.

A. PVC Sewer Pipe and Fittings, NPS 15 (DN 375) and Smaller:  ASTM D 3034, SDR 26, with bell-and-spigot ends for gasketed joints with ASTM F 477, elastomeric seals.

Piping in paragraph below is available in 2 thicknesses and in NPS 18 to NPS 36 (DN 450 to DN 900).  Joints are gasket type.

2.4 NONPRESSURE-TYPE PIPE COUPLINGS

A. Comply with ASTM C 1173, elastomeric, sleeve-type, reducing or transition coupling, for joining underground nonpressure piping.  Include ends of same sizes as piping to be joined and corrosion-resistant-metal tension band and tightening mechanism on each end.

B. Sleeve Materials:

1. For Plastic Pipes:  ASTM F 477, elastomeric seal or ASTM D 5926, PVC.

2. For Dissimilar Pipes:  ASTM D 5926, PVC or other material compatible with pipe materials being joined.

C. Ring-Type, Flexible Couplings:  Elastomeric compression seal with dimensions to fit inside bell of larger pipe and for spigot of smaller pipe to fit inside ring.

Coordinate subparagraph and list below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

1. Manufacturers:

a. Fernco Inc.

b. Logan Clay Products Company (The).

c. Mission Rubber Company; a division of MCP Industries, Inc.

Coupling in paragraph below should not be used for liquids at temperatures below 0 deg F (minus 18 deg C) or above 130 deg F (54 deg C).

2.5 CLEANOUTS

A. Gray-Iron Cleanouts:  ASME A112.36.2M, round, gray-iron housing with clamping device and round, secured, scoriated, gray-iron cover.  Include gray-iron ferrule with inside calk or spigot connection and countersunk, tapered-thread, brass closure plug.

Coordinate first subparagraph and list below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

1. Manufacturers:

a. Josam Company.

b. MIFAB Manufacturing Inc.

c. Smith, Jay R. Mfg. Co.

d. Wade Div.; Tyler Pipe.

e. Watts Industries, Inc.

f. Watts Industries, Inc.; Enpoco, Inc. Div.

g. Zurn Specification Drainage Operation; Zurn Plumbing Products Group.

2. Top-Loading Classification:  Medium duty.

2.6 CONCRETE

A. General:  Cast-in-place concrete according to ACI 318/318R, ACI 350R, and the following:

1. Cement:  ASTM C 150, Type II.

2. Fine Aggregate:  ASTM C 33, sand.

3. Coarse Aggregate:  ASTM C 33, crushed gravel.

4. Water:  Potable.

B. Portland Cement Design Mix:  4000 psi minimum, with 0.45 maximum water/cementitious materials ratio.

1. Reinforcement Fabric:  ASTM A 185, steel, welded wire fabric, plain.

2. Reinforcement Bars:  ASTM A 615/A 615M, Grade 60, deformed steel.

C. Ballast and Pipe Supports:  Portland cement design mix, 3000 psi minimum, with 0.58 maximum water/cementitious materials ratio.

1. Reinforcement Fabric:  ASTM A 185, steel, welded wire fabric, plain.

2. Reinforcement Bars:  ASTM A 615/A 615M, Grade 60, deformed steel.

PART 3 -  EXECUTION

3.1 EARTHWORK

A. Excavating, trenching, and backfilling are specified in Division 31 Section "Earth Moving."

3.2 PIPING APPLICATIONS

A. Pipe couplings and special pipe fittings with pressure ratings at least equal to piping rating may be used in applications below, unless otherwise indicated.

1. Use nonpressure-type flexible couplings where required to join gravity-flow, nonpressure sewer piping, unless otherwise indicated.

a. Flexible couplings for same or minor difference OD pipes.

b. Unshielded, increaser/reducer-pattern, flexible[ or rigid]couplings for pipes with different OD.

c. Ring-type flexible couplings for piping of different sizes where annular space between smaller piping's OD and larger piping's ID permits installation.

B. Special Pipe Fittings:  Use for pipe expansion and deflection.  Pipe couplings and special pipe fittings with pressure ratings at least equal to piping rating may be used in applications below, unless otherwise indicated.

Retain option in paragraph below to allow Contractor to select piping materials from those retained.

C. Gravity-Flow, Nonpressure Sewer Piping:  Use the following pipe materials for each size range:

Retain one or more of eight subparagraphs below.  If more than one type of material and joining method is used, identify various materials on Drawings and show points of transition from one material to another.

1. NPS 4 (DN 100):  ABS, SDR 26, sewer pipe and fittings; gaskets; and gasketed joints.

3.3 PIPING INSTALLATION

A. General Locations and Arrangements:  Drawing plans and details indicate general location and arrangement of underground sanitary sewerage piping.  Location and arrangement of piping layout take design considerations into account.  Install piping as indicated, to extent practical.  Where specific installation is not indicated, follow piping manufacturer's written instructions.

B. Install piping beginning at low point, true to grades and alignment indicated with unbroken continuity of invert.  Place bell ends of piping facing upstream.  Install gaskets, seals, sleeves, and couplings according to manufacturer's written instructions for using lubricants, cements, and other installation requirements.

C. Install manholes for changes in direction, unless fittings are indicated.  Use fittings for branch connections, unless direct tap into existing sewer is indicated.

D. Install proper size increasers, reducers, and couplings where different sizes or materials of pipes and fittings are connected.  Reducing size of piping in direction of flow is prohibited.

E. Tunneling:  Install pipe under streets or other obstructions that cannot be disturbed by tunneling, jacking, or combination of both.

F. Install gravity-flow, nonpressure, drainage piping according to the following:

Revise three subparagraphs below to suit Project.

1. Install piping pitched down in direction of flow, at minimum slope of 1 percent, unless otherwise indicated.

2. Install PVC sewer piping according to ASTM D 2321 and ASTM F 1668.

3.4 PIPE JOINT CONSTRUCTION

A. Basic piping joint construction is specified in Division 22 Section "Common Work Results for Plumbing" Where specific joint construction is not indicated, follow piping manufacturer's written instructions.

B. Join gravity-flow, nonpressure, drainage piping according to the following:

1. Join PVC profile gravity sewer piping according to ASTM D 2321 for elastomeric-seal joints or ASTM F 794 for gasketed joints.

2. Join vitrified clay sewer piping to dissimilar material piping according to ASTM C425.

3.5 CONCRETE PLACEMENT

A. Place cast-in-place concrete according to ACI 318/318R.

3.6 CLEANOUT INSTALLATION

A. Install cleanouts and riser extensions from sewer pipes to cleanouts at grade.  Use cast-iron soil pipe fittings in sewer pipes at branches for cleanouts and cast-iron soil pipe for riser extensions to cleanouts.  Install piping so cleanouts open in direction of flow in sewer pipe.

B. Set cleanout frames and covers in earth in cast-in-place-concrete block as per detail on plans.
C. Set cleanout frames and covers in concrete pavement with tops flush with pavement surface.

3.7 CONNECTIONS

A. Connect nonpressure, gravity-flow drainage piping to building's sanitary building drains. 
B. Make connections to existing piping and underground manholes as per plan details.

1. Protect existing piping and manholes to prevent concrete or debris from entering while making tap connections.  Remove debris or other extraneous material that may accumulate.

C. Connect to existing grease interceptors as per plans
3.8 CLOSING ABANDONED SANITARY SEWERAGE SYSTEMS

Revise this Article to suit Project.

A. Abandoned Piping:  Close open ends of abandoned underground piping indicated to remain in place.  Include closures strong enough to withstand hydrostatic and earth pressures that may result after ends of abandoned piping have been closed.  Use either procedure below:

1. Close open ends of piping with threaded metal caps, plastic plugs, or other acceptable methods suitable for size and type of material being closed.  Do not use wood plugs.

B. Abandoned Manholes:  Excavate around manhole as required and use either procedure below:

1. Remove top of manhole down to at least 36 inches below final grade.  Fill to within 12 inches of top with stone, rubble, gravel, or compacted dirt.  Fill to top with concrete.

C. Backfill to grade according to 32 92 00 Turf and Grasses
3.9 IDENTIFICATION

A. Arrange for installation of green warning tapes directly over piping and at outside edges of underground manholes.

1. Use detectable warning tape over nonferrous piping and over edges of underground manholes.

3.10 FIELD QUALITY CONTROL

A. Inspect piping to determine whether line displacement or other damage has occurred.  

1. Defects requiring correction include the following:

a. Alignment:  Less than full diameter of inside of pipe is visible between structures.

b. Crushed, broken, cracked, or otherwise damaged piping.

c. Infiltration:  Water leakage into piping.

d. Exfiltration:  Water leakage from or around piping.

2. Replace defective piping using new materials, and repeat inspections until defects are within allowances specified.

3. Reinspect and repeat procedure until results are satisfactory.

B. Test new piping systems, and parts of existing systems that have been altered, extended, or repaired, for leaks and defects.

1. Do not enclose, cover, or put into service before inspection and approval.

2. Test completed piping systems according to requirements of authorities having jurisdiction.

3. Schedule tests and inspections by authorities having jurisdiction with at least 24 hours' advance notice.

4. Submit separate report for each test.

Select from first two subparagraphs and associated subparagraphs below.

5. Hydrostatic Tests:  Test sanitary sewerage according to requirements of authorities having jurisdiction and the following:

a. Allowable leakage is maximum of 50 gal./inch of nominal pipe size per mile of pipe, during 24-hour period.

b. Close openings in system and fill with water.

c. Purge air and refill with water.

d. Disconnect water supply.

e. Test and inspect joints for leaks.

6. Air Tests:  Test sanitary sewerage according to requirements of authorities having jurisdiction, UNI-B-6, and the following:

a. Option:  Test plastic gravity sewer piping according to ASTM F 1417.

7. Manholes:  Perform hydraulic test according to ASTM C 969.
C. Leaks and loss in test pressure constitute defects that must be repaired.

D. Replace leaking piping using new materials, and repeat testing until leakage is within allowances specified.

3.11 CLEANING

A. Clean interior of piping of dirt and superfluous material.  Flush with potable water.
END OF SECTION 221313

	FACILITY SANITARY SEWERS
	221313 - 7



