Copyright 2010 AIA
MasterSpec Professional
02/10

Copyright 2010 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 061600 - SHEATHING
Revise this Section by deleting and inserting text to meet Project-specific requirements.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section Includes:

1. Wall sheathing.

2. Roof sheathing.

3. Composite nail base insulated roof sheathing.

4. Subflooring.

5. Underlayment.

6. Sheathing joint and penetration treatment.

1.2 ACTION SUBMITTALS

A. Product Data: For each type of process and factory-fabricated product. Indicate component materials and dimensions and include construction and application details.

1. Include data for wood-preservative treatment from chemical treatment manufacturer and certification by treating plant that treated plywood complies with requirements.

2. Include data for fire-retardant treatment from chemical treatment manufacturer and certification by treating plant that treated plywood complies with requirements.

1.3 INFORMATIONAL SUBMITTALS

A. Evaluation Reports: For following products, from ICC-ES:

Revise list below to retain only those products retained in Part 2.

1. Preservative-treated plywood.

2. Fire-retardant-treated plywood.

3. Foam-plastic sheathing.

PART 2 -  PRODUCTS

See Editing Instruction No. 1 in the Evaluations for cautions about named manufacturers and products. For an explanation of options and Contractor's product selection procedures, see Section 016000 "Product Requirements."

2.1 PERFORMANCE REQUIREMENTS

Retain "Fire-Test-Response Characteristics" Paragraph below for fire-rated assemblies.

A. Fire-Test-Response Characteristics: For assemblies with fire-resistance ratings, provide materials and construction identical to those of assemblies tested for fire resistance per ASTM E 119 by a testing and inspecting agency acceptable to authorities having jurisdiction.

Indicate design designations of specific assemblies on Drawings.

1. Fire-Resistance Ratings: Indicated by design designations from UL's "Fire Resistance Directory.”
2.2 WOOD PANEL PRODUCTS

Retain "Emissions" Paragraph below if required for LEED for Schools Credit IEQ 4.

Retain "Certified Wood" Paragraph below if wood products are required to be certified for LEED. An alternative method of dealing with this credit requirement is to retain requirement in [Section 018113.13 "Sustainable Design Requirements - LEED for New Construction and Major Renovations"] [Section 018113.16 "Sustainable Design Requirements - LEED for Commercial Interiors"] [Section 018113.19 "Sustainable Design Requirements - LEED for Core and Shell Development"] [Section 018113.23 "Sustainable Design Requirements - LEED for Schools"] that gives Contractor the option and responsibility to determine how the credit requirement will be met.

Retain one of two options in "Plywood" Paragraph below, usually the second. DOC PS 2 is a performance-based standard that does not include requirements for grades of veneers. Second option includes phrase "unless otherwise indicated" to allow for underlayment that is specified to comply with DOC PS 1 because a minimum face veneer grade is required; delete if phrase is not needed.

A. Plywood: Either DOC PS 1 or DOC PS 2 unless otherwise indicated.

B. Oriented Strand Board: DOC PS 2.

2.3 PRESERVATIVE-TREATED PLYWOOD

A. Preservative Treatment by Pressure Process: AWPA U1; Use Category UC2 for interior construction, Use Category UC3b for exterior construction.

B. Mark plywood with appropriate classification marking of an inspection agency acceptable to authorities having jurisdiction.

Retain first option in "Application" Paragraph below and delete others if total treatment is required; otherwise, retain second option with or without third option.

C. Application: Treat all plywood where indicated and plywood in contact with masonry or concrete or used with roofing, flashing, vapor barriers, and waterproofing.

2.4 FIRE-RETARDANT-TREATED PLYWOOD

A. General: Where fire-retardant-treated materials are indicated, use materials complying with requirements in this article that are acceptable to authorities having jurisdiction and with fire-test-response characteristics specified as determined by testing identical products per test method indicated by a qualified testing agency.

B. Fire-Retardant-Treated Plywood by Pressure Process: Products with a flame-spread index of 25 or less when tested according to ASTM E 84, and with no evidence of significant progressive combustion when the test is extended an additional 20 minutes, and with the flame front not extending more than 10.5 feet beyond the centerline of the burners at any time during the test.

Exterior type is suitable for both exterior and interior applications. Interior type is only for interior applications.

1. Exterior Type: Treated materials shall comply with requirements specified above for fire-retardant-treated plywood by pressure process after being subjected to accelerated weathering according to ASTM D 2898. Use for exterior locations and where indicated.

2. Interior Type A: Treated materials shall have a moisture content of 28 percent or less when tested according to ASTM D 3201 at 92 percent relative humidity. Use where exterior type is not indicated.

Retain option in "Design Value Adjustment Factors" Subparagraph below if applicable. Revise description of locations to suit Project. Verify adjustment factors with Project's structural engineer.

3. Design Value Adjustment Factors: Treated lumber plywood shall be tested according ASTM D 5516 and design value adjustment factors shall be calculated according to ASTM D 6305. Span ratings after treatment shall be not less than span ratings specified.  For roof sheathing and where high-temperature fire-retardant treatment is indicated, span ratings for temperatures up to 170 deg F (76 deg C) shall be not less than span ratings specified.
C. Kiln-dry material after treatment to a maximum moisture content of 15 percent.

D. Identify fire-retardant-treated plywood with appropriate classification marking of qualified testing agency.

Retain first option in "Application" Paragraph below if all wood is required to be fire-retardant treated; otherwise, retain second option.

E. Application: Treat plywood indicated on Drawings.

2.5 WALL SHEATHING

If retaining "Plywood Wall Sheathing" Paragraph below, retain one of four options. Structural I provides increased racking resistance. See Evaluations for information about durability classifications of plywood.

A. Plywood Wall Sheathing: Exterior, Structural I sheathing.

If retaining "Oriented-Strand-Board Wall Sheathing" Paragraph below, retain one of two options. Structural I provides increased racking resistance. See Evaluations for information about durability classifications of oriented strand board.

B. Oriented-Strand-Board Wall Sheathing: Exposure 1, Structural I sheathing.

C. Paper-Surfaced Gypsum Wall Sheathing: ASTM C 1396/C 1396M, gypsum sheathing; with water-resistant-treated core and with water-repellent paper bonded to core's face, back, and long edges.

1. Type and Thickness: Regular, Type X, 5/8 inch thick or as indicated on drawings..

D. Glass-Mat Gypsum Wall Sheathing: ASTM C 1177/1177M.

1. Type and Thickness: Regular, Type X, 5/8 inch thick or as indicated on drawings.

E. Cellulose Fiber-Reinforced Gypsum Sheathing: ASTM C 1278/C 1278M, gypsum sheathing.

1. Type and Thickness: Type X, 5/8 inch thick or as indicated on drawings.

F. Cementitious Backer Units: ASTM C 1325, Type A.

1. Thickness: 5/8 inch or as indicated.

G. Extruded-Polystyrene-Foam Wall Sheathing: ASTM C 578, Type IV, with tongue-and-groove or shiplap long edges.

1. Thickness: 1 inch or as indicated on drawings..

Foil facers act as a radiant barrier if facing an air space of at least 3/4 inch (19 mm) in thickness.

H. Foil-Faced, Polyisocyanurate-Foam Wall Sheathing: ASTM C 1289, Type I or Type II, Class 2, rigid, cellular, polyisocyanurate thermal insulation. Foam-plastic core and facings shall have a flame-spread index of 25 or less when tested individually.

1. Thickness: 1 inch or as indicated on drawings..

2.6 ROOF SHEATHING

If retaining "Plywood Roof Sheathing" Paragraph below, retain one of four options. Structural I provides increased racking resistance. See Evaluations for information about durability classifications of plywood.

A. Plywood Roof Sheathing: Exposure 1, Structural I sheathing.

If retaining "Oriented-Strand-Board Roof Sheathing" Paragraph below, retain one of two options. Structural I provides increased racking resistance. See Evaluations for information about durability classifications of oriented strand board.

B. Oriented-Strand-Board Roof Sheathing: Exposure 1, Structural I sheathing.

2.7 COMPOSITE NAIL BASE INSULATED ROOF SHEATHING

"Oriented-Strand-Board-Surfaced, Polyisocyanurate-Foam Sheathing" Paragraph below describes unvented composite insulated sheathing.

A. Oriented-Strand-Board-Surfaced, Polyisocyanurate-Foam Sheathing: Rigid, cellular, polyisocyanurate thermal insulation with oriented strand board laminated to one face complying with ASTM C 1289, Type V.

1. Polyisocyanurate-Foam Thickness3 inches or as indicated on drawings.
First option in "Oriented-Strand-Board Nominal Thickness" Subparagraph below is standard with most manufacturers; retain second option if using a heavy roofing material such as slate or clay.

2. Oriented-Strand-Board Nominal Thickness:  5/8 inch or as indicated on drawings.
"Vented, Oriented-Strand-Board-Surfaced, Polyisocyanurate-Foam Sheathing" Paragraph below describes vented composite insulated sheathing, sometimes called "composite vented nail base insulation."

B. Vented, Oriented-Strand-Board-Surfaced, Polyisocyanurate-Foam Sheathing: Rigid, cellular, polyisocyanurate thermal insulation complying with ASTM C 1289, Type II, Class 1, with oriented strand board adhered to spacers on one face.

1. Polyisocyanurate-Foam Thickness: 3 inches or as indicated on drawings.
First option in "Oriented-Strand-Board Nominal Thickness" Subparagraph below is standard with most manufacturers; retain second option if using a heavy roofing material such as slate or clay tile.

2. Oriented-Strand-Board Nominal Thickness: 5/8 inch or as indicated on drawings.
3. Spacers: Wood furring strips or blocks not less than 3/4 inch  thick and spaced not more than 16 inches o.c.

2.8 SUBFLOORING AND UNDERLAYMENT

For resilient flooring, APA recommends separate subflooring and underlayment rather than single-layer floor. See Evaluations for information about durability classifications of plywood.

A. Plywood Combination Subfloor-Underlayment: DOC PS 1, Exposure 1, Structural I, Underlayment single-floor panels.

For resilient flooring, APA recommends separate subflooring and underlayment rather than single-layer floor. See Evaluations for information about durability classifications of oriented strand board.

B. Oriented-Stand-Board Combination Subfloor-Underlayment: Exposure 1 single-floor panels.

If retaining "Plywood Subflooring" Paragraph below, retain one of four options. Structural I provides increased racking resistance. For resilient flooring, APA recommends separate subflooring and underlayment rather than single-layer floor. See Evaluations for information about durability classifications of plywood.

C. Plywood Subflooring: Exposure 1, Structural I single-floor panels or sheathing.

If retaining "Oriented-Strand-Board Subflooring" Paragraph below, retain one of two options. Structural I provides increased racking resistance. For resilient flooring, APA recommends separate subflooring and underlayment rather than single-layer floor. See Evaluations for information about durability classifications of oriented strand board.

D. Oriented-Strand-Board Subflooring: Exposure 1, single-floor panels or sheathing.

If retaining "Plywood Underlayment for Resilient Flooring" Paragraph below, retain one of four grades. Verify availability of grade retained.

E. Plywood Underlayment for Resilient Flooring: DOC PS 1, Exposure 1 Underlayment with fully sanded face.

"Plywood Underlayment for Ceramic Tile" Paragraph below is based on TCA Methods F 142 and F 143 for installation over plywood subflooring of not less than 5/8-inch (15.9-mm) nominal thickness. Cementitious backer units specified in Section 093000 "Tiling" can also be used as underlayment for ceramic tile.

F. Plywood Underlayment for Ceramic Tile: DOC PS 1, Exterior, C-C Plugged, not less than 5/8-inch nominal thickness, for ceramic tile set in latex-portland cement mortar.

If retaining "Plywood Underlayment for Carpet" Paragraph below, retain one of three grades. Verify availability of grade retained.

G. Plywood Underlayment for Carpet: DOC PS 1, Exposure 1, Underlayment.

If retaining "Particleboard Underlayment" Paragraph below, verify acceptability with floor covering manufacturers. Retain second option if required for LEED-NC or LEED-CI Credit IEQ 4.4, which prohibit composite wood products containing urea formaldehyde.

If retaining "Hardboard Underlayment" Paragraph below, verify acceptability with floor covering manufacturers.

H. Hardboard Underlayment: ANSI A135.4, Class 4 (Service), Surface S1S; with back side sanded.

2.9 FASTENERS

A. General: Provide fasteners of size and type indicated that comply with requirements specified in this article for material and manufacture.

1. For roof and wall sheathing, provide fasteners with hot-dip zinc coating complying with ASTM A 153.
2.10 SHEATHING JOINT-AND-PENETRATION TREATMENT MATERIALS

Retain "Sealant for (Paper-Surfaced) (Glass-Mat) Gypsum Sheathing" or "Sealant for Glass-Mat Gypsum Sheathing" paragraph below. Retain "Sealant for (Paper-Surfaced) (Glass-Mat) Gypsum Sheathing" Paragraph if sealant alone is required. Retain "Sealant for Glass-Mat Gypsum Sheathing" Paragraph for glass-mat gypsum sheathing with sealant and tape.

A. Sealant for Paper-Surfaced Gypsum Sheathing: Elastomeric, medium-modulus, neutral-curing silicone joint sealant compatible with joint substrates formed by gypsum sheathing and other materials, recommended by sheathing manufacturer for application indicated. 

B. Sealant for Glass-Mat Gypsum Sheathing: Silicone emulsion sealant complying with ASTM C 834, compatible with sheathing tape and sheathing and recommended by tape and sheathing manufacturers for use with glass-fiber sheathing tape and for covering exposed fasteners.

Product in "Sheathing Tape" Subparagraph below is an open mesh tape for use with sealant in "Sealant for Glass-Mat Gypsum Sheathing" Paragraph above.

1. Sheathing Tape: Self-adhering glass-fiber tape, minimum 2 inches wide, 10 by 10 or 10 by 20 threads/inch, of type recommended by sheathing and tape manufacturers for use with silicone emulsion sealant in sealing joints in glass-mat gypsum sheathing and with a history of successful in-service use.

C. Sheathing Tape for Foam-Plastic Sheathing: Pressure-sensitive plastic tape recommended by sheathing manufacturer for sealing joints and penetrations in sheathing.

2.11 MISCELLANEOUS MATERIALS

According to APA, only certain solvent-based glues are suitable for nonveneer panels with sealed surfaces and ends.

A. Adhesives for Field Gluing Panels to Framing: Formulation complying with ASTM D 3498 that is approved for use with type of construction panel indicated by manufacturers of both adhesives and panels.

Retain first subparagraph below if required for LEED-NC, LEED-CI, or LEED-CS Credit IEQ 4.1. VOC limits are those for subfloor adhesives and multipurpose construction adhesives, respectively.

1. Adhesives shall have a VOC content of 70 g/L or less when calculated according to 40 CFR 59, Subpart D (EPA Method 24).

Retain subparagraph below if required for LEED for Schools Credit IEQ 4.

PART 3 -  EXECUTION

3.1 INSTALLATION, GENERAL

A. Do not use materials with defects that impair quality of sheathing or pieces that are too small to use with minimum number of joints or optimum joint arrangement. Arrange joints so that pieces do not span between fewer than three support members.

B. Cut panels at penetrations, edges, and other obstructions of work; fit tightly against abutting construction unless otherwise indicated.

C. Securely attach to substrate by fastening as indicated, complying with the following:

1. NES NER-272 for power-driven fasteners.

Retain one of two subparagraphs below, with or without subparagraph above, to comply with requirements of Project and local codes.

2. Table 2304.9.1, "Fastening Schedule," in ICC's "International Building Code."

3. Table R602.3(1), "Fastener Schedule for Structural Members," and Table R602.3(2), "Alternate Attachments," in ICC's "International Residential Code for One- and Two-Family Dwellings."

D. Coordinate wall and roof sheathing installation with flashing and joint-sealant installation so these materials are installed in sequence and manner that prevent exterior moisture from passing through completed assembly.

E. Do not bridge building expansion joints; cut and space edges of panels to match spacing of structural support elements.

3.2 WOOD STRUCTURAL PANEL INSTALLATION

A. General: Comply with applicable recommendations in APA Form No. E30, "Engineered Wood Construction Guide," for types of structural-use panels and applications indicated.

B. Fastening Methods: Fasten panels as indicated below:

Retain fastening methods as required. Coordinate with building code requirements.

1. Combination Subfloor-Underlayment:

a. Glue and nail to wood framing.

b. Screw to cold-formed metal framing.

c. Space panels 1/8 inch apart at edges and ends.

2. Subflooring:

a. Glue and nail to wood framing.

b. Screw to cold-formed metal framing.

c. Space panels 1/8 inch apart at edges and ends.

3. Wall and Roof Sheathing:

A continuous bead of glue applied to framing at edges of wall sheathing panels helps seal panel joints so sheathing functions as an air barrier.

a. Nail to wood framing. Apply a continuous bead of glue to framing members at edges of wall sheathing panels.
b. Screw to cold-formed metal framing.

c. Space panels 1/8 inch apart at edges and ends.

4. Underlayment:

a. Nail or staple to subflooring.

b. Space panels 1/32 inch apart at edges and ends.

Retain subparagraph below if wood structural panels are used as underlayment for resilient flooring.

c. Fill and sand edge joints of underlayment receiving resilient flooring immediately before installing flooring.

3.3 GYPSUM SHEATHING INSTALLATION

A. Comply with GA-253 and with manufacturer's written instructions.

Retain applicable subparagraph(s) below or insert requirements to suit Project.

1. Fasten gypsum sheathing to wood framing with nails or screws.

2. Fasten gypsum sheathing to cold-formed metal framing with screws.

3. Install boards with a 3/8-inch gap where non-load-bearing construction abuts structural elements.

4. Install boards with a 1/4-inch gap where they abut masonry or similar materials that might retain moisture, to prevent wicking.

Retain paragraph below if joints are sealed in lieu of using a water-resistive barrier; verify requirements of authorities having jurisdiction.

B. Seal sheathing joints according to sheathing manufacturer's written instructions.

1. Apply elastomeric sealant to joints and fasteners and trowel flat. Apply sufficient amount of sealant to completely cover joints and fasteners after troweling. Seal other penetrations and openings.

Retain subparagraph above or subparagraph below if sealant is used with gypsum sheathing; coordinate with products retained in Part 2. Above is suitable for paper-surfaced or glass-mat gypsum sheathing. Below is suitable for glass-mat gypsum sheathing.

2. Apply glass-fiber sheathing tape to glass-mat gypsum sheathing joints and apply and trowel silicone emulsion sealant to embed entire face of tape in sealant. Apply sealant to exposed fasteners with a trowel so fasteners are completely covered. Seal other penetrations and openings.

3.4 CEMENTITIOUS BACKER UNIT INSTALLATION

A. Install panels and treat joints according to ANSI A108.11 and manufacturer's written instructions for type of application indicated.

3.5 FOAM-PLASTIC SHEATHING INSTALLATION

A. Comply with manufacturer's written instructions.

B. Foam-Plastic Wall Sheathing: Install vapor-relief strips or equivalent for permitting escape of moisture vapor that otherwise would be trapped in stud cavity behind sheathing.

Retain paragraph below for taping joints in foam-plastic sheathing.

C. Apply sheathing tape to joints between foam-plastic sheathing panels and at items penetrating sheathing. Apply at upstanding flashing to overlap both flashing and sheathing.

3.6 HARDBOARD UNDERLAYMENT INSTALLATION

A. Comply with CPA's recommendations and hardboard manufacturer's written instructions for preparing and applying hardboard underlayment.

1. Fastening Method: Nail underlayment to subflooring.

END OF SECTION 061600

	SHEATHING
	061600 - 2



