Copyright 2010 AIA
MasterSpec Professional
02/10

Copyright 2010 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 064113 - WOOD-VENEER-FACED ARCHITECTURAL CABINETS
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

Before editing this Section, review requirements of the Architectural Woodwork Institute (AWI), Architectural Woodwork Manufacturers Association of Canada (AWMAC), and Woodwork Institute's (WI) "Architectural Woodwork Standards." This review helps to avoid repeating or conflicting with requirements of that standard.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section Includes:

1. Architectural wood cabinets.

2. Wood furring, blocking, shims, and hanging strips for installing architectural wood cabinets unless concealed within other construction before cabinet installation.

3. Shop finishing of architectural wood cabinets.

1.2 ACTION SUBMITTALS

A. Product Data: For each type of product[, including] [panel products] [fire-retardant-treated materials] [cabinet hardware and accessories] [and] [finishing materials and processes].

B. LEED Submittals:

1. Product Data for Credit MR 4: For products having recycled content, documentation indicating percentages by weight of postconsumer and preconsumer recycled content. Include statement indicating cost for each product having recycled content.

"Product Certificates for Credit MR 5" Subparagraph below applies to LEED-NC, LEED-CS, and LEED for Schools.

2. Product Certificates for Credit MR 5: For products and materials required to comply with requirements for regional materials, certificates indicating location of material manufacturer and point of extraction, harvest, or recovery for each raw material. Include statement indicating distance to Project, cost for each regional material, and fraction by weight that is considered regional.

"Product Certificates for Credit MR 5" Subparagraph below applies to LEED-CI. Retain option for Credit MR 5, Option 2.

3. Product Certificates for Credit MR 5: For products and materials required to comply with requirements for regionally manufactured[ and regionally extracted and manufactured] materials. Include statement indicating cost for each regionally manufactured material.

First subparagraph below applies to LEED-CI Credit MR 5, Option 1 and Option 2.

a. Include statement indicating location of manufacturer and distance to Project for each regionally manufactured material.

First subparagraph below applies to LEED-CI Credit MR 5, Option 2.

b. Include statement indicating location of manufacturer and point of extraction, harvest, or recovery for each raw material used in regionally extracted and manufactured materials. Indicate distance to Project and fraction by weight of each regionally manufactured material that is regionally extracted.

First option in "Certificates for (Credit MR 6) (Credit MR 7)" Subparagraph below applies to LEED-CS; second applies to LEED-NC, LEED-CI, and LEED for Schools.

4. Certificates for [Credit MR 6] [Credit MR 7]: Chain-of-custody certificates indicating that products specified to be made from certified wood comply with forest certification and chain-of-custody requirements. Include statement indicating cost for each certified wood product.

"Laboratory Test Reports for Credit IEQ 4.1" Subparagraph below applies to LEED for Schools.

5. Laboratory Test Reports for Credit IEQ 4.1: For adhesives, documentation indicating that products comply with the testing and product requirements of the California Department of Health Services' "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."

"Product Data for Credit IEQ 4.4" Subparagraph below applies to LEED-NC, LEED-CI, and LEED-CS.

6. Product Data for Credit IEQ 4.4: For adhesives and composite wood products, documentation indicating that products contain no urea formaldehyde.

"Laboratory Test Reports for Credit IEQ 4.4" Subparagraph below applies to LEED for Schools.

7. Laboratory Test Reports for Credit IEQ 4.4: For composite wood products, documentation indicating that products comply with the testing and product requirements of the California Department of Health Services' "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."

C. Shop Drawings: Show location of each item, dimensioned plans and elevations, large-scale details, attachment devices, and other components.

D. Samples:

Delete items in subparagraphs below that are not needed for control of grain character, color, and finish, or insert other items. The "Architectural Woodwork Standards" require samples to be "as wide as practical" by 12 inches (300 mm) for lumber and 12 by 12 inches (300 by 300 mm) for panel products.

1. Lumber for transparent finish, for each species and cut, finished on one side and one edge.

2. Veneer leaves representative of and selected from flitches to be used for transparent-finished cabinets.

3. Lumber and panel products with shop-applied opaque finish, for each finish system and color, with exposed surface finished.

4. Thermoset decorative panels, for each color, pattern, and surface finish.

Delete subparagraph below if Product Data are acceptable.

5. Exposed cabinet hardware and accessories, one unit for each type[ and finish].

1.3 INFORMATIONAL SUBMITTALS

A. Woodwork Quality Standard Compliance Certificates: [AWI Quality Certification Program certificates] [WI Certified Compliance Program certificates].

1.4 QUALITY ASSURANCE

Consider retaining one of two options in "Fabricator Qualifications" Paragraph below if AWI quality certification or WI compliance certification is required. Both AWI and WI will inspect work and provide certification for work that passes inspection if fabricator is not certified/licensed.

A. Fabricator Qualifications: [Certified participant in AWI's Quality Certification Program] [Licensee of WI's Certified Compliance Program].

Delete "Installer Qualifications" Paragraph below if not required or available. If AWI Quality Certification Program labels or certificates are required for installation, installer must be a certified participant. If cabinets must be FSC certified for LEED, fabricator must either install cabinets or be FSC certified for chain of custody.

B. Installer Qualifications: [Fabricator of products] [Certified participant in AWI's Quality Certification Program] [Licensee of WI's Certified Compliance Program].

1.5 FIELD CONDITIONS

A. Environmental Limitations: Do not deliver or install cabinets until building is enclosed, wet work is complete, and HVAC system is operating and maintaining temperature and relative humidity at occupancy levels during the remainder of the construction period.

PART 2 -  PRODUCTS

See Editing Instruction No. 1 in the Evaluations for cautions about named manufacturers and products. For an explanation of options and Contractor's product selection procedures, see Section 016000 "Product Requirements."

2.1 ARCHITECTURAL CABINET FABRICATORS

Retain "Fabricators" Paragraph below if a list of preapproved woodworkers is used as a quality-control procedure. See Evaluations. Retain first or second option if additional firms will not be considered; retain third option if they will. If retaining third option, include procedure for approving other firms in the Instructions to Bidders.

A. Fabricators: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available fabricators offering products that may be incorporated into the Work include, but are not limited to, the following]:

See AWI's or WI's member list for names of woodworking firms.

1. <Insert, in separate subparagraphs, names and possibly contact information for preapproved woodworking firms>.

2.2 ARCHITECTURAL WOOD CABINETS, GENERAL

A. Quality Standard: Unless otherwise indicated, comply with the "Architectural Woodwork Standards" for grades of architectural wood cabinets indicated for construction, finishes, installation, and other requirements.

If retaining subparagraph below, verify applicability of certification for Project's geographic location. Certification programs of both organizations are available to member and nonmember firms. Both AWI and WI will inspect work and provide certification for work that passes inspection if fabricator is not certified/licensed. Contact either organization for a list of certified woodworkers in Project's location.

1. Provide [labels] [and] [certificates] from [AWI] [WI] certification program indicating that woodwork[, including installation,] complies with requirements of grades specified.

2.3 WOOD CABINETS FOR TRANSPARENT FINISH

A. Grade: [Premium] [Custom] [Economy].

Retain first "Regional Materials" Paragraph below for LEED-NC, LEED-CS, and LEED for Schools Credit MR 5 and LEED-CI Credit MR 5, Option 2; before retaining, verify availability of materials that comply.

B. Regional Materials: Wood cabinets for transparent finish shall be manufactured within 500 miles (800 km) of Project site from materials that have been extracted, harvested, or recovered, as well as manufactured, within 500 miles (800 km) of Project site.

Retain "Regional Materials" Paragraph below for LEED-CI Credit MR 5, Option 1; before retaining, verify availability of materials that comply.

C. Regional Materials: Wood cabinets for transparent finish shall be manufactured within 500 miles (800 km) of Project site.

Retain "Certified Wood" Paragraph below if wood products are required to be certified for LEED. Manufacturers certifying products as "FSC Mixed Credit" do not have to use 100 percent certified wood in the products but in their total production must use an amount equal to or greater than the percentage of their production that is labeled as "FSC Mixed Credit."

D. Certified Wood: Wood cabinets for transparent finish shall be produced from wood certified as "FSC Pure"[ or "FSC Mixed Credit"] according to FSC STD-01-001, "FSC Principles and Criteria for Forest Stewardship," and FSC STD-40-004, "FSC Standard for Chain of Custody Certification."

E. Type of Construction: [Frameless] [Face frame].

F. Cabinet and Door and Drawer Front Interface Style: [Flush overlay] [Reveal overlay] [Lipped] [Flush inset].

G. Reveal Dimension: [1/2 inch (13 mm)] [As indicated] <Insert dimension>.

H. Wood for Exposed Surfaces:[ As indicated.]

1. Species: [Red oak] [White oak] [White ash] [White birch] <Insert species>.

2. Cut: [Plain sliced/plain sawn] [Rift cut/rift sawn] [Quarter cut/quarter sawn].

3. Grain Direction: [Vertically for drawer fronts, doors, and fixed panels] [Horizontally for drawer fronts, doors, and fixed panels] [Vertically for doors and fixed panels, horizontally for drawer fronts] [As indicated].

Retain one of three options in "Matching of Veneer Leaves" Subparagraph below for Premium- or Custom-grade cabinets.

4. Matching of Veneer Leaves: [Book] [Slip] [Random] match.

Retain one of three options in "Veneer Matching within Panel Face" Subparagraph below for Premium-grade cabinets.

5. Veneer Matching within Panel Face: [Running] [Balance] [Center-balance] match.

Delete "Semiexposed Surfaces" Paragraph below for woodworker's option from choices in standard.

I. Semiexposed Surfaces: Provide surface materials indicated below:

Retain one option in each of "Surfaces Other Than Drawer Bodies," "Drawer Subfronts, Backs, and Sides," and "Drawer Bottoms" subparagraphs below or revise to suit Project.

1. Surfaces Other Than Drawer Bodies: [Same species and cut indicated for exposed surfaces] [Thermoset decorative panels] [Compatible species to that indicated for exposed surfaces, stained to match].

2. Drawer Subfronts, Backs, and Sides: [Solid-hardwood lumber, same species indicated for exposed surfaces] [Solid-hardwood lumber, stained to match species indicated for exposed surfaces] [Solid-hardwood lumber] [Thermoset decorative panels with PVC or polyester edge banding].

3. Drawer Bottoms: [Hardwood plywood] [Thermoset decorative panels].

Retain "Dust Panels" Paragraph below if required. Dust panels are not required by standards.

J. Dust Panels: 1/4-inch (6.4-mm) plywood or tempered hardboard above compartments and drawers unless located directly under tops.

2.4 WOOD CABINETS FOR OPAQUE FINISH

A. Grade: [Premium] [Custom] [Economy].

Retain first "Regional Materials" Paragraph below for LEED-NC, LEED-CS, and LEED for Schools Credit MR 5 and LEED-CI Credit MR 5, Option 2; before retaining, verify availability of materials that comply.

B. Regional Materials: Wood cabinets for opaque finish shall be manufactured within 500 miles (800 km) of Project site from materials that have been extracted, harvested, or recovered, as well as manufactured, within 500 miles (800 km) of Project site.

Retain "Regional Materials" Paragraph below for LEED-CI Credit MR 5, Option 1; before retaining, verify availability of materials that comply.

C. Regional Materials: Wood cabinets for opaque finish shall be manufactured within 500 miles (800 km) of Project site.

Retain "Certified Wood" Paragraph below if wood products are required to be certified for LEED. Manufacturers certifying products as "FSC Mixed Credit" do not have to use 100 percent certified wood in the products but in their total production must use an amount equal to or greater than the percentage of their production that is labeled as "FSC Mixed Credit."

D. Certified Wood: Wood cabinets for opaque finish shall be produced from wood certified as "FSC Pure"[ or "FSC Mixed Credit"] according to FSC STD-01-001, "FSC Principles and Criteria for Forest Stewardship," and FSC STD-40-004, "FSC Standard for Chain of Custody Certification."

E. Type of Construction: [Frameless] [Face frame].

F. Cabinet and Door and Drawer Front Interface Style: [Flush overlay] [Reveal overlay] [Lipped] [Flush inset].

G. Reveal Dimension: [1/2 inch (13 mm)] [As indicated] <Insert dimension>.

"Species for Exposed Lumber Surfaces" and "Panel Product for Exposed Surfaces" paragraphs below are examples if specifier wants to limit selection rather than allow woodworker to select from products permitted by referenced woodworking standard. Revise or delete both.

H. Species for Exposed Lumber Surfaces: Any closed-grain hardwood.

I. Panel Product for Exposed Surfaces: Medium-density [fiberboard] [overlay].

Delete "Semiexposed Surfaces" Paragraph below for woodworker's option from choices in standard.

J. Semiexposed Surfaces: Provide surface materials indicated below:

Retain one option from each of "Surfaces Other Than Drawer Bodies," "Drawer Sides and Backs," and "Drawer Bottoms" subparagraphs below or revise to suit Project.

1. Surfaces Other Than Drawer Bodies: [Match materials indicated for exposed surfaces] [Thermoset decorative panels].

2. Drawer Sides and Backs: [Solid-hardwood lumber] [Thermoset decorative panels with PVC or polyester edge banding].

3. Drawer Bottoms: [Hardwood plywood] [Thermoset decorative panels].

Retain "Dust Panels" Paragraph below if required. Dust panels are not required by standards.

K. Dust Panels: 1/4-inch (6.4-mm) plywood or tempered hardboard above compartments and drawers unless located directly under tops.

2.5 WOOD MATERIALS

A. Wood Products: Provide materials that comply with requirements of referenced quality standard for each type of woodwork and quality grade specified unless otherwise indicated.

Retain one of three ranges of moisture content in "Wood Moisture Content" Subparagraph below. First range applies to Ontario, Quebec, and most of U.S. Second applies to damp coastal areas of southern U.S. and to the Maritime Provinces. Third applies to dry southwestern U.S. and to Alberta, Manitoba, and Saskatchewan. See relative-humidity and moisture-content map in the "Architectural Woodwork Standards." Note that some areas have micro-climates that differ from the surrounding region.

1. Wood Moisture Content: [5 to 10] [8 to 13] [4 to 9] percent.

B. Composite Wood and Agrifiber Products: Provide materials that comply with requirements of referenced quality standard for each type of woodwork and quality grade specified unless otherwise indicated.

Retain "Recycled Content of Medium-Density Fiberboard and Particleboard" Subparagraph below if recycled content is required for LEED Credit MR 4. Recycled content of medium-density fiberboard and particleboard varies greatly; consult manufacturers before inserting requirement.

1. Recycled Content of Medium-Density Fiberboard and Particleboard: Postconsumer recycled content plus one-half of preconsumer recycled content not less than <Insert number> percent.

Retain "Composite Wood and Agrifiber Products" Subparagraph below if required for LEED for Schools Credit IEQ 4.4.

2. Composite Wood and Agrifiber Products: Products shall comply with the testing and product requirements of the California Department of Health Services' "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."

Grades for medium-density fiberboard changed with the 2002 edition of ANSI A208.2. Grade 130 is approximately equivalent to the previous Grade MD. If retaining "Medium-Density Fiberboard" Subparagraph below and low-emitting materials are required for LEED-NC, LEED-CI, or LEED-CS Credit IEQ 4.4, retain option for binder containing no urea formaldehyde. Specifying products without urea formaldehyde will decrease competition and may increase costs. ANSI A208.2 requires products to comply with formaldehyde emission limits established by HUD.

3. Medium-Density Fiberboard: ANSI A208.2, [Grade 130] <Insert grade>[, made with binder containing no urea formaldehyde].

If retaining "Particleboard" Subparagraph below and low-emitting materials are required for LEED-NC, LEED-CI, or LEED-CS Credit IEQ 4.4, retain option for binder containing no urea formaldehyde or option requiring exterior-type glue. Specifying products without urea formaldehyde or with exterior-type glue will decrease competition and may increase costs. ANSI A208.1 requires products to comply with formaldehyde emission limits established by HUD.

4. Particleboard: ANSI A208.1, [Grade M-2] [Grade M-2, made with binder containing no urea formaldehyde] [Grade M-2-Exterior Glue].

5. Softwood Plywood: DOC PS 1[, medium-density overlay].

Note that the term "plywood" in "Veneer-Faced Panel Products (Hardwood Plywood)" Subparagraph below refers to a wood-based panel with veneers applied to both faces; core may be made up of veneers (either hardwood or softwood), particleboard, medium-density fiberboard, hardboard, or glued-up lumber. Retain option prohibiting urea formaldehyde if required for LEED-NC, LEED-CI, or LEED-CS Credit IEQ 4.4.

6. Veneer-Faced Panel Products (Hardwood Plywood): HPVA HP-1[, made with adhesive containing no urea formaldehyde].

Thermoset decorative panels are frequently called "melamine." If retaining "Thermoset Decorative Panels" Subparagraph below, also retain "Medium-Density Fiberboard" and "Particleboard" subparagraphs above.

7. Thermoset Decorative Panels: Particleboard or medium-density fiberboard finished with thermally fused, melamine-impregnated decorative paper and complying with requirements of NEMA LD 3, Grade VGL, for test methods 3.3, 3.4, 3.6, 3.8, and 3.10.

2.6 FIRE-RETARDANT-TREATED MATERIALS

If fire-retardant materials are required, verify requirements and acceptability of various materials with authorities having jurisdiction.

A. Fire-Retardant-Treated Materials, General: Where fire-retardant-treated materials are indicated, use materials complying with requirements in this article that are acceptable to authorities having jurisdiction and with fire-test-response characteristics specified as determined by testing identical products per test method indicated by a qualified testing agency.

1. Identify fire-retardant-treated materials with appropriate classification marking of qualified testing agency in the form of removable paper label or imprint on surfaces that will be concealed from view after installation.

B. Fire-Retardant-Treated Lumber and Plywood: Products with a flame-spread index of 25 or less when tested according to ASTM E 84, with no evidence of significant progressive combustion when the test is extended an additional 20 minutes, and with the flame front not extending more than 10.5 feet (3.2 m) beyond the centerline of the burners at any time during the test.

1. Kiln dry lumber and plywood after treatment to a maximum moisture content of 19 and 15 percent, respectively.

2.7 CABINET HARDWARE AND ACCESSORIES

Where close matching of cabinet hardware and door hardware is required, it may be preferable to specify cabinet hardware in Section 087111 "Door Hardware (Descriptive Specification)."

A. General: Provide cabinet hardware and accessory materials associated with architectural cabinets except for items specified in Section 087111 "Door Hardware (Descriptive Specification)."

Paragraphs below describing hardware items are examples only; revise to suit Project. Delete if schedule is included on Drawings. See the "Architectural Woodwork Standards" or BHMA standards for illustrations of and designations for additional types of cabinet hardware.

B. Butt Hinges: 2-3/4-inch (70-mm), five-knuckle steel hinges made from 0.095-inch- (2.4-mm-) thick metal, and as follows:

1. Semiconcealed Hinges for Flush Doors: BHMA A156.9, B01361.

2. Semiconcealed Hinges for Overlay Doors: BHMA A156.9, B01521.

Hinges in "Frameless Concealed Hinges (European Type)" Paragraph below are not as strong as heavy-duty butt hinges above.

C. Frameless Concealed Hinges (European Type): BHMA A156.9, B01602, [100] [135] [170] degrees of opening[, self-closing].

D. Back-Mounted Pulls: BHMA A156.9, B02011.

E. Wire Pulls: Back mounted, solid [metal] [plastic], [4 inches (100 mm) long, 5/16 inch (8 mm) in diameter] [5 inches (127 mm) long, 2-1/2 inches (63.5 mm) deep, and 5/16 inch (8 mm) in diameter].

F. Catches: [Magnetic catches, BHMA A156.9, B03141] [Push-in magnetic catches, BHMA A156.9, B03131] [Roller catches, BHMA A156.9, B03071] [Ball friction catches, BHMA A156.9, B03013].

First option in "Adjustable Shelf Standards and Supports" Paragraph below specifies standards and clip-type rests for mounting at ends of shelves; second specifies standards and knife-type brackets for mounting at rear of shelves.

G. Adjustable Shelf Standards and Supports: [BHMA A156.9, B04071; with shelf rests, B04081] [BHMA A156.9, B04102; with shelf brackets, B04112].

Shelf rests in "Shelf Rests" Paragraph below are installed in holes drilled in cabinet sides and partitions.

H. Shelf Rests: BHMA A156.9, B04013; [metal] [plastic] [metal, two-pin type with shelf hold-down clip].

I. Drawer Slides: BHMA A156.9.

1. Grade 1 and Grade 2: Side mounted[ and extending under bottom edge of drawer]; [full-extension] [partial-extension] type; [zinc-plated steel] [epoxy-coated steel] with polymer rollers.

2. Grade 1HD-100 and Grade 1HD-200: Side mounted; [full-extension] [full-overtravel-extension] type; zinc-plated-steel ball-bearing slides.

Grades in five subparagraphs below correspond to the following initial load test requirements: Grade 2, 30 lbf (13.3 kg); Grade 1, 50 lbf (22.2 kg); Grade 1HD-100, 100 lbf (44.5 kg); Grade 1HD-200, 200 lbf (90 kg).

3. For drawers not more than 3 inches (75 mm) high and not more than 24 inches (600 mm) wide, provide [Grade 2] [Grade 1].

4. For drawers more than 3 inches (75 mm) high but not more than 6 inches (150 mm) high and not more than 24 inches (600 mm) wide, provide [Grade 1] [Grade 1HD-100].

5. For drawers more than 6 inches (150 mm) high or more than 24 inches (600 mm) wide, provide [Grade 1HD-100] [Grade 1HD-200].

6. For computer keyboard shelves, provide [Grade 1] [Grade 1HD-100].

7. For trash bins not more than 20 inches (500 mm) high and 16 inches (400 mm) wide, provide [Grade 1HD-100] [Grade 1HD-200].

J. [Plastic] [Aluminum] Slides for Sliding Glass Doors: BHMA A156.9, B07063.

Locks specified in "Door Locks" and "Drawer Locks" paragraphs below are deadbolt locks, surface mounted on inside of door or drawer with only the cylinder exposed on outside; revise either paragraph if another type of lock is required.

K. Door Locks: BHMA A156.11, E07121.

L. Drawer Locks: BHMA A156.11, E07041.

M. Door and Drawer Silencers: BHMA A156.16, L03011.

Retain "Float Glass for Cabinet Doors" or "Tempered Float Glass for Cabinet Doors" Paragraph below if glass is required for cabinet doors. Retain option in second paragraph for seamed exposed edges if unframed glass doors are used.

N. Float Glass for Cabinet Doors: ASTM C 1036, Type I, [Class 1 (clear)] [Class 2 or 3 (tinted)], Quality-Q3, [3.0 mm] [4.0 mm] [5.0 mm] [6.0 mm] thick.

1. Tint Color: [Blue-green] [Bronze] [Green] [Gray] <Insert color>.

O. Tempered Float Glass for Cabinet Doors: ASTM C 1048, Kind FT, Condition A, Type I, [Class 1 (clear)] [Class 2 or 3 (tinted)], Quality-Q3[, with exposed edges seamed before tempering], 6 mm thick unless otherwise indicated.

1. Tint Color: [Blue-green] [Bronze] [Green] [Gray] <Insert color>.

P. Tempered Float Glass for Cabinet Shelves: ASTM C 1048, Kind FT, Condition A, Type I, [Class 1 (clear)] [Class 2 or 3 (tinted)], Quality-Q3; with exposed edges seamed before tempering, 6 mm thick.

1. Tint Color: [Blue-green] [Bronze] [Green] [Gray] <Insert color>.

Q. Exposed Hardware Finishes: For exposed hardware, provide finish that complies with BHMA A156.18 for BHMA finish number indicated.

Subparagraphs below are examples only. Revise to suit Project. If more than one finish is required, indicate location of each here or on Drawings. See Evaluations.

1. Dark, Oxidized, Satin Bronze, Oil Rubbed: BHMA 613 for bronze base; BHMA 640 for steel base; match Architect's sample.

2. Bright Brass, Clear Coated: BHMA 605 for brass base; BHMA 632 for steel base.

3. Bright Brass, Vacuum Coated: BHMA 723 for brass base; BHMA 729 for zinc-coated-steel base.

4. Satin Brass, Blackened, Bright Relieved, Clear Coated: BHMA 610 for brass base; BHMA 636 for steel base.

5. Satin Chromium Plated: BHMA 626 for brass or bronze base; BHMA 652 for steel base.

6. Bright Chromium Plated: BHMA 625 for brass or bronze base; BHMA 651 for steel base.

7. Satin Stainless Steel: BHMA 630.

2.8 MISCELLANEOUS MATERIALS

A. Furring, Blocking, Shims, and Hanging Strips: [Softwood or hardwood lumber] [Fire-retardant-treated softwood lumber], kiln dried to less than 15 percent moisture content.

B. Anchors: Select material, type, size, and finish required for each substrate for secure anchorage. Provide metal expansion sleeves or expansion bolts for post-installed anchors. Use nonferrous-metal or hot-dip galvanized anchors and inserts at inside face of exterior walls and at floors.

Retain first "Adhesives" Paragraph below if required for LEED-NC, LEED-CI, or LEED-CS Credit IEQ 4.4. See Evaluations.

C. Adhesives: Do not use adhesives that contain urea formaldehyde.

Retain "Adhesives" Paragraph below if required for LEED for Schools.

D. Adhesives: Use adhesives that meet the testing and product requirements of the California Department of Health Services' "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."

2.9 FABRICATION

A. Complete fabrication, including assembly[, finishing,] and hardware application, to maximum extent possible before shipment to Project site. Disassemble components only as necessary for shipment and installation. Where necessary for fitting at site, provide ample allowance for scribing, trimming, and fitting.

B. Shop-cut openings to maximum extent possible to receive hardware, appliances, electrical work, and similar items. Locate openings accurately and use templates or roughing-in diagrams to produce accurately sized and shaped openings. Sand edges of cutouts to remove splinters and burrs.

C. Install glass to comply with applicable requirements in Section 088000 "Glazing" and in GANA's "Glazing Manual." For glass in wood frames, secure glass with removable stops.

2.10 SHOP FINISHING

Delete this article if shop finishing is not required. See Evaluations. Shop finishing can be used to help comply with LEED-NC, LEED-CI, or LEED-CS Credit IEQ 4.2, which limits VOC content of paints and coatings used within building.

A. General: Finish architectural wood cabinets at fabrication shop as specified in this Section. Defer only final touchup, cleaning, and polishing until after installation.

"Finish Materials" Paragraph below applies to LEED for Schools.

B. Finish Materials: Use finish materials that meet the testing and product requirements of the California Department of Health Services' "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."

C. Preparation for Finishing: Comply with referenced quality standard for sanding, filling countersunk fasteners, sealing concealed surfaces, and similar preparations for finishing architectural wood cabinets, as applicable to each unit of work.

Generally retain "Backpriming" Subparagraph below. Backpriming helps moderate alternating shrinking and swelling caused by fluctuations in moisture content resulting from variations in relative humidity.

1. Backpriming: Apply one coat of sealer or primer, compatible with finish coats, to concealed surfaces of cabinets.

D. Transparent Finish:

1. Grade: [Premium] [Custom] [Economy] [Same as item to be finished].

System - 4 has best resistance to yellowing.

2. Finish: System - 4, water-based latex acrylic.

System - 5 is a durable, repairable, and good general-purpose fine finish.

3. Finish: System - 5, conversion varnish.

4. Finish: System - 6, synthetic penetrating oil.

System - 7 is durable and has good chemical resistance.

5. Finish: System - 7, catalyzed vinyl.

6. Finish: System - 8, water-based cross linking acrylic.

System - 11 is very durable but not easily repaired.

7. Finish: System - 11, catalyzed polyurethane.

8. Finish: System - 12, water-based polyurethane.

Wash coat helps prevent blotchiness with wiping stains.

9. Wash Coat for Closed-Grain Woods: Apply wash-coat sealer to cabinets made from closed-grain wood before staining and finishing.

10. Staining: [None required] [Match approved sample for color] [Match Architect's sample].

Retain "Open Finish for Open-Grain Woods" or "Filled Finish for Open-Grain Woods" Subparagraph below if open-grain wood is used.

11. Open Finish for Open-Grain Woods: Do not apply filler to open-grain woods.

Retain option in "Filled Finish for Open-Grain Woods" Subparagraph below for highest-quality work to prevent solvent in filler from smearing stain.

12. Filled Finish for Open-Grain Woods:[ After staining, apply wash-coat sealer and allow to dry.] Apply paste wood filler and wipe off excess. Tint filler to match stained wood.

Retain one of four options in "Sheen" Subparagraph below; coordinate with effect and finish system retained. Numerical values for gloss ratings are those published in the "Architectural Woodwork Standards." Retain flat sheen with oil finish.

13. Sheen: [Flat, 15-30] [Satin, 31-45] [Semigloss, 46-60] [Gloss, 61-100] gloss units measured on 60-degree gloss meter per ASTM D 523.

E. Opaque Finish:

1. Grade: [Premium] [Custom] [Economy] [Same as item to be finished].

2. Finish: System - 4, water-based latex acrylic.

System - 5 is a durable, repairable, and good general-purpose fine finish.

3. Finish: System - 5, conversion varnish.

System - 7 is durable and has good chemical resistance.

4. Finish: System - 7, catalyzed vinyl.

5. Finish: System - 8, water-based cross linking acrylic.

System - 11 is very durable but not easily repaired.

6. Finish: System - 11, catalyzed polyurethane.

7. Finish: System - 12, water-based polyurethane.

Retain one of three options in "Color" Subparagraph below. If retaining first, indicate colors in a separate schedule.

8. Color: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range].

Retain one of four options in "Sheen" Subparagraph below; coordinate with effect and finish system retained. Numerical values for gloss ratings are those published in the "Architectural Woodwork Standards."

9. Sheen: [Flat, 15-30] [Satin, 31-45] [Semigloss, 46-60] [Gloss, 61-100] gloss units measured on 60-degree gloss meter per ASTM D 523.

PART 3 -  EXECUTION

3.1 PREPARATION

A. Before installation, condition cabinets to average prevailing humidity conditions in installation areas.

3.2 INSTALLATION

Revise "Grade" Paragraph below if installation grade is different from fabrication grade.

A. Grade: Install cabinets to comply with same grade as item to be installed.

B. Install cabinets level, plumb, true, and straight. Shim as required with concealed shims. Install level and plumb to a tolerance of 1/8 inch in 96 inches (3 mm in 2400 mm).

C. Scribe and cut cabinets to fit adjoining work, refinish cut surfaces, and repair damaged finish at cuts.

D. Anchor cabinets to anchors or blocking built in or directly attached to substrates. Secure with countersunk, concealed fasteners and blind nailing. Use fine finishing nails[ or finishing screws] for exposed fastening, countersunk and filled flush with woodwork.

E. Cabinets: Install without distortion so doors and drawers fit openings properly and are accurately aligned. Adjust hardware to center doors and drawers in openings and to provide unencumbered operation. Complete installation of hardware and accessory items as indicated.

1. Install cabinets with no more than 1/8 inch in 96-inch (3 mm in 2400-mm) sag, bow, or other variation from a straight line.

Revise requirements in subparagraph below as necessary for seismic restraint of cabinets. Delete if hanging cleats are used and are detailed on Drawings.

2. Fasten wall cabinets through back, near top and bottom, and at ends not more than 16 inches (400 mm) o.c. with [No. 10 wafer-head screws sized for not less than 1-1/2-inch (38-mm) penetration into wood framing, blocking, or hanging strips] [No. 10 wafer-head sheet metal screws through metal backing or metal framing behind wall finish] [toggle bolts through metal backing or metal framing behind wall finish].

F. Touch up finishing work specified in this Section after installation of woodwork. Fill nail holes with matching filler where exposed.

END OF SECTION 064113

	WOOD-VENEER-FACED ARCHITECTURAL CABINETS
	064113 - 1



