554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

www.dammonengineering.com

info@dammonengineering.com

State Police Troop L Headquarters

Mandeville, La

HVAC System Replacement

State Project #’s: 01-107-06B-11, F.01003807

Engineer’s Project: 2372

Pre-Design Meeting Minutes

April 5, 2019

10:00 a.m.

Attendees:

David Dammon, Dammon Engineering, Inc

Bill Winsor, Dammon Engineering, Inc

Mark Bradley, FP&C

Louis Calato, LSP-L

Russell Mayfield, LSP-L

Minutes:

- Meeting opened with sign in of attendees.

- The following items were discussed during the meeting:

- Mark distributed a copy of the Pre-Design Conference Agenda.

- The HVAC system is being replaced with the removal and replacement of the existing HVAC System including ductwork with associated mold remediation, and any affected wall and ceiling finishes at the subject facility.

- The subject facility is an engineered metal building frame with CMU brick used as interior and exterior walls.  The ceilings are suspended gypsum ceilings.  The only attic access is a 3x3 personnel opening in the hallway.

- It was discussed as a possibility to replace the existing HVAC system with a 100% fresh air unit and installing ductless mini-splits in each office to allow for more zone control.  This alternative solution will be investigated.

- The Program Completion phase is scheduled to be completed by 4/13/2019.